## Sheet1
ParentID | Comment | ParentID | Comment1 | Comment2 | Comment3 | Comment4 | Comment5 | Comment6 | Comment7 | Comment8 | Comment9 | Comment10
1 | The asset was not observed during the site inspection. | 1 | The asset was not observed during the site inspection.
2 | The asset was observed to be in good condition. | 2 | The asset was observed to be in good condition.
3 | The asset was not observed during the site inspection | 3 | The asset was not observed during the site inspection
4 | The asset was not observed during the site inspection, but was assumed to be in fair condition due to its age | 4 | The asset was not observed during the site inspection, but was assumed to be in fair condition due to its age
5 | The asset was observed to be in good condition. The asset did not have an Arc Flash Label. No performance issues were identified. | 5 | The asset was observed to be in good condition. The asset did not have an Arc Flash Label. No performance issues were identified. | No arc flash label. | good | HS: No Arc Flash Label
5 | No arc flash label. | 6 | The asset was observed to be in fair condition. One of the VFDs inside MCC was removed. The asset did not have Arc Flash Label. | No arc flash label. | VFDs and starters are priced separately. | good | One of the VFDs inside MCC was removed | HS: No Arc Flash Label
5 | good | 7 | The asset was observed to be in good condition. | Good
5 | HS: No Arc Flash Label | 8 |  | failed
6 | The asset was observed to be in fair condition. One of the VFDs inside MCC was removed. The asset did not have Arc Flash Label. | 9 | The asset was observed to be in good condition. Very minor corrosion was observed.
6 | No arc flash label. | 10 | The asset was in good condition. No performance issues have been identified.
6 | VFDs and starters are priced separately. | 11 | The asset was in good condition. No performance issues have been identified.
6 | good | 12 | The asset was observed to be in good condition.
6 | One of the VFDs inside MCC was removed | 13 | The asset was assumed to be in fair condition.
6 | HS: No Arc Flash Label | 14 | The asset was observed to be in fair condition. Corrosion was observed. The asset is obsolete. | corrosion
7 | The asset was observed to be in good condition. | 15 | The asset was observed to be in fair condition. Corrosion was observed. The asset is obsolete. | corrosion
7 | Good | 16 | The asset was observed to be in good condition; however, the asset had approached the end of its useful service life. | good
8 |  | 17 | The asset was observed to be in good condition. | good
8 | failed | 18 | The asset was observed to be in fair condition. Abrasion was observed. | abrasion
9 | The asset was observed to be in good condition. Very minor corrosion was observed. | 19 | The asset was observed to be in good condition. Dust on the instrument was noted. | dust
10 | The asset was in good condition. No performance issues have been identified. | 20 | The asset was assumed to be in fair condition. It had approached the end of its useful service life.
11 | The asset was in good condition. No performance issues have been identified. | 21 | The asset was observed to be in good condition; however, the measurement method is obsolete. | very good
12 | The asset was observed to be in good condition. | 22 | The asset was not observed during the inspection.
13 | The asset was assumed to be in fair condition. | 23 | The asset was observed to be in fair condition. Corrosion and dust were observed. The asset is obsolete. | corrosion | dust
14 | The asset was observed to be in fair condition. Corrosion was observed. The asset is obsolete. | 24 | The asset was observed to be in good condition. Dust was observed. The asset is obsolete. | dust
14 | corrosion | 25 | The asset was observed to be in good condition. | Good
15 | The asset was observed to be in fair condition. Corrosion was observed. The asset is obsolete. | 26 | The asset was not observed on site, but was assumed to be in good condition based on its age.
15 | corrosion | 27 | The asset was not observed on site, but was assumed to be in good condition based on its age.
16 | The asset was observed to be in good condition; however, the asset had approached the end of its useful service life. | 28 | The asset was not observed on site, but was assumed to be in good condition based on its age. | Good
16 | good | 29 | The asset was not observed on site, but was assumed to be in fair condition based on its age.
17 | The asset was observed to be in good condition. | 30 | The asset was not observed on site, but was assumed to be in fair condition based on its age.
17 | good | 31 | The asset was not observed on site, but was assumed to be in fair condition based on its age.
18 | The asset was observed to be in fair condition. Abrasion was observed. | 32 | The asset was not observed on site, but was assumed to be in fair condition based on its age.
18 | abrasion | 33 | The asset was not observed on site, but was assumed to be in fair condition based on its age.
19 | The asset was observed to be in good condition. Dust on the instrument was noted. | 34 | The asset was not observed on site, but was assumed to be in fair condition based on its age.
19 | dust | 35 | The asset was not observed on site, but was assumed to be in fair condition based on its age.
20 | The asset was assumed to be in fair condition. It had approached the end of its useful service life. | 36 | The asset was not observed on site, but was assumed to be in fair condition based on its age.
21 | The asset was observed to be in good condition; however, the measurement method is obsolete. | 37 | The asset was not observed during the inspection.
21 | very good | 38 | The asset was observed to be in fair condition. No performance issues have been reported; however, the skimmer/ scraper had approached the end of its useful service life.
22 | The asset was not observed during the inspection. | 39 | The asset was assumed to be in fair condition due to its age. The availability of replacement parts and increased maintenance cost will be an issue. | good
23 | The asset was observed to be in fair condition. Corrosion and dust were observed. The asset is obsolete. | 40 | The asset was observed to be in good condition; however, it had approached the end of its useful service life. | good
23 | corrosion | 41 | The asset was observed to be in good condition. Dust was observed. | dust
23 | dust | 42 | The asset was assumed to be in fair condition.
24 | The asset was observed to be in good condition. Dust was observed. The asset is obsolete. | 43
24 | dust | 44
25 | The asset was observed to be in good condition. | 45
25 | Good | 46 | The asset was observed to be in fair condition. The asset did not have Arc Flash Label. No performance issues were identified. | No arc flash label. | good | HS: No Arc Flash Label
26 | The asset was not observed on site, but was assumed to be in good condition based on its age. | 47 | The asset was observed to be in fair condition. The asset was obsolete. | obsolete
27 | The asset was not observed on site, but was assumed to be in good condition based on its age. | 48 | The asset was observed to be in fair condition. Corrosion was observed. | Corrosion
28 | The asset was not observed on site, but was assumed to be in good condition based on its age. | 49 | The asset was observed to be in good condition; however, the asset had approached the end of its useful service life. | good
28 | Good | 50 | The asset was observed to be in fair condition based on its age. | The tank had not been cleaned/inspected since its construction.
29 | The asset was not observed on site, but was assumed to be in fair condition based on its age. | 51 | The asset was observed to be in fair condition based on its age. | The tank had not been cleaned/inspected since its construction. | Fair | OM: has not been cleaned/inspected since construction
30 | The asset was not observed on site, but was assumed to be in fair condition based on its age. | 52 | The asset was observed to be in fair condition, due to its age. | fair
31 | The asset was not observed on site, but was assumed to be in fair condition based on its age. | 53 | The asset was observed to be in fair condition as it was outdated. | Obsolete measurement method. | good | OM: low accuracy | OM: obsolete measurement method
32 | The asset was not observed on site, but was assumed to be in fair condition based on its age. | 54 | The asset was observed to be in good condition based on its age. |  | Fair | OM: has not been cleaned/inspected since construction
33 | The asset was not observed on site, but was assumed to be in fair condition based on its age. | 55 | The asset was observed to be in good condition. | good
34 | The asset was not observed on site, but was assumed to be in fair condition based on its age. | 56 | The asset was observed to be in good condition. The asset is obsolete. | good
35 | The asset was not observed on site, but was assumed to be in fair condition based on its age. | 57 | The asset was assumed to be in fair condition. No performance issues have been identified; however, the asset has approached the end of its useful service life.
36 | The asset was not observed on site, but was assumed to be in fair condition based on its age. | 58 | The asset does not exist
37 | The asset was not observed during the inspection. | 59 | The asset was observed to be in fair condition. Plug valves were installed in 1999 and check valves were installed in 2008. Moderate corrosion was observed throughout on pipe. | Moderate corroson on piping | Plug valve was installed in 1999. Moderate corrosion on valves | Check valve was installed in 2008. Moderate surface corrosion
38 | The asset was observed to be in fair condition. No performance issues have been reported; however, the skimmer/ scraper had approached the end of its useful service life. | 60 | The asset was observed to be in fair condition. Severe corrosion on piping was observed. Moderate corrosion was observed on valves. | Severe corrosion on piping | moderate corrosion on valves
39 | The asset was assumed to be in fair condition due to its age. The availability of replacement parts and increased maintenance cost will be an issue. | 61 | The asset was assumed to be in fair condition.
39 | good | 62
40 | The asset was observed to be in good condition; however, it had approached the end of its useful service life. | 63 | The asset was observed to be in good condition. | Good
40 | good | 64 | The asset was observed to be in fair condition. No performindicated the asset was rebuilt in 2017.
41 | The asset was observed to be in good condition. Dust was observed. | 65 | The asset was observed to be in fair condition. No performance issues were identified; however, the asset has approached the end of its useful service life.
41 | dust | 66 | The asset was observed to be in fair condition. No performance issues were identified; however, the asset has approached the end of its useful service life.
42 | The asset was assumed to be in fair condition. | 67 | The asset was observed to be in fair condition. No performance issues were identified.
46 | The asset was observed to be in fair condition. The asset did not have Arc Flash Label. No performance issues were identified. | 68 | The asset was observed to be in fair condition. Minor surface corrosion was observed. No performance issues were identified.
46 | No arc flash label. | 69 | The asset was observed to be in fair condition. Minor surface corrosion was observed. No performance issues were identified.
46 | good | 70 | The asset was observed to be in fair condition. Minor surface corrosion was observed. No performance issues were identified.
46 | HS: No Arc Flash Label | 71 | The asset was observed to be in fair condition. No performance issues were identified.
47 | The asset was observed to be in fair condition. The asset was obsolete. | 72 | WSP was informed by operator on site that the pump is no longer there | Told by operator on site that the pump is no longer there
47 | obsolete | 73 | The asset doesn't exist on site.
48 | The asset was observed to be in fair condition. Corrosion was observed. | 74 | The asset was observed to be in fair condition. No performance issues were identified; however, the pump has approached the end of its useful service life. | cc: hss: om:
48 | Corrosion | 75 | The asset was observed to be in fair condition. Minor deterioration was observed. | Minor Deterioration
49 | The asset was observed to be in good condition; however, the asset had approached the end of its useful service life. | 76 | The asset was missing during the site inspection | Missing
49 | good | 77 | The asset was in fair condition. No performance issues were identified.
50 | The asset was observed to be in fair condition based on its age. | 78 | decommissioned | OM: new one coming in summer
50 | The tank had not been cleaned/inspected since its construction. | 79 | Not obserevd
51 | The asset was observed to be in fair condition based on its age. | 80 | good
51 | The tank had not been cleaned/inspected since its construction. | 81 | Not Observed
51 | Fair | 82
51 | OM: has not been cleaned/inspected since construction | 83
52 | The asset was observed to be in fair condition, due to its age. | 84
52 | fair | 85 | good
53 | The asset was observed to be in fair condition as it was outdated. | 86
53 | Obsolete measurement method. | 87
53 | good | 88
53 | OM: low accuracy | 89 | obsolete
53 | OM: obsolete measurement method | 90
54 | The asset was observed to be in good condition based on its age. | 91 | Minor corrosion and dust | fair
54 |  | 92 | good
54 | Fair | 93 | Good
54 | OM: has not been cleaned/inspected since construction | 94 | Not obserevd
55 | The asset was observed to be in good condition. | 95 | good
55 | good | 96 | corrosion | dust
56 | The asset was observed to be in good condition. The asset is obsolete. | 97 | corrosion | dust
56 | good | 98
57 | The asset was assumed to be in fair condition. No performance issues have been identified; however, the asset has approached the end of its useful service life. | 99 | not observed | assumed good
58 | The asset does not exist | 100 | Good
59 | The asset was observed to be in fair condition. Plug valves were installed in 1999 and check valves were installed in 2008. Moderate corrosion was observed throughout on pipe. | 101 | not observed | assumed good
59 | Moderate corroson on piping | 102 | not observed | assumed good
59 | Plug valve was installed in 1999. Moderate corrosion on valves | 103 | not observed | assumed good
59 | Check valve was installed in 2008. Moderate surface corrosion | 104 | not observed | assumed good
60 | The asset was observed to be in fair condition. Severe corrosion on piping was observed. Moderate corrosion was observed on valves. | 105 | not obserevd | assumed good
60 | Severe corrosion on piping | 106 | not observed | assumed good
60 | moderate corrosion on valves | 107
61 | The asset was assumed to be in fair condition. | 108 | good
63 | The asset was observed to be in good condition. | 109 | good
63 | Good | 110
64 | The asset was observed to be in fair condition. No performindicated the asset was rebuilt in 2017. | 111
65 | The asset was observed to be in fair condition. No performance issues were identified; however, the asset has approached the end of its useful service life. | 112 | good
66 | The asset was observed to be in fair condition. No performance issues were identified; however, the asset has approached the end of its useful service life. | 113 | good
67 | The asset was observed to be in fair condition. No performance issues were identified. | 114 | good
68 | The asset was observed to be in fair condition. Minor surface corrosion was observed. No performance issues were identified. | 115
69 | The asset was observed to be in fair condition. Minor surface corrosion was observed. No performance issues were identified. | 116
70 | The asset was observed to be in fair condition. Minor surface corrosion was observed. No performance issues were identified. | 117
71 | The asset was observed to be in fair condition. No performance issues were identified. | 118
72 | WSP was informed by operator on site that the pump is no longer there | 119
72 | Told by operator on site that the pump is no longer there | 120
73 | The asset doesn't exist on site. | 121
74 | The asset was observed to be in fair condition. No performance issues were identified; however, the pump has approached the end of its useful service life. | 122 | good
74 | cc: hss: om: | 123
75 | The asset was observed to be in fair condition. Minor deterioration was observed. | 124
75 | Minor Deterioration | 125
76 | The asset was missing during the site inspection | 126 | good
76 | Missing | 127 | good
77 | The asset was in fair condition. No performance issues were identified. | 128 | good
78 | decommissioned | 129 | not inspected | The tank had not been cleaned/inspected since its construction.
78 | OM: new one coming in summer | 130 | not inspected | The tank had not been cleaned/inspected since its construction.
79 | Not obserevd | 131 | not inspected | The tank had not been cleaned/inspected since its construction.
80 | good | 132 | not inspected | The tank had not been cleaned/inspected since its construction.
81 | Not Observed | 133 | not inspected | The tank had not been cleaned/inspected since its construction.
85 | good | 134
89 | obsolete | 135 | dust | good
91 | Minor corrosion and dust | 136 | dust | good
91 | fair | 137 | Good
92 | good | 138 | good
93 | Good | 139 | disordered cable connection | dust
94 | Not obserevd | 140
95 | good | 141 | Good condition
96 | corrosion | 142 | Good
96 | dust | 143
97 | corrosion | 144 | Good
97 | dust | 145 | Not obserevd
99 | not observed | 146 | Poor | Severe corrosion on piping and valves
99 | assumed good | 147
100 | Good | 148
101 | not observed | 149
101 | assumed good | 150 | good
102 | not observed | 151
102 | assumed good | 152
103 | not observed | 153
103 | assumed good | 154
104 | not observed | 155 | good
104 | assumed good | 156 | good
105 | not obserevd | 157
105 | assumed good | 158 | good
106 | not observed | 159
106 | assumed good | 160 | good
107 |  | 161
108 | good | 162 | corrosoin and deterioration
109 | good | 163 | Fair | surface corrosion
112 | good | 164 | Corrosion and deterioration
113 | good | 165
114 | good | 166 | No longer exists
122 | good | 167 | good
126 | good | 168 | Rust and deterioration
127 | good | 169
128 | good | 170 | Rust and deterioration
129 | not inspected | 171 | good
129 | The tank had not been cleaned/inspected since its construction. | 172
130 | not inspected | 173
130 | The tank had not been cleaned/inspected since its construction. | 174
131 | not inspected | 175
131 | The tank had not been cleaned/inspected since its construction. | 176 | Good
132 | not inspected | 177
132 | The tank had not been cleaned/inspected since its construction. | 178 | not observed
133 | not inspected | 179
133 | The tank had not been cleaned/inspected since its construction. | 180 | good
135 | dust | 181
135 | good | 182 | good
136 | dust | 183
136 | good | 184 | good
137 | Good | 185
138 | good | 186 | good
139 | disordered cable connection | 187
139 | dust | 188
141 | Good condition | 189
142 | Good | 190
144 | Good | 191
145 | Not obserevd | 192
146 | Poor | 193
146 | Severe corrosion on piping and valves | 194
150 | good | 195
155 | good | 196
156 | good | 197
158 | good | 198
160 | good | 199
162 | corrosoin and deterioration | 200
163 | Fair | 201
163 | surface corrosion | 202
164 | Corrosion and deterioration | 203
166 | No longer exists | 204
167 | good | 205
168 | Rust and deterioration | 206
170 | Rust and deterioration | 207
171 | good | 208
176 | Good | 209
178 | not observed | 210
180 | good | 211
182 | good | 212
184 | good | 213 | not observed
186 | good | 214
213 | not observed | 215
217 | The asset was observed to be in fair condition. Weathered paint was observed. Corrosion was observed at bottom of door frame. | 216
217 | weathered paint | 217 | The asset was observed to be in fair condition. Weathered paint was observed. Corrosion was observed at bottom of door frame. | weathered paint | corrosion at bottom of door frame
217 | corrosion at bottom of door frame | 218
219 | The asset was observed to be in fair condition. Moderate corrosion on the door and door frame was observed. | 219 | The asset was observed to be in fair condition. Moderate corrosion on the door and door frame was observed. | heavy corrosion on door and door frame
219 | heavy corrosion on door and door frame | 220
221 | The asset was observed to be in fair condition. The coating was worn/peeled. | 221 | The asset was observed to be in fair condition. The coating was worn/peeled. | worn/peeled
221 | worn/peeled | 222
223 | The asset was observed to be in fair condition. Localized peeling was observed. | 223 | The asset was observed to be in fair condition. Localized peeling was observed. | localized peeling
223 | localized peeling | 224
225 | The asset was observed to be in fair condition. Localized peeling was observed. | 225 | The asset was observed to be in fair condition. Localized peeling was observed. | localized peeling
225 | localized peeling | 226
227 | The asset was observed to be in fair condition. | 227 | The asset was observed to be in fair condition. | fair
227 | fair | 228
229 | The asset was observed to be in fair condition. | 229 | The asset was observed to be in fair condition. | fair
229 | fair | 230
231 | The asset was observed to be in fair condition based on its age. | 231 | The asset was observed to be in fair condition based on its age. | fair based on age
231 | fair based on age | 232
233 | The asset was observed to be in fair condition. Delamination at door opening was observed. | 233 | The asset was observed to be in fair condition. Delamination at door opening was observed. | delamination at door opening
233 | delamination at door opening | 234
235 | The asset was observed to be in good condition. | 235 | The asset was observed to be in good condition. | good
235 | good | 236
237 | The asset was observed to be in good condition. | 237 | The asset was observed to be in good condition. | good
237 | good | 238
239 | The asset was observed to be in good condition. | 239 | The asset was observed to be in good condition. | good
239 | good | 240 | good
240 | good | 241 | The asset was observed to be in good condition. | good
241 | The asset was observed to be in good condition. | 242
241 | good | 243 | The asset was observed to be in fair condition. Peeled paint near the boiler was noted | peeling at boiler
243 | The asset was observed to be in fair condition. Peeled paint near the boiler was noted | 244
243 | peeling at boiler | 245 | The asset was observed to be in good condition. | good
245 | The asset was observed to be in good condition. | 246
245 | good | 247 | The asset was observed to be in good condition. | good
247 | The asset was observed to be in good condition. | 248 | not inspected
247 | good | 249 | The asset was observed to be in good condition. | good
248 | not inspected | 250 | not inspected
249 | The asset was observed to be in good condition. | 251 | The asset was observed to be in good condition. | good
249 | good | 252 | not inspected
250 | not inspected | 253 | The asset was observed to be in good condition. | good
251 | The asset was observed to be in good condition. | 254 | not inspected
251 | good | 255 | The asset was observed to be in good condition. | good
252 | not inspected | 256 | not inspected
253 | The asset was observed to be in good condition. | 257 | The asset was observed to be in good condition. | good
253 | good | 258
254 | not inspected | 259 | The asset was observed to be in fair condition. Weathered paint was observed. | weathered paint
255 | The asset was observed to be in good condition. | 260
255 | good | 261 | The asset was observed to be in fair condition. | fair
256 | not inspected | 262
257 | The asset was observed to be in good condition. | 263 | The asset was observed to be in good condition. | good
257 | good | 264
259 | The asset was observed to be in fair condition. Weathered paint was observed. | 265 | The asset was observed to be in good condition. | good
259 | weathered paint | 266
261 | The asset was observed to be in fair condition. | 267 | The asset was observed to be in good condition. | good
261 | fair | 268
263 | The asset was observed to be in good condition. | 269 | The asset was observed to be in good condition. | good
263 | good | 270
265 | The asset was observed to be in good condition. | 271 | The asset was observed to be in good condition. | good
265 | good | 272
267 | The asset was observed to be in good condition. | 273 | The asset was observed to be in fair condition. The coating was worn at some locations | worn
267 | good | 274
269 | The asset was observed to be in good condition. | 275 | The asset was observed to be in good condition. | good
269 | good | 276
271 | The asset was observed to be in good condition. | 277 | The asset was observed to be in good condition. | good
271 | good | 278
273 | The asset was observed to be in fair condition. The coating was worn at some locations | 279 | The asset was observed to be in good condition. | good
273 | worn | 280
275 | The asset was observed to be in good condition. | 281 | The asset was observed to be in good condition. | good
275 | good | 282
277 | The asset was observed to be in good condition. | 283 | The asset was observed to be in good condition. | good
277 | good | 284
279 | The asset was observed to be in good condition. | 285 | The asset was observed to be in good condition. | good
279 | good | 286
281 | The asset was observed to be in good condition. | 287 | The asset was observed to be in fair condition. The coating was worn. | worn
281 | good | 288
283 | The asset was observed to be in good condition. | 289 | The asset was observed to be in good condition. | good
283 | good | 290
285 | The asset was observed to be in good condition. | 291 | The asset was observed to be in good condition. | good
285 | good | 292
287 | The asset was observed to be in fair condition. The coating was worn. | 293 | The asset was observed to be in good condition. | good
287 | worn | 294
289 | The asset was observed to be in good condition. | 295 | The asset was observed to be in good condition. | good
289 | good | 296
291 | The asset was observed to be in good condition. | 297 | The asset was observed to be in good condition. | good
291 | good | 298 | corrosoin and deterioration
293 | The asset was observed to be in good condition. | 299 | The asset was observed to be in fair condition with minor corrosion and paint wear. | fair
293 | good | 300 | Corrosion and deterioration
295 | The asset was observed to be in good condition. | 301 | The asset was observed to be in fair condition as it has approached the end of its useful service life. | fair
295 | good | 302
297 | The asset was observed to be in good condition. | 303 | The asset was observed to be in fair condition. Peeled paint on door frame and weathered paint were observed. | peeled paint on door frame | weathered paint
297 | good | 304 | Rust and deterioration
298 | corrosoin and deterioration | 305 | The asset was observed to be in good condition. | good
299 | The asset was observed to be in fair condition with minor corrosion and paint wear. | 306 | Rust and deterioration
299 | fair | 307 | The asset was observed to be in good condition. | good
300 | Corrosion and deterioration | 308 | not observed
301 | The asset was observed to be in fair condition as it has approached the end of its useful service life. | 309 | The asset was observed to be in good condition. | good
301 | fair | 310 | not obserevd
303 | The asset was observed to be in fair condition. Peeled paint on door frame and weathered paint were observed. | 311 | The asset was observed to be in good condition. | good
303 | peeled paint on door frame | 312
303 | weathered paint | 313 | The asset was observed to be in good condition. | good
304 | Rust and deterioration | 314
305 | The asset was observed to be in good condition. | 315 | The asset was observed to be in good condition. | good
305 | good | 316
306 | Rust and deterioration | 317 | The asset was observed to be in good condition. | good
307 | The asset was observed to be in good condition. | 318
307 | good | 319 | The asset was observed to be in fair condition. Delamination at exterior door opening was observed. | Delamination at exterior door opening
308 | not observed | 320
309 | The asset was observed to be in good condition. | 321 | The asset was observed to be in good condition. | Good
309 | good | 322
310 | not obserevd | 323 | The asset was observed to be in fair condition. Hairline cracking was observed and delamination at door opening. | Hairline cracking and delamination at door opening
311 | The asset was observed to be in good condition. | 324
311 | good | 325 | The asset was observed to be in good condition. | Good
313 | The asset was observed to be in good condition. | 326
313 | good | 327 | The asset was observed to be in good condition. | Good
315 | The asset was observed to be in good condition. | 328 | The asset was observed to be in good condition. | Good
315 | good | 329 | The asset was observed to be in good condition. | Good
317 | The asset was observed to be in good condition. | 330 | not inspected
317 | good | 331 | The asset was observed to be in good condition. | Good
319 | The asset was observed to be in fair condition. Delamination at exterior door opening was observed. | 332 | not inspected
319 | Delamination at exterior door opening | 333 | The asset was observed to be in good condition. | Good
321 | The asset was observed to be in good condition. | 334 | not inspected
321 | Good | 335 | The asset was observed to be in good condition. | Good
323 | The asset was observed to be in fair condition. Hairline cracking was observed and delamination at door opening. | 336 | good
323 | Hairline cracking and delamination at door opening | 337 | The asset was observed to be in good condition. | Good
325 | The asset was observed to be in good condition. | 338 | good
325 | Good | 339 | The asset was observed to be in fair condition. Hairline cracking was observed. | Hairline cracking
327 | The asset was observed to be in good condition. | 340 | good
327 | Good | 341 | The asset was observed to be in good condition. | Good
328 | The asset was observed to be in good condition. | 342 | good
328 | Good | 343 | The asset was observed to be in good condition. | Good
329 | The asset was observed to be in good condition. | 344 | good
329 | Good | 345 | The asset was observed to be in fair condition. Step cracking was observed. | Step cracking
330 | not inspected | 346 | good
331 | The asset was observed to be in good condition. | 347 | The asset was observed to be in good condition. | Good
331 | Good | 348 | good
332 | not inspected | 349 | The asset was observed to be in good condition. | Good
333 | The asset was observed to be in good condition. | 350 | The asset was not observed during the site inspection; however it was assumed that the asset was in good condition as no signs of leakage or stains on the ceiling tiles were observed. | Good
333 | Good | 351 | The asset was not observed during the site inspection; however it was assumed that the asset was in good condition as no signs of leakage or stains on the ceiling tiles were observed. | Good
334 | not inspected | 352 | The asset was not observed during the site inspection; however it was assumed that the asset was in good condition as no signs of leakage or stains on the ceiling tiles were observed. | Good
335 | The asset was observed to be in good condition. | 353 | The asset was not observed during the site inspection; however it was assumed that the asset was in good condition as no signs of leakage or stains on the ceiling tiles were observed. | Good
335 | Good | 354 | The asset was not observed during the site inspection; however it was assumed that the asset was in good condition as no signs of leakage or stains on the ceiling tiles were observed. | Good
336 | good | 355 | The asset was not observed during the site inspection; however it was assumed that the asset was in good condition as no signs of leakage or stains on the ceiling tiles were observed. | Good
337 | The asset was observed to be in good condition. | 356 | The asset was not observed during the site inspection; however it was assumed that the asset was in good condition as no signs of leakage or stains on the ceiling tiles were observed. | Good
337 | Good | 357 | The asset was not observed during the site inspection; however it was assumed that the asset was assumed to be in good condition as no signs of leakage or stains on the ceiling tiles were observed | Good
338 | good | 358 | The asset was not observed during the site inspection; however it was assumed that the asset was in good condition as no signs of leakage or stains on the ceiling tiles were observed. | Good
339 | The asset was observed to be in fair condition. Hairline cracking was observed. | 359 | The asset was observed to be in good condition. | fair
339 | Hairline cracking | 360 | The asset was observed to be in good condition with very minor corrosion. | fair
340 | good | 361 | The asset was observed to be in fair condition. | fair
341 | The asset was observed to be in good condition. | 362 | The asset was observed to be in good condition. | good
341 | Good | 363 | The asset was observed to be in fair condition as unclipped/ loose gratings were noted. The kick plates were also missing. | Unclipped/loose gratings | CC: missing kickplates | CC: unclipped/loose gratings
342 | good | 364 | The asset was observed to be in fair condition. | fair
343 | The asset was observed to be in good condition. | 365 | The asset was observed to be in poor condition. Moderate corrosion was observed. | heavy corrosion
343 | Good | 366 | The asset was observed to be in poor condition. Moderate corrosion was observed. | heavy corrosion
344 | good | 367 | The asset was observed to be in poor condition. Moderate corrosion was observed. | heavy corrosion
345 | The asset was observed to be in fair condition. Step cracking was observed. | 368 | The asset was observed to be in fair condition. | fair
345 | Step cracking | 369 | The asset was observed to be in good condition. | good
346 | good | 370 | The asset was observed to be in good condition. | good
347 | The asset was observed to be in good condition. | 371
347 | Good | 372 | weathered paint
348 | good | 373
349 | The asset was observed to be in good condition. | 374
349 | Good | 375
350 | The asset was not observed during the site inspection; however it was assumed that the asset was in good condition as no signs of leakage or stains on the ceiling tiles were observed. | 376
350 | Good | 377
351 | The asset was not observed during the site inspection; however it was assumed that the asset was in good condition as no signs of leakage or stains on the ceiling tiles were observed. | 378
351 | Good | 379 | Weathered/worn paint | minor corrosion
352 | The asset was not observed during the site inspection; however it was assumed that the asset was in good condition as no signs of leakage or stains on the ceiling tiles were observed. | 380 | corroded hardware
352 | Good | 381
353 | The asset was not observed during the site inspection; however it was assumed that the asset was in good condition as no signs of leakage or stains on the ceiling tiles were observed. | 382
353 | Good | 383
354 | The asset was not observed during the site inspection; however it was assumed that the asset was in good condition as no signs of leakage or stains on the ceiling tiles were observed. | 384
354 | Good | 385
355 | The asset was not observed during the site inspection; however it was assumed that the asset was in good condition as no signs of leakage or stains on the ceiling tiles were observed. | 386 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
355 | Good | 387
356 | The asset was not observed during the site inspection; however it was assumed that the asset was in good condition as no signs of leakage or stains on the ceiling tiles were observed. | 388
356 | Good | 389 | The asset was observed to be in good condition. | good
357 | The asset was not observed during the site inspection; however it was assumed that the asset was assumed to be in good condition as no signs of leakage or stains on the ceiling tiles were observed | 390 | good
357 | Good | 391 | The asset was observed to be in good condition. | good
358 | The asset was not observed during the site inspection; however it was assumed that the asset was in good condition as no signs of leakage or stains on the ceiling tiles were observed. | 392 | The asset was observed to be in fair condition. Weathered paint was observed. | Weathered paint
358 | Good | 393 | The asset was observed to be in fair condition. Weathered paint was observed. | Weathered paint
359 | The asset was observed to be in good condition. | 394 | The asset was observed to be in good condition. | good
359 | fair | 395 | dust
360 | The asset was observed to be in good condition with very minor corrosion. | 396 | corrosion | corrosion
360 | fair | 397
361 | The asset was observed to be in fair condition. | 398
361 | fair | 399
362 | The asset was observed to be in good condition. | 400
362 | good | 401
363 | The asset was observed to be in fair condition as unclipped/ loose gratings were noted. The kick plates were also missing. | 402
363 | Unclipped/loose gratings | 403
363 | CC: missing kickplates | 404
363 | CC: unclipped/loose gratings | 405
364 | The asset was observed to be in fair condition. | 406
364 | fair | 407
365 | The asset was observed to be in poor condition. Moderate corrosion was observed. | 408
365 | heavy corrosion | 409
366 | The asset was observed to be in poor condition. Moderate corrosion was observed. | 410
366 | heavy corrosion | 411
367 | The asset was observed to be in poor condition. Moderate corrosion was observed. | 412
367 | heavy corrosion | 413
368 | The asset was observed to be in fair condition. | 414
368 | fair | 415
369 | The asset was observed to be in good condition. | 416
369 | good | 417
370 | The asset was observed to be in good condition. | 418
370 | good | 419
372 | weathered paint | 420
379 | Weathered/worn paint | 421 | good
379 | minor corrosion | 422 | The asset was observed to be in fair condition as one of pump hour meters did not work. | good | one of hour meters does not work
380 | corroded hardware | 423 | good
386 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 424
386 | good | 425
389 | The asset was observed to be in good condition. | 426
389 | good | 427
390 | good | 428
391 | The asset was observed to be in good condition. | 429
391 | good | 430
392 | The asset was observed to be in fair condition. Weathered paint was observed. | 431
392 | Weathered paint | 432
393 | The asset was observed to be in fair condition. Weathered paint was observed. | 433
393 | Weathered paint | 434
394 | The asset was observed to be in good condition. | 435
394 | good | 436
395 | dust | 437
396 | corrosion | 438
396 | corrosion | 439
421 | good | 440
422 | The asset was observed to be in fair condition as one of pump hour meters did not work. | 441
422 | good | 442
422 | one of hour meters does not work | 443
423 | good | 444
446 | good | 445
448 | weathered paint | 446 | good
450 | good | 447
452 | good | 448 | weathered paint
454 | worn/peeling | 449
461 | Weathered/worn paint | 450 | good
461 | minor corrosion | 451
463 | corroded hardware | 452 | good
465 | good | 453
467 | good | 454 | worn/peeling
467 | missing downspouts | 455
469 | good | 456
471 | good | 457
473 | good | 458
476 | The operators identified that the control building roof was leaking. The roofing was replaced in summer of 2019 and no signs of leaking have since been observed. | 459
476 | very good | 460
478 | weathered paint | 461 | Weathered/worn paint | minor corrosion
482 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 462
482 | good | 463 | corroded hardware
483 | not inspected | 464
484 | not inspected | 465 | good
485 | missing kickplate | 466
485 | good | 467 | good | missing downspouts
486 | good | 468
489 | corrosion | 469 | good
491 | good | 470
493 | good | 471 | good
495 | good | 472
497 | good | 473 | good
499 | good | 474
501 | good | 475
503 | good | 476 | The operators identified that the control building roof was leaking. The roofing was replaced in summer of 2019 and no signs of leaking have since been observed. | very good
504 | Good | 477
505 | good | 478 | weathered paint
507 | good | 479
509 | staining noted | 480
509 | good | 481
511 | good | 482 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
513 | good | 483 | not inspected
515 | good | 484 | not inspected
517 | good | 485 | missing kickplate | good
519 | good | 486 | good
521 | good | 487
523 | good | 488
525 | good | 489 | corrosion
527 | good | 490
529 | good | 491 | good
531 | good | 492
533 | good | 493 | good
535 | good | 494
537 | good | 495 | good
544 | good | 496
546 | good | 497 | good
548 | good | 498
550 | good | 499 | good
552 | good | 500
554 | good | 501 | good
556 | staining | 502
558 | good | 503 | good
560 | good | 504 | Good
562 | good | 505 | good
563 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 506
563 | good | 507 | good
564 | good | 508
565 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 509 | staining noted | good
565 | good | 510
566 | good | 511 | good
567 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 512
567 | good | 513 | good
568 | good | 514
569 | good | 515 | good
570 | good | 516
571 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 517 | good
571 | good | 518
572 | staining | 519 | good
573 | good | 520
574 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 521 | good
574 | good | 522
575 | good | 523 | good
576 | good | 524
577 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 525 | good
577 | good | 526
578 | staining | 527 | good
579 | good | 528
580 | good | 529 | good
581 | good | 530
582 | good | 531 | good
583 | The asset was observed to be in fair condition. Corrosion and debris build-up was observed. | 532
583 | deterioration | 533 | good
584 | weathered paint | 534
585 | weathered paint | 535 | good
586 | good | 536
587 | weathered paint | 537 | good
588 | Fair | 538
588 | The mesh at the bottom of the gate was bent and broken | 539
589 | good | 540
590 | significant cracking throughout | 541
591 | weathered paint | 542
591 | fair | 543
592 | The fire hydrant was covered in snow. | 544 | good
592 | Assumed to be in good condition | 545
593 | worn | 546 | good
593 | fair | 547
594 | moderate surface corrosion | 548 | good
594 | fair | 549
595 | fair | 550 | good
596 | good | 551
597 | good | 552 | good
598 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 553
598 | good | 554 | good
599 | good | 555
600 | localized depressions | 556 | staining
600 | fair | 557
601 | good | 558 | good
602 | good | 559
603 | fair | 560 | good
604 | The asset was observed to be in fair condition. The panel was crowded and no spare circuits were available. | 561
604 | good | 562 | good
604 | crowded, not any spare circuits | 563 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
605 | loss of gravel | 564 | good
605 | Operators noted that it is difficult to get out of the station during poor weather conditions/when gravel road is not plowed. Station is at the bottom of the hill. | 565 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
605 | fair | 566 | good
605 | loss of gravel | 567 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
605 | OM: Operators noted that it is difficult to get out of the station during poor weather conditions/when gravel road is not plowed. Station is at the bottom of the hill. | 568 | good
606 | good | 569 | good
607 | good | 570 | good
607 | good | 571 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
608 | Good | 572 | staining
609 | The asset was observed to be in fair condition. It was not in service. | 573 | good
609 | good | 574 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
609 | not in service | 575 | good
610 | good | 576 | good
611 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 577 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
611 | good | 578 | staining
612 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 579 | good
612 | good | 580 | good
613 | good | 581 | good
614 | good | 582 | good
614 | good | 583 | The asset was observed to be in fair condition. Corrosion and debris build-up was observed. | deterioration
615 | The asset was observed to be in good condition. | 584 | weathered paint
615 | good | 585 | weathered paint
616 | not inspected | 586 | good
617 | The asset was observed to be in fair condition. Cracking and localized depressions were observed. | 587 | weathered paint
617 | cracking | 588 | Fair | The mesh at the bottom of the gate was bent and broken
617 | localized depressions | 589 | good
618 | not inspected | 590 | significant cracking throughout
619 | The asset was observed to be in good condition. | 591 | weathered paint | fair
619 | good | 592 | The fire hydrant was covered in snow. | Assumed to be in good condition
620 | missing kickplate | 593 | worn | fair
620 | good | 594 | moderate surface corrosion | fair
621 | The asset was observed to be in good condition. | 595 | fair
621 | good | 596 | good
622 | good | 597 | good
623 | The asset was observed to be in fair condition. Bent barbed wiring was observed. | 598 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
623 | bent barbed wiring | 599 | good
624 | good | 600 | localized depressions | fair
625 | The asset was observed to be in fair condition. Spalling was observed. | 601 | good
625 | spalling | 602 | good
626 | good | 603 | fair
627 | The asset was observed to be in fair condition. Spalling near control building was observed. | 604 | The asset was observed to be in fair condition. The panel was crowded and no spare circuits were available. | good | crowded, not any spare circuits
627 | spalling near Control Building | 605 | loss of gravel | Operators noted that it is difficult to get out of the station during poor weather conditions/when gravel road is not plowed. Station is at the bottom of the hill. | fair | loss of gravel | OM: Operators noted that it is difficult to get out of the station during poor weather conditions/when gravel road is not plowed. Station is at the bottom of the hill.
628 | good | 606 | good
629 | The asset was observed to be in good condition. | 607 | good | good
629 | good | 608 | Good
630 | good | 609 | The asset was observed to be in fair condition. It was not in service. | good | not in service
631 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 610 | good
631 | good | 611 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
632 | good | 612 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
633 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 613 | good
633 | good | 614 | good | good
634 | good | 615 | The asset was observed to be in good condition. | good
635 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 616 | not inspected
635 | good | 617 | The asset was observed to be in fair condition. Cracking and localized depressions were observed. | cracking | localized depressions
636 | good | 618 | not inspected
637 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 619 | The asset was observed to be in good condition. | good
637 | good | 620 | missing kickplate | good
638 | good | 621 | The asset was observed to be in good condition. | good
639 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 622 | good
639 | good | 623 | The asset was observed to be in fair condition. Bent barbed wiring was observed. | bent barbed wiring
640 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 624 | good
640 | good | 625 | The asset was observed to be in fair condition. Spalling was observed. | spalling
641 | good | 626 | good
642 | The asset was observed to be in good condition. Two of the fixtures did not turn on. | 627 | The asset was observed to be in fair condition. Spalling near control building was observed. | spalling near Control Building
642 | good | 628 | good
642 | two of the fixtures did not turn on | 629 | The asset was observed to be in good condition. | good
642 | change to class1, div 2, LED with next upgrade | 630 | good
643 | good | 631 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
644 | The asset was observed to be in fair condition. The asset was obsolete. | 632 | good
644 | good | 633 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
644 | obsolete | 634 | good
645 | good | 635 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
646 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 636 | good
646 | good | 637 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
647 | good | 638 | good
648 | The asset was observed to be in fair condition. The asset was obsolete. | 639 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
648 | good | 640 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
648 | obsolete | 641 | good
649 | good | 642 | The asset was observed to be in good condition. Two of the fixtures did not turn on. | good | two of the fixtures did not turn on | change to class1, div 2, LED with next upgrade
650 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 643 | good
650 | good | 644 | The asset was observed to be in fair condition. The asset was obsolete. | good | obsolete
651 | good | 645 | good
652 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 646 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
652 | good | 647 | good
653 | good | 648 | The asset was observed to be in fair condition. The asset was obsolete. | good | obsolete
654 | The asset was observed to be in fair condition. The asset was obsolete. The availability of replacement parts and increased maintenance cost will be an issue. | 649 | good
654 | good | 650 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
654 | obsolete | 651 | good
655 | good | 652 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
656 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 653 | good
656 | good | 654 | The asset was observed to be in fair condition. The asset was obsolete. The availability of replacement parts and increased maintenance cost will be an issue. | good | obsolete
657 | good | 655 | good
658 | The asset was observed to be in fair condition. The asset was obsolete. The availability of replacement parts and increased maintenance cost will be an issue. | 656 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
658 | good | 657 | good
658 | obsolete | 658 | The asset was observed to be in fair condition. The asset was obsolete. The availability of replacement parts and increased maintenance cost will be an issue. | good | obsolete
659 | good | 659 | good
660 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 660 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
660 | good | 661 | good
661 | good | 662 | The asset was observed to be in good condition. | good
662 | The asset was observed to be in good condition. | 663 | good
662 | good | 664 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
663 | good | 665 | covered in acoustic panelling
664 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 666 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
664 | good | 667 | good
665 | covered in acoustic panelling | 668 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
666 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 669 | good
666 | good | 670 | The asset was observed to be in good condition; however, it is recommended to replace the fixtures with LED during next upgrade. | good | Fixture to be changed into LED with next upgrade
667 | good | 671 | good
668 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 672 | The asset was observed to be in good condition; however, it is recommended to replace the fixtures with LED during next upgrade. | good | Fixture to be changed into LED with next upgrade
668 | good | 673 | good
669 | good | 674 | The asset was observed to be in good condition. | Good
670 | The asset was observed to be in good condition; however, it is recommended to replace the fixtures with LED during next upgrade. | 675 | good
670 | good | 676 | The asset was observed to be in fair condition. Step cracking was observed. | Step cracking
670 | Fixture to be changed into LED with next upgrade | 677 | good
671 | good | 678 | The asset was observed to be in fair condition. Step cracking was observed. | Step cracking
672 | The asset was observed to be in good condition; however, it is recommended to replace the fixtures with LED during next upgrade. | 679 | good
672 | good | 680 | The asset was observed to be in good condition. | Good
672 | Fixture to be changed into LED with next upgrade | 681 | good
673 | good | 682
674 | The asset was observed to be in good condition. | 683 | good
674 | Good | 684 | The asset was assumed to be in fair condition. No performance issues were identified, however, the asset has approached the end of its useful service life.
675 | good | 685 | good
676 | The asset was observed to be in fair condition. Step cracking was observed. | 686 | The asset was observed to be in fair condition. Surface discoloration was noted.
676 | Step cracking | 687 | good
677 | good | 688 | The asset was assumed to be in fair condition. | assumed good based onage
678 | The asset was observed to be in fair condition. Step cracking was observed. | 689 | good
678 | Step cracking | 690 | The asset was observed to be in good condition; however, it is recommended to replace the fixtures with LED during next upgrade. | good | Fixture to be changed into LED with next upgrade
679 | good | 691 | fair
680 | The asset was observed to be in good condition. | 692 | fair
680 | Good | 693 | The asset was assumed to be in fair condition. No performance issues were identified, however, the asset has approached the end of its useful service life. | Not obsereved
681 | good | 694 | good
683 | good | 695 | The asset was observed to be in poor condition. Ductwork and fan appear to be at the end of its life. Severe corrosion was observed. Fan and ductwork should be upgraded to use frp material to better suit the harsh environment. | Ductwork and Fan appear to be at the end of its life. New fan and ductwork should be upgraded to use FRP material to better suit the harsh environment.
684 | The asset was assumed to be in fair condition. No performance issues were identified, however, the asset has approached the end of its useful service life. | 696 | good
685 | good | 697 | The asset was assumed to be in fair condition. | assumed based on age
686 | The asset was observed to be in fair condition. Surface discoloration was noted. | 698 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
687 | good | 699 | The asset was observed to be in fair condition as gratings were spanning in wrong direction. | The gratings were spanning in wrong direction | The gratings were bent/ broken at some locations. | HS: Broken/bent gratings | HS: Gratings spanning in wrong direction
688 | The asset was assumed to be in fair condition. | 700 | The asset was assumed to be in fair condition. No performance issues were identified, however, the asset has approached the end of its useful service life. | Not obserevd
688 | assumed good based onage | 701 | The asset was observed to be in fair condition. The asset appeared to be original supply fan system. The fan is controlled through wall mounted thermostat set at 25c. The fan will turn on when temperature is above 25c to cool the space. | Appears to be original supply fan system. Fan is controlled through wall mounted thermostat set at 25C. This fan will power ON when temperature is above 25C to cool the space.
689 | good | 702 | The asset was assumed to be in fair condition.
690 | The asset was observed to be in good condition; however, it is recommended to replace the fixtures with LED during next upgrade. | 703 | The asset was observed to be in good condition. More remote heads to be added. | good | more remote heads to be added
690 | good | 704 | The asset was observed to be in fair condition. It had approached the end of its useful service life. | very good
690 | Fixture to be changed into LED with next upgrade | 705 | The asset was assumed to be in fair condition. No performance issues were identified, however, the asset has approached the end of its useful service life.
691 | fair | 706 | good
692 | fair | 707 | The asset was observed to be in fair condition. There was no gas inspection tag from the time the unit was commissioned. | There was no gas inspection tag from the time the unit was commissioned.
693 | The asset was assumed to be in fair condition. No performance issues were identified, however, the asset has approached the end of its useful service life. | 708 | assumed to be fair condition based on age
693 | Not obsereved | 709 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good | to be replaced with new in next upgrade
694 | good | 710 | The asset was observed to be in good condition. Dust was observed. | dust
695 | The asset was observed to be in poor condition. Ductwork and fan appear to be at the end of its life. Severe corrosion was observed. Fan and ductwork should be upgraded to use frp material to better suit the harsh environment. | 711
695 | Ductwork and Fan appear to be at the end of its life. New fan and ductwork should be upgraded to use FRP material to better suit the harsh environment. | 712 | The asset was assumed to be in fair condition. No performance issues were identified, however, the asset has approached the end of its useful service life. | Not obsereved
696 | good | 713
697 | The asset was assumed to be in fair condition. | 714 | good | good
697 | assumed based on age | 715 | The asset was observed to be in very good condition. | Very Good
698 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 716 | Fair | The mesh at the bottom of the gate was bent and broken | good
698 | good | 717 | The asset was observed to be in good condition. | good
699 | The asset was observed to be in fair condition as gratings were spanning in wrong direction. | 718 | significant cracking
699 | The gratings were spanning in wrong direction | 719 | not visible | not visible
699 | The gratings were bent/ broken at some locations. | 720 | The asset was assumed to be in fair condition. No performance issues were identified, however, the asset has approached the end of its useful service life. | Not observed
699 | HS: Broken/bent gratings | 721 | moderate surface corrosion
699 | HS: Gratings spanning in wrong direction | 722
700 | The asset was assumed to be in fair condition. No performance issues were identified, however, the asset has approached the end of its useful service life. | 723 | good
700 | Not obserevd | 724 | assumed to be fair condition based on age
701 | The asset was observed to be in fair condition. The asset appeared to be original supply fan system. The fan is controlled through wall mounted thermostat set at 25c. The fan will turn on when temperature is above 25c to cool the space. | 725 | localized depressions
701 | Appears to be original supply fan system. Fan is controlled through wall mounted thermostat set at 25C. This fan will power ON when temperature is above 25C to cool the space. | 726 | The asset was observed to be in good condition; however, it is recommended to replace the fixtures with LED during next upgrade. | good | change to LED with next upgrade
702 | The asset was assumed to be in fair condition. | 727 | good
703 | The asset was observed to be in good condition. More remote heads to be added. | 728 | The asset was observed to be in good condition; however, the asset had approached the end of its useful service life. | good
703 | good | 729 | The asset was observed to be in fair condition. Plug valve was installed in 1999 and check valves were installed in 2008. Moderate corrosion on valves and check valves and throughout the pipe was observed. | Moderate corroson on piping | Plug valve was installed in 1999. Moderate corrosion on valves
703 | more remote heads to be added | 730 | loss of gravel | OM: Operators noted that it is difficult to get out of the station during poor weather conditions/when gravel road is not plowed. Station is at the bottom of the hill.
704 | The asset was observed to be in fair condition. It had approached the end of its useful service life. | 731 | good | good
704 | very good | 732 | The asset was observed to be in fair condition. Minor discoloration spots were observed on intake and exhaust silencer. | Minor discoloration spots on intake and exhaust silencer
705 | The asset was assumed to be in fair condition. No performance issues were identified, however, the asset has approached the end of its useful service life. | 733 | The asset was assumed to be in fair condition. No performance issues were identified; however, the asset has approached the end of its useful service life. | Not observed
706 | good | 734
707 | The asset was observed to be in fair condition. There was no gas inspection tag from the time the unit was commissioned. | 735 | The asset was observed to be in fair condition. Unit heater appeared to be original to the building. Surface discoloration was observed. | Unit Heater appears to be oringinal to the building.
707 | There was no gas inspection tag from the time the unit was commissioned. | 736 | good
708 | assumed to be fair condition based on age | 737 | not observed
709 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 738 | The asset was observed to be in good condition. | good
709 | good | 739 | The asset was assumed to be in fair condition. No performance issues were identified; however, the asset has approached the end of its useful service life. | Not observed
709 | to be replaced with new in next upgrade | 740
710 | The asset was observed to be in good condition. Dust was observed. | 741 | The asset was observed to be in fair condition. Fan appeared to be original to the building. | Fan appears to be oringinal to the building.
710 | dust | 742 | The asset was observed to be in fair condition. Disordered wiring and corrosion were observed. | disordered wiring | corrosion
712 | The asset was assumed to be in fair condition. No performance issues were identified, however, the asset has approached the end of its useful service life. | 743 | The asset was observed to be in good condition; however, it is recommended to replace the fixtures with LED during next upgrade. | good | Fixtures to be changed into LED with next upgrade
712 | Not obsereved | 744 | The asset was missing. | Missing
714 | good | 745
714 | good | 746 | The asset was observed to be in poor condition. The Fan appeared to be original to the building. It did not work when power switch was activated. | Fan appears to be oringinal to the building. Fan did not work when power switch was activated.
715 | The asset was observed to be in very good condition. | 747 | The asset was observed to be in good condition; however, it is recommended to replace the fixtures with LED during next upgrade. | good | change to LED with next upgrade
715 | Very Good | 748 | good
716 | Fair | 749 | The asset was observed to be in good condition. | Good
716 | The mesh at the bottom of the gate was bent and broken | 750
716 | good | 751 | The asset was observed to be in fair condition based on its age. Unit heater appeared to be original to the building. | Unit Heater appears to be oringinal to the building.
717 | The asset was observed to be in good condition. | 752 | The asset was observed to be in good condition. | good
717 | good | 753
718 | significant cracking | 754 | The asset was observed to be in good condition. | Good
719 | not visible | 755
719 | not visible | 756 | The asset was observed to be in fair condition based on its age. The unit heater was located at entrance to building. Surface discoloration was observed | Unit Heater located at entrance to building
720 | The asset was assumed to be in fair condition. No performance issues were identified, however, the asset has approached the end of its useful service life. | 757 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
720 | Not observed | 758 | corrosion | dust
721 | moderate surface corrosion | 759 | The asset was assumed to be in fair condition. | Not observed
723 | good | 760 | The asset was observed to be in good condition. | Eyewash station installed in corridor
724 | assumed to be fair condition based on age | 761 | The asset was observed to be in good condition. | good
725 | localized depressions | 762 | The asset was observed to be in good condition. | good
726 | The asset was observed to be in good condition; however, it is recommended to replace the fixtures with LED during next upgrade. | 763 | decommissioned
726 | good | 764 | The asset was assumed to be in good condition based on its age. | Not observed
726 | change to LED with next upgrade | 765 | The asset was assumed to be in fair condition due to its age. The exhaust fan was inaccessible at the time of inspection. | Not observed
727 | good | 766 | The asset was observed to be in fair condition based on age. The asset was covered by acoustic panels. | covered by acoustic panels
728 | The asset was observed to be in good condition; however, the asset had approached the end of its useful service life. | 767 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
728 | good | 768 | good
729 | The asset was observed to be in fair condition. Plug valve was installed in 1999 and check valves were installed in 2008. Moderate corrosion on valves and check valves and throughout the pipe was observed. | 769 | dust
729 | Moderate corroson on piping | 770
729 | Plug valve was installed in 1999. Moderate corrosion on valves | 771 | The asset was assumed to be in good condition based on its age. | Not observed
730 | loss of gravel | 772 | The asset was observed to be in fair condition based on age. | Unit heaters is a replacement.
730 | OM: Operators noted that it is difficult to get out of the station during poor weather conditions/when gravel road is not plowed. Station is at the bottom of the hill. | 773 | good
731 | good | 774 | The asset was observed to be in good condition. | good
731 | good | 775 | good
732 | The asset was observed to be in fair condition. Minor discoloration spots were observed on intake and exhaust silencer. | 776
732 | Minor discoloration spots on intake and exhaust silencer | 777 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
733 | The asset was assumed to be in fair condition. No performance issues were identified; however, the asset has approached the end of its useful service life. | 778 | The asset was observed to be in good condition. | Good
733 | Not observed | 779 | The asset was assumed to be in fair condition based on its age. | Not observed
735 | The asset was observed to be in fair condition. Unit heater appeared to be original to the building. Surface discoloration was observed. | 780 | The asset was observed to be in fair condition based on age. | Unit heaters appears to original
735 | Unit Heater appears to be oringinal to the building. | 781 | good
736 | good | 782
737 | not observed | 783 | The asset was observed to be in good condition. | Good
738 | The asset was observed to be in good condition. | 784
738 | good | 785 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
739 | The asset was assumed to be in fair condition. No performance issues were identified; however, the asset has approached the end of its useful service life. | 786 | good
739 | Not observed | 787
741 | The asset was observed to be in fair condition. Fan appeared to be original to the building. | 788 | good
741 | Fan appears to be oringinal to the building. | 789
742 | The asset was observed to be in fair condition. Disordered wiring and corrosion were observed. | 790
742 | disordered wiring | 791 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. | Not obseved
742 | corrosion | 792
743 | The asset was observed to be in good condition; however, it is recommended to replace the fixtures with LED during next upgrade. | 793 | The asset was observed to be in very good condition.
743 | good | 794
743 | Fixtures to be changed into LED with next upgrade | 795 | The asset was observed to be in good condition. | Good
744 | The asset was missing. | 796
744 | Missing | 797 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
746 | The asset was observed to be in poor condition. The Fan appeared to be original to the building. It did not work when power switch was activated. | 798
746 | Fan appears to be oringinal to the building. Fan did not work when power switch was activated. | 799 | good
747 | The asset was observed to be in good condition; however, it is recommended to replace the fixtures with LED during next upgrade. | 800
747 | good | 801
747 | change to LED with next upgrade | 802 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. | Not observed
748 | good | 803
749 | The asset was observed to be in good condition. | 804 | The asset was observed to be in fair condition based on age.
749 | Good | 805
751 | The asset was observed to be in fair condition based on its age. Unit heater appeared to be original to the building. | 806 | The asset was observed to be in good condition. | Good
751 | Unit Heater appears to be oringinal to the building. | 807
752 | The asset was observed to be in good condition. | 808 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
752 | good | 809
754 | The asset was observed to be in good condition. | 810 | dust
754 | Good | 811
756 | The asset was observed to be in fair condition based on its age. The unit heater was located at entrance to building. Surface discoloration was observed | 812 | good
756 | Unit Heater located at entrance to building | 813 | good
757 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 814
757 | good | 815 | good
758 | corrosion | 816 | good
758 | dust | 817
759 | The asset was assumed to be in fair condition. | 818 | The asset was observed to be in fair condition based on its age.
759 | Not observed | 819 | The asset was observed to be in good condition. | Good
760 | The asset was observed to be in good condition. | 820 | worn/peeling
760 | Eyewash station installed in corridor | 821 | The asset was observed to be in good condition. The disconnect switch was not in service. | good | disconnected
761 | The asset was observed to be in good condition. | 822 | good
761 | good | 823
762 | The asset was observed to be in good condition. | 824 | corrosion | dust
762 | good | 825 | good
763 | decommissioned | 826
764 | The asset was assumed to be in good condition based on its age. | 827 | Good
764 | Not observed | 828 | Area is classified but unit is non-explosion proof.
765 | The asset was assumed to be in fair condition due to its age. The exhaust fan was inaccessible at the time of inspection. | 829 | good
765 | Not observed | 830
766 | The asset was observed to be in fair condition based on age. The asset was covered by acoustic panels. | 831 | Area is classified but unit is non-explosion proof.
766 | covered by acoustic panels | 832 | The asset was observed to be in fair condition based on its age.
767 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 833 | good
767 | good | 834 | Minor corosion and deterioration
768 | good | 835 | Odour Control Unit was removed from the building but was never replaced.
769 | dust | 836 | The asset was observed to be in good condition. | good
771 | The asset was assumed to be in good condition based on its age. | 837 | covered in acoustic panelling
771 | Not observed | 838
772 | The asset was observed to be in fair condition based on age. | 839 | Good
772 | Unit heaters is a replacement. | 840 | good
773 | good | 841 | good
774 | The asset was observed to be in good condition. | 842 | Damper actuator inside an explosion proof enclosure | Good
774 | good | 843 | The asset was observed to be in fair condition based on its age. The fan appeared to be original complete with intake louver and motorized dampers. | Fan appears to be original complete with intake louver and motorized dampers
775 | good | 844
777 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 845 | good
777 | good | 846 | Corrosion
778 | The asset was observed to be in good condition. | 847 | good
778 | Good | 848 | The asset was observed to be in good condition. | Good
779 | The asset was assumed to be in fair condition based on its age. | 849 | good
779 | Not observed | 850 | good
780 | The asset was observed to be in fair condition based on age. | 851 | Minor corosion
780 | Unit heaters appears to original | 852 | Good
781 | good | 853 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
783 | The asset was observed to be in good condition. | 854 | good
783 | Good | 855 | good
785 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 856 | Minor corosion
785 | good | 857 | Good
786 | good | 858 | good
788 | good | 859 | good
791 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. | 860 | good
791 | Not obseved | 861 | Minor corosion
793 | The asset was observed to be in very good condition. | 862 | Good
795 | The asset was observed to be in good condition. | 863 | good
795 | Good | 864 | good
797 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 865 | Good
797 | good | 866 | The asset was observed to be in fair condition based on its age.
799 | good | 867 | good
802 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. | 868 | good
802 | Not observed | 869 | good
804 | The asset was observed to be in fair condition based on age. | 870 | Good
806 | The asset was observed to be in good condition. | 871 | The asset was observed to be in good condition. | Good
806 | Good | 872 | good
808 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 873 | good | does not have enough spare circuits / crowded
808 | good | 874 | Good
810 | dust | 875 | The asset was observed to be in good condition; however, it is recommended to replace the fixtures with LED during next upgrade. | good | change to LED with next upgrade
812 | good | 876 | good
813 | good | 877 | good
815 | good | 878 | Fair | Minor corosion
816 | good | 879 | good
818 | The asset was observed to be in fair condition based on its age. | 880 | good
819 | The asset was observed to be in good condition. | 881 | good | HS: no arc flash label
819 | Good | 882 | Good
820 | worn/peeling | 883 | good
821 | The asset was observed to be in good condition. The disconnect switch was not in service. | 884 | good
821 | good | 885 | Good | Dust
821 | disconnected | 886 | good
822 | good | 887 | good | does not have enough spare circuits / crowded
824 | corrosion | 888 |  | good
824 | dust | 889 | The asset was observed to be in good condition. More remote heads to be added. | good | more remote heads to be added
825 | good | 890 | good
827 | Good | 891 | good | does not have enough spare circuits / crowded
828 | Area is classified but unit is non-explosion proof. | 892 | good
829 | good | 893 | good
831 | Area is classified but unit is non-explosion proof. | 894 | good
832 | The asset was observed to be in fair condition based on its age. | 895 | good
833 | good | 896 | good
834 | Minor corosion and deterioration | 897 | The asset was observed to be in good condition. | good
835 | Odour Control Unit was removed from the building but was never replaced. | 898 | good
836 | The asset was observed to be in good condition. | 899 | good
836 | good | 900 | good
837 | covered in acoustic panelling | 901 | good
839 | Good | 902 | good
840 | good | 903 | good
841 | good | 904 | Unit is gas fired with a 399,000 BTU capacity.
842 | Damper actuator inside an explosion proof enclosure | 905 | good
842 | Good | 906 | good
843 | The asset was observed to be in fair condition based on its age. The fan appeared to be original complete with intake louver and motorized dampers. | 907 | good
843 | Fan appears to be original complete with intake louver and motorized dampers | 908 | The asset was observed to be in fair condition based on its age. It was reported that the City do not use the unit but solely rely on electric heating. | Furnace looks to be in fairly good condition. It was reported that they do not use the unit but solely rely on electric heating.
845 | good | 909 | good
846 | Corrosion | 910 | good
847 | good | 911 | Furnace is back-up for other air handling unit. Furnace was not in use. | good
848 | The asset was observed to be in good condition. | 912 | The asset was observed to be in good condition. | good
848 | Good | 913 | good
849 | good | 914 | good
850 | good | 915 | good
851 | Minor corosion | 916 | The asset was observed to be in good condition. More remote heads to be added. | good | more remote heads to be added
852 | Good | 917 | good
853 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 918 | good
853 | good | 919 | good
854 | good | 920 | good
855 | good | 921 | good
856 | Minor corosion | 922 | good
857 | Good | 923 | good
858 | good | 924 | good
859 | good | 925 | good
860 | good | 926 | good
861 | Minor corosion | 927 | The asset was observed to be in fair condition based on its age.
862 | Good | 928 | good
863 | good | 929 | good
864 | good | 930 | Good
865 | Good | 931 | The asset was observed to be in good condition; however, it is recommended to replace the fixtures with LED during next upgrade. | good | change to LED with next upgrade
866 | The asset was observed to be in fair condition based on its age. | 932 | good
867 | good | 933 | good
868 | good | 934 | Tank appears to be at end of its life. Tank did not appear to be double walled type.
869 | good | 935 | good
870 | Good | 936 | good
871 | The asset was observed to be in good condition. | 937 | Good
871 | Good | 938 | good
872 | good | 939 | good
873 | good | 940 | good
873 | does not have enough spare circuits / crowded | 941 | good
874 | Good | 942
875 | The asset was observed to be in good condition; however, it is recommended to replace the fixtures with LED during next upgrade. | 943 | The asset was observed to be in fair condition. Minor corrosion and deterioration was observed. | Minor corrosion and deterioration
875 | good | 944 | good
875 | change to LED with next upgrade | 945 | good
876 | good | 946
877 | good | 947 | very good
878 | Fair | 948 | The asset was observed to be in fair condition based. Minor signs of corrosion were observed
878 | Minor corosion | 949 | good
879 | good | 950 | good
880 | good | 951
881 | good | 952 | fair | minor corroson
881 | HS: no arc flash label | 953 | The asset was observed to be in good condition; however, it is recommended to replace the fixtures with LED during next upgrade. | good | change to LED with next upgrade
882 | Good | 954 | good
883 | good | 955 | good
884 | good | 956
885 | Good | 957 | fair | surface corrosion
885 | Dust | 958 | The asset was observed to be in very poor condition as it was not working. Corrosion was also noted on its surface. | Not Working | Corrosion on the surface
886 | good | 959 | good
887 | good | 960 | good
887 | does not have enough spare circuits / crowded | 961
888 |  | 962 | Explosion Proof Exhaust Fan | covered in snow | assumed to be in fair condition
888 | good | 963 | The asset was observed to be in good condition; however, the asset had approached the end of its useful service life. | good
889 | The asset was observed to be in good condition. More remote heads to be added. | 964 | good
889 | good | 965
889 | more remote heads to be added | 966 | The asset was observed to be in good condition. | Current CSA B139 codes dictate that all tank, fuel lines and equipment to be contained for any potential spills. This needs to be upgraded in the near future. | Diesel Fuel system was recently upgraded to meet TSSA standards | CC: Current CSA B139 codes dictate that all tank, fuel lines and equipment to be contained for any potential spills. This will need to be upgraded in the near future.
890 | good | 967 | good
891 | good | 968
891 | does not have enough spare circuits / crowded | 969 | The asset was observed to be in good condition; however, it is recommended to replace the fixtures with LED during next upgrade. | good | change to LED with next upgrade
892 | good | 970 | good
893 | good | 971 | good | has surface corrosion
894 | good | 972 | Servere corrosion
895 | good | 973 | good
896 | good | 974 | Sereve corrosion
897 | The asset was observed to be in good condition. | 975 | good
897 | good | 976 | good
898 | good | 977 | The asset was observed to be in good condition. | Current CSA B139 codes dictate that all tank, fuel lines and equipment to be contained for any potential spills. This needs to be upgraded in the near future. | Diesel Fuel system was recently upgraded to meet TSSA standards | CC: Current CSA B139 codes dictate that all tank, fuel lines and equipment to be contained for any potential spills. This will need to be upgraded in the near future.
899 | good | 978 | good
900 | good | 979 | The asset was observed to be in good condition; however, it is recommended to replace the fixtures with LED during next upgrade. | good | change to LED with next upgrade
901 | good | 980 | good
902 | good | 981 | good
903 | good | 982 | The asset was observed to be in good condition. Insulation jacketing appeared to have been recently replaced. | Insulation jacketing looks to have been recently replaced (2018?)
904 | Unit is gas fired with a 399,000 BTU capacity. | 983 | good
905 | good | 984 | The asset was observed to be in good condition; however, it is recommended to replace the fixtures with LED during next upgrade. | good | change to LED with next upgrade
906 | good | 985 | good
907 | good | 986 | The asset was observed to be in good condition; however, the asset had approached the end of its useful service life. | good
908 | The asset was observed to be in fair condition based on its age. It was reported that the City do not use the unit but solely rely on electric heating. | 987 | good | change to LED with next upgrade
908 | Furnace looks to be in fairly good condition. It was reported that they do not use the unit but solely rely on electric heating. | 988 | The asset was observed to be in fair condition. Corrosion resistant type unit heater appeared to have been recently installed. | Unit Heater appears to have been recently installed. Corrosion resistant type.
909 | good | 989 | good | change to LED with next upgrade
910 | good | 990 | good | change to LED with next upgrade
911 | Furnace is back-up for other air handling unit. Furnace was not in use. | 991 | The asset was observed to be in good condition. More remote heads to be added. | good | more remote heads to be added
911 | good | 992 | good
912 | The asset was observed to be in good condition. | 993 | The asset was observed to be in good condition; however, the asset had approached the end of its useful service life. | good
912 | good | 994 | good | change to LED with next upgrade
913 | good | 995
914 | good | 996 | good
915 | good | 997
916 | The asset was observed to be in good condition. More remote heads to be added. | 998 | The asset was observed to be in fair condition. | Chemical room houses pumps which under nfpa 820 makes the room a classified space. Continuous ventilation with both a supply and exhaust fan will de-classify the space. | CC: Chemical Room houses WAS pumps which does under NFPA 820 makes the room a classified space. Continous ventilation with both a supply and exhaust fan will de-classify the space.
916 | good | 999 | good | change to LED with next upgrade
916 | more remote heads to be added | 1000 | good
917 | good | 1001 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
918 | good | 1002 | good
919 | good | 1003 | Serious deterioration
920 | good | 1004 | The asset was observed to be in good condition; however, the asset had approached the end of its useful service life. | good
921 | good | 1005 | good | change to LED with next upgrade
922 | good | 1006 | Serious deterioration
923 | good | 1007
924 | good | 1008 | good
925 | good | 1009 | Serious deterioration
926 | good | 1010 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
927 | The asset was observed to be in fair condition based on its age. | 1011 | good | change to LED with next upgrade
928 | good | 1012 | Serious deterioration
929 | good | 1013 | good
930 | Good | 1014 | Serious deterioration
931 | The asset was observed to be in good condition; however, it is recommended to replace the fixtures with LED during next upgrade. | 1015
931 | good | 1016 | good
931 | change to LED with next upgrade | 1017 | Serious deterioration
932 | good | 1018 | The asset was observed to be in good condition; however, the fixtures to change to LED with next upgrade was recommended. | good | change to LED with next upgrade
933 | good | 1019 | good | change to LED with next upgrade
934 | Tank appears to be at end of its life. Tank did not appear to be double walled type. | 1020
935 | good | 1021 | Minor corosion and deterioration | Minor corosion and deterioration
936 | good | 1022 | good
937 | Good | 1023
938 | good | 1024 | The asset was observed to be in good condition; however, it is recommended to replace the fixtures with LED during next upgrade. | good | change to LED with next upgrade
939 | good | 1025 | good | change to LED with next upgrade
940 | good | 1026 | good
941 | good | 1027
943 | The asset was observed to be in fair condition. Minor corrosion and deterioration was observed. | 1028 | good | change to LED with next upgrade
943 | Minor corrosion and deterioration | 1029 | good
944 | good | 1030 | The asset was observed to be in good condition; however, it is recommended to replace the fixtures with LED during next upgrade. | good | change to LED with next upgrade
945 | good | 1031 | good
947 | very good | 1032 | good
948 | The asset was observed to be in fair condition based. Minor signs of corrosion were observed | 1033
949 | good | 1034 | good | change to LED with next upgrade
950 | good | 1035 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
952 | fair | 1036 | Corrosion | Corrosion
952 | minor corroson | 1037 | good | change to LED with next upgrade
953 | The asset was observed to be in good condition; however, it is recommended to replace the fixtures with LED during next upgrade. | 1038 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
953 | good | 1039 | Minor corosion | Minor corosion
953 | change to LED with next upgrade | 1040 | good | change to LED with next upgrade
954 | good | 1041 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
955 | good | 1042 | Minor corosion | Minor corosion
957 | fair | 1043 | good
957 | surface corrosion | 1044 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
958 | The asset was observed to be in very poor condition as it was not working. Corrosion was also noted on its surface. | 1045 | Minor corosion | Minor corosion
958 | Not Working | 1046 | good
958 | Corrosion on the surface | 1047 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
959 | good | 1048
960 | good | 1049 | good
962 | Explosion Proof Exhaust Fan | 1050 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
962 | covered in snow | 1051 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. Condition of the gate should be inspected during recommended structural inspection of the tank. | Not observed
962 | assumed to be in fair condition | 1052 | good
963 | The asset was observed to be in good condition; however, the asset had approached the end of its useful service life. | 1053 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
963 | good | 1054 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. Condition of the gate should be inspected during recommended structural inspection of the tank. | Not observed
964 | good | 1055 | good
966 | The asset was observed to be in good condition. | 1056 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
966 | Current CSA B139 codes dictate that all tank, fuel lines and equipment to be contained for any potential spills. This needs to be upgraded in the near future. | 1057 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. | Not observed
966 | Diesel Fuel system was recently upgraded to meet TSSA standards | 1058 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
966 | CC: Current CSA B139 codes dictate that all tank, fuel lines and equipment to be contained for any potential spills. This will need to be upgraded in the near future. | 1059 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. Condition of the gate should be inspected during recommended structural inspection of the tank. | Not observed
967 | good | 1060 | good
969 | The asset was observed to be in good condition; however, it is recommended to replace the fixtures with LED during next upgrade. | 1061 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
969 | good | 1062 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. Condition of the gate should be inspected during recommended structural inspection of the tank. | Not observed
969 | change to LED with next upgrade | 1063 | good
970 | good | 1064 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
971 | good | 1065 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. Condition of the gate should be inspected during recommended structural inspection of the tank. | Not observed
971 | has surface corrosion | 1066 | good
972 | Servere corrosion | 1067 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
973 | good | 1068 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. Condition of the gate should be inspected during recommended structural inspection of the tank. | Not observed
974 | Sereve corrosion | 1069 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
975 | good | 1070 | good
976 | good | 1071 | Minor Rust on the Frame
977 | The asset was observed to be in good condition. | 1072 | good
977 | Current CSA B139 codes dictate that all tank, fuel lines and equipment to be contained for any potential spills. This needs to be upgraded in the near future. | 1073 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
977 | Diesel Fuel system was recently upgraded to meet TSSA standards | 1074 | good
977 | CC: Current CSA B139 codes dictate that all tank, fuel lines and equipment to be contained for any potential spills. This will need to be upgraded in the near future. | 1075 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
978 | good | 1076 | The asset was observed to be in fair condition as moderate corrosion was observed.
979 | The asset was observed to be in good condition; however, it is recommended to replace the fixtures with LED during next upgrade. | 1077 | good
979 | good | 1078 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
979 | change to LED with next upgrade | 1079 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
980 | good | 1080 | good
981 | good | 1081 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
982 | The asset was observed to be in good condition. Insulation jacketing appeared to have been recently replaced. | 1082
982 | Insulation jacketing looks to have been recently replaced (2018?) | 1083 | good
983 | good | 1084 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
984 | The asset was observed to be in good condition; however, it is recommended to replace the fixtures with LED during next upgrade. | 1085
984 | good | 1086 | good
984 | change to LED with next upgrade | 1087 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
985 | good | 1088
986 | The asset was observed to be in good condition; however, the asset had approached the end of its useful service life. | 1089 | good
986 | good | 1090 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
987 | good | 1091
987 | change to LED with next upgrade | 1092 | good
988 | The asset was observed to be in fair condition. Corrosion resistant type unit heater appeared to have been recently installed. | 1093 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
988 | Unit Heater appears to have been recently installed. Corrosion resistant type. | 1094
989 | good | 1095 | good
989 | change to LED with next upgrade | 1096 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
990 | good | 1097
990 | change to LED with next upgrade | 1098 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
991 | The asset was observed to be in good condition. More remote heads to be added. | 1099
991 | good | 1100 | good
991 | more remote heads to be added | 1101 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
992 | good | 1102 | Servere corrosion | Servere corrosion
993 | The asset was observed to be in good condition; however, the asset had approached the end of its useful service life. | 1103 | good
993 | good | 1104 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
994 | good | 1105 | Sereve corrosion | Sereve corrosion
994 | change to LED with next upgrade | 1106 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
996 | good | 1107 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. Condition of the gate should be inspected during recommended structural inspection of the tank. | Not observed
998 | The asset was observed to be in fair condition. | 1108 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
998 | Chemical room houses pumps which under nfpa 820 makes the room a classified space. Continuous ventilation with both a supply and exhaust fan will de-classify the space. | 1109 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. Condition of the gate should be inspected during recommended structural inspection of the tank. | Not observed
998 | CC: Chemical Room houses WAS pumps which does under NFPA 820 makes the room a classified space. Continous ventilation with both a supply and exhaust fan will de-classify the space. | 1110 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
999 | good | 1111 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. Condition of the gate should be inspected during recommended structural inspection of the tank. | Not observed
999 | change to LED with next upgrade | 1112 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
1000 | good | 1113 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. Condition of the gate should be inspected during recommended structural inspection of the tank. | Not observed
1001 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 1114 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
1001 | good | 1115 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. Condition of the gate should be inspected during recommended structural inspection of the tank. | Not observed
1002 | good | 1116 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
1003 | Serious deterioration | 1117 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. | Not observed
1004 | The asset was observed to be in good condition; however, the asset had approached the end of its useful service life. | 1118 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
1004 | good | 1119 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. | Not observed
1005 | good | 1120 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
1005 | change to LED with next upgrade | 1121 | The asset was observed to be in fair condition. The turning wheel was missing. Corrosion was observed on the stem. Condition of the valve should be confirmed during recommended structural inspection of the tank. | Corrosion observed on the stem | Turning wheel missing
1006 | Serious deterioration | 1122 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
1008 | good | 1123 | The asset was observed to be in fair condition. The turning wheel was missing. Corrosion was observed on the stem. Condition of the gate should be inspected during recommended structural inspection of the tank. | Valve missing | ch
1009 | Serious deterioration | 1124
1010 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | 1125
1010 | good | 1126
1011 | good | 1127 | The asset was assumed to be in good condition. No performance issue were identified; however, the asset has approached the end of its useful service life.
1011 | change to LED with next upgrade | 1128
1012 | Serious deterioration | 1129 | The asset was assumed to be in good condition.
1013 | good | 1130 | The asset was assumed to be in good condition.
1014 | Serious deterioration | 1131 | The asset was assumed to be in good condition.
1016 | good | 1132 | The asset was assumed to be in good condition.
1017 | Serious deterioration | 1133 | The asset was observed to be in fair condition. Minor signs of corrosion were noted
1018 | The asset was observed to be in good condition; however, the fixtures to change to LED with next upgrade was recommended. | 1134 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue. | good
1018 | good | 1135 | The asset was observed to be in fair condition. No signs of deterioration were note; however, the asset had approached the end of its useful service life.
1018 | change to LED with next upgrade | 1136 | The asset was observed to be in fair condition. No signs of deterioration were note; however, the asset had approached the end of its useful service life.
1019 | good | 1137 | The asset was observed to be in fair condition. No signs of deterioration were note; however, the asset had approached the end of its useful service life.
1019 | change to LED with next upgrade | 1138 | The asset was observed to be in fair condition. No signs of deterioration were note; however, the asset had approached the end of its useful service life.
1021 | Minor corosion and deterioration | 1139 | The asset was observed to be in fair condition. No signs of deterioration were note; however, the asset had approached the end of its useful service life.
1021 | Minor corosion and deterioration | 1140 | The asset was in fair condition. No performance issues were identified.
1022 | good | 1141 | The asset was in fair condition. No performance issues were identified.
1024 | The asset was observed to be in good condition; however, it is recommended to replace the fixtures with LED during next upgrade. | 1142 | The asset was in good condition. No performance issues were identified.
1024 | good | 1143 | The asset was observed to be in fair condition based on its age.
1024 | change to LED with next upgrade | 1144 | The asset was observed to be in fair condition based on its age.
1025 | good | 1145 | The asset was observed to be in fair condition based on its age.
1025 | change to LED with next upgrade | 1146 | The asset was observed to be in fair condition. Minor signs of corrosion was observed.
1026 | good | 1147 | The asset was observed to be in fair condition based on its age. The grill was covered in dust.
1028 | good | 1148 | The asset was observed to be in fair condition based on its age.
1028 | change to LED with next upgrade | 1149 | The asset was assumed to be in fair condition. It had approached the end of its useful service life.
1029 | good | 1150 | The asset was observed to be in fair condition based on its age.
1030 | The asset was observed to be in good condition; however, it is recommended to replace the fixtures with LED during next upgrade. | 1151 | The asset was observed to be in fair condition based on its age.
1030 | good | 1152
1030 | change to LED with next upgrade | 1153 | The asset was in fair condition. No performance issues were identified, but the asset had approached the end of its useful service life and should be replaced.
1031 | good | 1154
1032 | good | 1155
1034 | good | 1156
1034 | change to LED with next upgrade | 1157
1035 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1158 | Fair. Moderate surface corrosion and paint wear
1036 | Corrosion | 1159 | Good. Minor surface corrosion
1036 | Corrosion | 1160 | Good. Minor surface corrosion
1037 | good | 1161 | assumed to be good condition
1037 | change to LED with next upgrade | 1162 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
1038 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1163 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
1039 | Minor corosion | 1164 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
1039 | Minor corosion | 1165 | There was no safety davit installed for the dry well confined space retrieval.
1040 | good | 1166 | Fair | Moderate paint wear
1040 | change to LED with next upgrade | 1167
1041 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1168
1042 | Minor corosion | 1169
1042 | Minor corosion | 1170
1043 | good | 1171
1044 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1172
1045 | Minor corosion | 1173
1045 | Minor corosion | 1174
1046 | good | 1175 | Fair | Grill was covered in dust and was broken
1047 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1176 | Good
1049 | good | 1177 | Good
1050 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1178 | Good
1051 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. Condition of the gate should be inspected during recommended structural inspection of the tank. | 1179
1051 | Not observed | 1180 | Good
1052 | good | 1181
1053 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1182 | Good
1054 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. Condition of the gate should be inspected during recommended structural inspection of the tank. | 1183 | Good
1054 | Not observed | 1184
1055 | good | 1185 | Good
1056 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1186
1057 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. | 1187 | Good
1057 | Not observed | 1188
1058 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1189
1059 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. Condition of the gate should be inspected during recommended structural inspection of the tank. | 1190
1059 | Not observed | 1191
1060 | good | 1192 | Good
1061 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1193
1062 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. Condition of the gate should be inspected during recommended structural inspection of the tank. | 1194 | very good
1062 | Not observed | 1195 | good
1063 | good | 1196 | good
1064 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1197
1065 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. Condition of the gate should be inspected during recommended structural inspection of the tank. | 1198 | good
1065 | Not observed | 1199
1066 | good | 1200 | There was no Fire Alarm System installed at the plant. The fire protection measure should be in accordance with the requirements of NFPA 820 and Ontario Building Code.
1067 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1201 | There were no Smoke Detectors installed at the plant. A smoke detection system in accordance with the requirements of NFPA 820 and Ontario Building Code is required.
1068 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. Condition of the gate should be inspected during recommended structural inspection of the tank. | 1202
1068 | Not observed | 1203
1069 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1204
1070 | good | 1205
1071 | Minor Rust on the Frame | 1206
1072 | good | 1207
1073 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1208
1074 | good | 1209
1075 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1210 | There was no safety davit installed for the dry well confined space retrieval.
1076 | The asset was observed to be in fair condition as moderate corrosion was observed. | 1211 | There were no Smoke Detectors installed at the plant. A smoke detection system in accordance with the requirements of NFPA 820 and Ontario Building Code is required. | There were no Smoke Detectors installed at the plant. A smoke detection system in accordance with the requirements of NFPA 820 and Ontario Building Code is required. | There were no Smoke Detectors installed at the plant. A smoke detection system in accordance with the requirements of NFPA 820 and Ontario Building Code is required.
1077 | good | 1212 | There was no Fire Alarm System installed at the plant. The fire protection measure should be in accordance with the requirements of NFPA 820 and Ontario Building Code.
1078 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1213
1079 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1214 | Good
1080 | good | 1215
1081 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1216
1083 | good | 1217
1084 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1218
1086 | good | 1219
1087 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1220
1089 | good | 1221 | good
1090 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1222
1092 | good | 1223 | dust | good
1093 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1224 | corrosion and dust | fair
1095 | good | 1225 | good
1096 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1226 | minor corosion | good
1098 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1227 | Good
1100 | good | 1228 | Good
1101 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1229 | Fair | Dust
1102 | Servere corrosion | 1230 | Good
1102 | Servere corrosion | 1231 | Good
1103 | good | 1232 | Fair | Minor corrosion
1104 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1233 | Fair | Dust
1105 | Sereve corrosion | 1234 | Fair | Dust
1105 | Sereve corrosion | 1235 | Fair | Dust
1106 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1236 | Fair
1107 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. Condition of the gate should be inspected during recommended structural inspection of the tank. | 1237
1107 | Not observed | 1238
1108 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1239
1109 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. Condition of the gate should be inspected during recommended structural inspection of the tank. | 1240
1109 | Not observed | 1241
1110 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1242
1111 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. Condition of the gate should be inspected during recommended structural inspection of the tank. | 1243
1111 | Not observed | 1244
1112 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age | 1245 | Good
1113 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. Condition of the gate should be inspected during recommended structural inspection of the tank. | 1246
1113 | Not observed
1114 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
1115 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life. Condition of the gate should be inspected during recommended structural inspection of the tank.
1115 | Not observed
1116 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
1117 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life.
1117 | Not observed
1118 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
1119 | The asset was assumed to be in fair condition. No performance issue were identified; however, the asset has approached the end of its useful service life.
1119 | Not observed
1120 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
1121 | The asset was observed to be in fair condition. The turning wheel was missing. Corrosion was observed on the stem. Condition of the valve should be confirmed during recommended structural inspection of the tank.
1121 | Corrosion observed on the stem
1121 | Turning wheel missing
1122 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
1123 | The asset was observed to be in fair condition. The turning wheel was missing. Corrosion was observed on the stem. Condition of the gate should be inspected during recommended structural inspection of the tank.
1123 | Valve missing
1123 | ch
1127 | The asset was assumed to be in good condition. No performance issue were identified; however, the asset has approached the end of its useful service life.
1129 | The asset was assumed to be in good condition.
1130 | The asset was assumed to be in good condition.
1131 | The asset was assumed to be in good condition.
1132 | The asset was assumed to be in good condition.
1133 | The asset was observed to be in fair condition. Minor signs of corrosion were noted
1134 | The asset was observed to be in good condition; however, the availability of replacement parts and increased maintenance cost will be an issue.
1134 | good
1135 | The asset was observed to be in fair condition. No signs of deterioration were note; however, the asset had approached the end of its useful service life.
1136 | The asset was observed to be in fair condition. No signs of deterioration were note; however, the asset had approached the end of its useful service life.
1137 | The asset was observed to be in fair condition. No signs of deterioration were note; however, the asset had approached the end of its useful service life.
1138 | The asset was observed to be in fair condition. No signs of deterioration were note; however, the asset had approached the end of its useful service life.
1139 | The asset was observed to be in fair condition. No signs of deterioration were note; however, the asset had approached the end of its useful service life.
1140 | The asset was in fair condition. No performance issues were identified.
1141 | The asset was in fair condition. No performance issues were identified.
1142 | The asset was in good condition. No performance issues were identified.
1143 | The asset was observed to be in fair condition based on its age.
1144 | The asset was observed to be in fair condition based on its age.
1145 | The asset was observed to be in fair condition based on its age.
1146 | The asset was observed to be in fair condition. Minor signs of corrosion was observed.
1147 | The asset was observed to be in fair condition based on its age. The grill was covered in dust.
1148 | The asset was observed to be in fair condition based on its age.
1149 | The asset was assumed to be in fair condition. It had approached the end of its useful service life.
1150 | The asset was observed to be in fair condition based on its age.
1151 | The asset was observed to be in fair condition based on its age.
1153 | The asset was in fair condition. No performance issues were identified, but the asset had approached the end of its useful service life and should be replaced.
1158 | Fair. Moderate surface corrosion and paint wear
1159 | Good. Minor surface corrosion
1160 | Good. Minor surface corrosion
1161 | assumed to be good condition
1162 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
1163 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
1164 | the asset is original to the facility and was assumed to be in good/ fair condition based on its age
1165 | There was no safety davit installed for the dry well confined space retrieval.
1166 | Fair
1166 | Moderate paint wear
1175 | Fair
1175 | Grill was covered in dust and was broken
1176 | Good
1177 | Good
1178 | Good
1180 | Good
1182 | Good
1183 | Good
1185 | Good
1187 | Good
1192 | Good
1194 | very good
1195 | good
1196 | good
1198 | good
1200 | There was no Fire Alarm System installed at the plant. The fire protection measure should be in accordance with the requirements of NFPA 820 and Ontario Building Code.
1201 | There were no Smoke Detectors installed at the plant. A smoke detection system in accordance with the requirements of NFPA 820 and Ontario Building Code is required.
1210 | There was no safety davit installed for the dry well confined space retrieval.
1211 | There were no Smoke Detectors installed at the plant. A smoke detection system in accordance with the requirements of NFPA 820 and Ontario Building Code is required.
1211 | There were no Smoke Detectors installed at the plant. A smoke detection system in accordance with the requirements of NFPA 820 and Ontario Building Code is required.
1211 | There were no Smoke Detectors installed at the plant. A smoke detection system in accordance with the requirements of NFPA 820 and Ontario Building Code is required.
1212 | There was no Fire Alarm System installed at the plant. The fire protection measure should be in accordance with the requirements of NFPA 820 and Ontario Building Code.
1214 | Good
1221 | good
1223 | dust
1223 | good
1224 | corrosion and dust
1224 | fair
1225 | good
1226 | minor corosion
1226 | good
1227 | Good
1228 | Good
1229 | Fair
1229 | Dust
1230 | Good
1231 | Good
1232 | Fair
1232 | Minor corrosion
1233 | Fair
1233 | Dust
1234 | Fair
1234 | Dust
1235 | Fair
1235 | Dust
1236 | Fair
1245 | Good