## Sheet1
seqNum | assetTag | assetName | facility | COF | CategoryCode | Description | installYear | repCost | Process | building | inspectorName | LocationTag | LocationORIGINAL | photoName | manufacturer | TransmitterModel | TransducerModel | TransducerSerial | InstMeva | installationDate | remainingESL | InstType | ServiceArea | FacilityType | LifeCycleCategory | SerialNo | Parent | RotatingItem | Site | condition | defect1 | defect2 | defect3 | observations | RehabRepairCost | RehabRepairYear | RehabRepairCost2 | RehabRepairYear2 | repProjectName | rehabProjectName | rehab2ProjectName | Status | InspectionYear | rehabComment1 | rehabCost1 | rehabComment2 | rehabCost2 | defect1Input | defect2Input | defect3Input
5520 | 00008877 | Elevated Tank Access Door (Double) | KCF | 1 | AC |  | 1982 | 5500 |  |  |  | 17520 | King City FS ET Valve Room | IMG_6946 | [6 empty] | 6 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | Good
5522 |  | Electrical Room Access Door (Single) | KCF | 1 | AC | Electrical Room | 2020 | 3500 |  |  |  | 17520 |  | IMG_6954 | [6 empty] | 15 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5524 |  | Electrical Room Protective Floor Coating | KCF | 1 | AC |  | 2020 | 1500 |  |  |  | 17520 |  | IMG_6955 | [6 empty] | 15 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5523 |  | Electrical Room Wall and Ceiling Paint | KCF | 1 | AC |  | 2020 | 4000 |  |  |  | 17520 |  | IMG_6956 | [6 empty] | 15 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5529 |  | Electrical Room Window | KCF | 1 | AC |  | 2020 | 3000 |  |  |  | 17520 |  | IMG_6950 | [6 empty] | 15 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5527 |  | Elevated Tank Protective Floor Coating | KCF | 1 | AC |  | 2020 | 3000 |  |  |  | 2335 |  | IMG_6957 | [6 empty] | 15 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5521 |  | Valve Room Access Door (Single) | KCF | 1 | AC | Valve Room | 2020 | 3500 |  |  |  | 17520 |  | IMG_6947 | [6 empty] | 15 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | Good
5526 |  | Valve Room Protective Floor Coating | KCF | 1 | AC | Valve Room | 2020 | 2000 |  |  |  | 17520 |  | IMG_6948 | [6 empty] | 15 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5525 |  | Valve Room Wall and Ceiling Paint | KCF | 1 | AC | Valve Room | 2020 | 5000 |  |  |  | 17520 |  | IMG_6952 | [6 empty] | 15 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5461 |  | Control Room Motorized Damper | KCF | 2 | BM | Size: 500x500 mm, Manfacturer: Nailor, Model: 2020-IB/-IBF, damper includes Belimo actuator LF120 (120/1/60) interlocked with electrical room exhaust fan | 2020 | 2500 |  |  |  | 17522 |  | IMG_0199 | [6 empty] | 30 | [8 empty] | 3 | Good was observed condittion. |  |  | The asset was observed to be in fair condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | good condittion
5503 |  | Electrical Room Air Ducting | KCF | 2 | BM |  | 2020 | 1000 |  |  |  | 17522 |  | IMG_0765 | [6 empty] | 30 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Good
5459 | 00089467 | Electrical Room Exhaust Fan | KCF | 3 | BM | Manufacturuer: Broan-Nutone, Model: L500 | 2020 | 5000 |  |  |  | 1 |  | IMG_0240 | [6 empty] | 30 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Good
5460 | 00089470 | Electrical Room Unit Heater | KCF | 2 | BM | Manufacturer: Ouellet, Model: OAS03000AM | 2020 | 3000 |  |  |  | 17520 |  | IMG_0247 | [6 empty] | 30 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Good
5456 | 00089476 | Eyewash System Backflow Preventer | KCF | 2 | BM | Diameter: 50mm, Manufacturer: Watts, Model: LF009M2QT. | 2020 | 2500 |  |  |  | 17520 |  | IMG_0031 | [6 empty] | 30 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Good
5457 | 00089473 | Eyewash System Water Heater | KCF | 2 | BM | Manufacturer: Eemax, Model: EX190T2; Capacity: 19kW | 2020 | 3000 |  |  |  | 17520 |  | IMG_0032 | [6 empty] | 30 |  |  |  |  | 2775365 |  |  |  | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Good
5506 |  | Plumbing and Drainage | KCF | 2 | BM | drain piping for air release valve, water sampling tank, and eyewash system. Water drain to the sump pit in the valve room. The drain is connect to Sanitary Sewer. | 2020 | 5000 |  |  |  | 17520 |  | img_0062 | [6 empty] | 30 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | good
5504 |  | Service Water Line | KCF | 2 | BM | Service Water Line for heated eyewash station. From | 2020 | 1000 |  |  |  | 17520 |  | img_0070 | [6 empty] | 30 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | good
5408 | 00089466 | Valve Room Dehumidifier | KCF | 2 | BM | Manufacturer: Ebac Industrial Products Inc. Model: WM-150 | 2020 | 3000 |  |  |  | 17520 | King City FS ET Valve Room | IMG_0184 | [6 empty] | 30 |  | Area 2N Linear Water & Wells |  | Building Mechanical |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | good
5360 | 00089468 | Valve Room Exhaust Fan | KCF | 2 | BM | Manufacturer: Broan-Nutone Model L900. | 2020 | 5000 |  |  |  | 17520 | King City FS ET Valve Room | IMG_0240 | [6 empty] | 30 |  | Area 2N Linear Water & Wells |  | Process Mechanical |  |  |  | W-WW | 3 | Good was observed condition. |  |  | The asset was observed to be in fair condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Good condition
5462 |  | Valve Room Motorized Damper | KCF | 2 | BM | Size: 500x500 mm, Manfacturer: Nailor, Model: 2020-IB/-IBF, damper includes Belimo actuator LF120 (120/1/60) interlocked with valve room exhaust fan | 2020 | 2500 |  |  |  | 17522 |  | IMG_0203 | [6 empty] | 30 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Good
5352 | 00089469 | Valve Room Unit Heater | KCF | 2 | BM | Capacity: 5 kW, Manufacturer: Ouellet, Model: OAS05000AM | 2020 | 3500 |  |  |  | 17520 | King City FS ET Valve Room | IMG_0143 | M00037 | [5 empty] | 30 |  | Area 2N Linear Water & Wells |  | Building Mechanical |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Good
5505 |  | Water Sampling Sink and Piping | KCF | 2 | BM |  | 2020 | 1000 |  |  |  | 17520 |  | img_0102 | [6 empty] | 30 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | good
5367 | 00006495 | Hydro Meter | KCF | 2 | ES |  | 1982 | 7000 |  |  |  | 2335 | King City Fisher Elevated Tank | IMG_4816 | [6 empty] | 6 |  | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Electrical System |  |  |  | W-WW | 3 | The viewing window was dirty was observed. |  |  | The asset was observed to be in fair condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | The viewing window was dirty.
5493 |  | Electrical Duct System and Conduit System | KCF | 3 | ES | Electrical underground duct system and conduit system | 2010 | 50000 |  |  |  | 2335 |  | IMG_6991 | [6 empty] | 15 | [8 empty] | 4 | The cables installed in the access tube poses safety concern as cable clsuter prevents safe and effective rescue was observed. |  |  | The asset was observed to be in poor condition.Install cable messenger to access tube for better cable organization. Asset to be replaced in the long term. | 50000 |  | 0 |  | King City Fisher ET Capital Project 2 |  |  |  | 2019 | Install cable messenger to access tube for better cable organization. | 50000 |  | 0 | The cables installed in the access tube poses safety concern as cable clsuter prevents safe and effective rescue.
5491 |  | Elevated Tank Grounding | KCF | 3 | ES | Assumed installation year: 2010 | 2010 | 10000 |  |  |  | 2335 |  | IMG_0769 | [6 empty] | 15 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5490 | 00043008 | Elevated Tank Inlet/Outlet Pipe Heat Tracing | KCF | 3 | ES | assumed installation year: 2010 | 2010 | 15000 |  |  |  | 17520 |  | IMG_0767 | [6 empty] | 15 |  |  |  |  | R1-050-DP |  |  |  | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5494 |  | Elevated Tank Lightning Protection System | KCF | 3 | ES |  | 2010 | 5000 |  |  |  | 2335 |  | IMG_6989 | [6 empty] | 15 | [8 empty] | 3 | One of the lightning rods were not erected was observed. |  |  | The asset was observed to be in fair condition.Reinstall the ligtning rod to the highest point of the elevated tank Asset to be replaced in the long term. | 1000 |  | 0 |  | King City Fisher ET Capital Project 2 |  |  |  | 2019 | Reinstall the ligtning rod to the highest point of the elevated tank | 1000 |  | 0 | One of the lightning rods were not erected.
5418 | 00043004 | Generator Transfer Switch Panel | KCF | 3 | ES | Assumed installation year: 2010 | 2010 | 12000 |  |  |  | 17520 | King City FS ET Valve Room | IMG_4821 | [6 empty] | 15 |  | Area 2N Linear Water & Wells |  | Electrical System | AL 1M0200B |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5420 | 00043008 | Heat Tracing Panel | KCF | 3 | ES | Assumed installation year: 2010 | 2010 | 5000 |  |  |  | 17520 | King City FS ET Valve Room | IMG_4914 | M10099 | [5 empty] | 15 |  | Area 2N Linear Water & Wells |  | Electrical System | R1-050-DP |  |  | W-WW | 2 |  | Consider upgrade was observed. |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good | consider upgrade
5492 |  | Aircraft Obstruction Lights | KCF | 3 | ES | Two warning lights, assumed installation year: 2010 | 2012 | 1000 |  |  |  | 19634 |  | IMG_6981 | [6 empty] | 17 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 2019 |  |  |  |  | Good
5489 | 00006494 | Pedestal Lighting Fixtures | KCF | 2 | ES | two in total, installation year assumed to be 2015 | 2015 | 5000 |  |  |  | 17522 |  | IMG_4834 | [6 empty] | 20 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5431 | 00077741 | Portable Generator | KCF | 3 | ES | Manufacturer: Honda, Model: EU3000i | 2017 | 3500 |  |  |  | 2335 | King City Fisher Elevated Tank | IMG_0862 | M00506 | [5 empty] | 22 |  | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Building Mechanical | EAVJ-1144608 |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | good
5477 |  | Electrical Room Linear Light Fixtures | KCF | 2 | ES | 3 LED 4 inches lighting fixtures | 2020 | 3000 |  |  |  | 1 |  | IMG_4839 | [6 empty] | 25 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | good
5479 |  | Emergency Lighting Fixtures | KCF | 2 | ES | 5 in total: 1 combination unit, 4 remote heads | 2020 | 4500 |  |  |  | 2335 |  | IMG_4820 | [6 empty] | 25 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | good
5376 | 00089474 | Lighting panel LP-A | KCF | 3 | ES | Panelboard, eaton, PRL1a, , 120/240V, 225A, 42 Circuit, 200A main braker, SPD | 2020 | 18000 |  |  |  | 17520 | King City FS ET Valve Room | IMG_4847 | M00129 | [5 empty] | 25 |  | Area 2N Linear Water & Wells |  | Electrical System |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | good
5384 | 00024597 | Main Disconnect Switch | KCF | 3 | ES | 600V, 200A | 2020 | 10000 |  |  |  | 17520 | King City FS ET Valve Room | IMG_4841 | M00129 | [5 empty] | 25 |  | Area 2N Linear Water & Wells |  | Electrical System |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition.Install Arch Flash Warning Label to the main disconnect swtich Asset to be replaced at the end of remaining service life. | 200 |  | 0 | [5 empty] | 0 | Install Arch Flash Warning Label to the main disconnect swtich | 200 |  | 0 | good
5488 | 00006494 | Mezzanine LED Lighting Fixtures | KCF | 2 | ES | 8 LED lighting fixutres in total | 2020 | 6500 |  |  |  | 17522 |  | IMG_4829 | [6 empty] | 25 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | good
5478 |  | Outdoor Light Fixture | KCF | 2 | ES | 1 wall pack | 2020 | 1000 |  |  |  | 2335 |  | IMG_4815 | [6 empty] | 25 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | good
5366 | 00006494 | Valve Room LED Lighting Fixtures | KCF | 2 | ES | 3 LED lighting fixutres in total | 2020 | 2500 |  |  |  | 17520 | King City FS ET Valve Room | IMG_4894 | [6 empty] | 25 |  | Area 2N Linear Water & Wells |  | Electrical System |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | good
5406 | 00035218 | Chlorine Residual Kit | KCF | 2 | HSS |  | 2015 | 2500 |  |  |  | 2335 | King City Fisher Elevated Tank | IMG_0105 | M00482 | [5 empty] | 10 |  | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Health and Safety | 10070E152349 |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | good
5458 | 00089477 | Eyewash Station | KCF | 3 | HSS |  | 2020 | 2000 |  |  |  | 17520 |  | IMG_0040 | [6 empty] | 15 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | Good
5508 |  | Fire Extinguisher | KCF | 1 | HSS | 1 Fire Extinguisher | 2020 | 300 |  |  |  | 17520 |  | IMG_0050 | [6 empty] | 15 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 2019 |  |  |  |  | good
5509 |  | Smoke Detectors | KCF | 1 | HSS | Smoke Detector (2), one in valve room, the other in electrical room. | 2020 | 1000 |  |  |  | 2335 |  | IMG_0253 | [6 empty] | 15 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 2019 |  |  |  |  | good
5500 |  | Elevated Tank Inlet/Outlet Line | KCF | 4 | PM | Diameter: 400mm, approximate length: 50 meters | 1982 | 73000 |  |  |  | 2335 | King City FS ET Valve Room | IMG_6974 | [6 empty] | 6 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | good
5501 |  | Elevated Tank Overflow Line | KCF | 4 | PM | Diameter: 300mm, approximately: 55 meters | 1982 | 60000 |  |  |  | 17522 | King City FS ET Valve Room | IMG_6994 | [6 empty] | 6 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | Good
5498 |  | Elevated Tank Frostproof Vent/Vacuum Relief Unit | KCF | 3 | PM |  | 2011 | 6000 |  |  |  | 2335 | King City FS ET Valve Room | IMG_6987 | [6 empty] | 21 | [8 empty] | 3 | Minor surface corrosion was observed. |  |  | The asset was observed to be in fair condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 2019 |  |  |  |  | minor surface corrosion
5410 | 00042995 | Elevated Tank Inlet/Outlet Line Altitude Valve | KCF | 4 | PM | Diameter: 400mm | 2011 | 31500 |  |  |  | 17520 | King City FS ET Valve Room | IMG_0093 | M00038 | [5 empty] | 21 |  | Area 2N Linear Water & Wells |  | Process Mechanical | 131-FH-1C |  |  | W-WW | 3 | Minor surface corrosion was observed on bolts. |  |  | The asset was observed to be in fair condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Minor surface corrosion on bolts
5411 | 00042996 | Elevated Tank Inlet/Outlet Line Gate Valve | KCF | 3 | PM | Diameter: 400mm | 2011 | 6000 |  |  |  | 17520 | King City FS ET Valve Room | IMG_0130 | M00671 | [5 empty] | 21 |  | Area 2N Linear Water & Wells |  | Process Mechanical | AW236106W40L.400 |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Good
5358 |  | Elevated Tank Water Main Butterfly Valve 1 | KCF | 3 | PM | Diameter: 400mm, Manufacturer: Kennedy-Clow | 2011 | 7000 |  |  |  | 12 |  | IMG_9976 | [6 empty] | 21 |  | Area 2N Linear Water & Wells |  | Process Mechanical |  |  |  | W-WW | 3 | Minor to moderate corrosion was observed. |  |  | The asset was observed to be in fair condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Minor to moderate corrosion
5359 |  | Elevated Tank Water Main Drain Gate Valve 1 | KCF | 2 | PM | Diameter: 100mm | 2011 | 1500 |  |  |  | 12 |  | IMG_9979 | [6 empty] | 21 |  | Area 2N Linear Water & Wells |  | Process Mechanical |  |  |  | W-WW | 3 | Minor to moderate corrosion was observed. |  |  | The asset was observed to be in fair condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Minor to moderate corrosion
5383 |  | Elevated Tank Water Main Drain Gate Valve 2 | KCF | 2 | PM | Diameter: 100mm | 2011 | 1500 |  |  |  | 12 |  | IMG_9986 | M00352 | [5 empty] | 21 |  | Area 2N Linear Water & Wells |  | Process Mechanical |  |  |  | W-WW | 3 | Minor to moderate corrosion was observed. |  |  | The asset was observed to be in fair condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Minor to moderate corrosion
5502 |  | Elevated Tank Inlet/Outlet Line Duckbill Valve | KCF | 3 | PM | Diameter: 400mm, promote tank mixing. | 2012 | 6000 |  |  |  | 17522 |  | IMG_6974 | [6 empty] | 22 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Good
5453 |  | Elevated Tank Water Main Air Release Valve | KCF | 2 | PM | Diameter: 50mm, the valve drained to dechlorination chamber | 2012 | 2500 |  |  |  | 12 |  | IMG_9998 | [6 empty] | 22 | [8 empty] | 3 | Minor surface corrosion was observed. |  |  | The asset was observed to be in fair condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Minor surface corrosion
5454 |  | Elevated Tank Water Main Gate Valve | KCF | 2 | PM | Diameter: 50mm | 2012 | 1000 |  |  |  | 12 |  | IMG_9998 | [6 empty] | 22 | [8 empty] | 3 | Minor surface corrosion was observed. |  |  | The asset was observed to be in fair condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Minor surface corrosion
5499 |  | Elevated Tank Bypass Line | KCF | 3 | PM | Diameter: 100mm, approximate length: 2 meters. | 2018 | 1000 |  |  |  | 17520 | King City FS ET Valve Room | IMG_0136 | [6 empty] | 28 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Good
5356 | 00089496 | Elevated Tank Bypass Line Check Valve | KCF | 3 | PM | Diameter: 100mm | 2018 | 2200 |  |  |  | 17520 | King City FS ET Valve Room | IMG_0136 | [6 empty] | 28 |  | Area 2N Linear Water & Wells |  | Process Mechanical | M261770 |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Good
5357 | 00089497 | Elevated Tank Bypass Line Gate Valve | KCF | 3 | PM | Diameter: 100mm | 2018 | 1200 |  |  |  | 17520 | King City FS ET Valve Room | IMG_0136 | [6 empty] | 28 |  | Area 2N Linear Water & Wells |  | Process Mechanical |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Good
5353 | 00089501 | Elevated Tank Inlet/Outlet Line Air Relief Valve | KCF | 2 | PM | Manufracturer: Val Matic Corp. Diameter: 50mm. | 2018 | 2500 |  |  |  | 17520 | King City FS ET Valve Room | IMG_0053 | [6 empty] | 28 |  | Area 2N Linear Water & Wells |  | Process Mechanical |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Good
5355 | 00089492 | Elevated Tank Inlet/Outlet Line Butterfly Valve | KCF | 3 | PM | Diameter: 400mm | 2018 | 6700 |  |  |  | 17520 | King City FS ET Valve Room | IMG_0083 | M00331 | [5 empty] | 28 |  | Area 2N Linear Water & Wells |  | Process Mechanical | M021570 |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Good
5497 | 00089496 | Elevated Tank Inlet/Outlet Line Butterfly Valve Actuator | KCF | 3 | PM |  | 2018 | 10200 |  |  |  | 17520 | King City FS ET Valve Room | IMG_0816 | [6 empty] | 28 |  |  |  |  | M021570 |  |  |  | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Good
5455 |  | Elevated Tank Overflow Line Duckbill Valve | KCF | 3 | PM | Diameter: 300mm | 2018 | 4000 |  |  |  | 12 |  | IMG_6994 | [6 empty] | 28 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Good
5354 | 00089500 | Elevated Tank Surge Protection Line Surge Relief Valve | KCF | 2 | PM | Diameter: 75mm | 2018 | 5000 |  |  |  | 17520 | King City FS ET Valve Room | IMG_0075 | [6 empty] | 28 |  | Area 2N Linear Water & Wells |  | Process Mechanical | 2674429-1 |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Good
5507 | 00089501 | Elevated Tank Inlet/Outlet Line Expassion Joint | KCF | 3 | PM | Diameter: 400mm | 2020 | 2500 |  |  |  | 17520 |  | IMG_0147 | [6 empty] | 30 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Good
5496 | 00089498 | Elevated Tank Surge Protection Line | KCF | 3 | PM | diameter: 75mm, Approximate length: 10 meters. | 2020 | 3000 |  |  |  | 17520 |  | img_0065 | [6 empty] | 30 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | good
5495 | 00089498 | Elevated Tank Surge Protection Line Gate Valve | KCF | 2 | PM | diameter: 75mm | 2020 | 1200 |  |  |  | 17520 | King City FS ET Valve Room | img_0068 | [6 empty] | 30 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | good
5530 | 00008871 | Electrical Room Concrete Floor Slab | KCF | 3 | SC | Concrete slab on grade of elevated tank, Floor Slab, | 1982 | 22000 |  |  |  | 1 |  | IMG_6955 | [6 empty] | 22 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Provision for structural repairs every 10 years. Asset to be replaced at the end of remaining service life. |  | 2030 |  |  |  | King City Fisher ET Capital Project 1 |  |  | 0 |  |  |  |  | good
5517 | 00008873 | Elevated Tank Aluminum Ladder (Ground to Platform) | KCF | 4 | SC |  | 1982 | 30000 |  |  |  | 17522 | King City FS ET Tank Base | IMG_6960 | [6 empty] | 22 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | good
5528 |  | Elevated Tank Aluminum Ladder (Platform to Roof) | KCF | 4 | SC |  | 1982 | 15000 |  |  |  | 2335 |  | IMG_6971 | [6 empty] | 22 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | good
5537 |  | Elevated Tank Aluminum Ladder (Roof to Tank) | KCF | 4 | SC |  | 1982 | 15000 |  |  |  | 2335 |  | IMG_6974 | [6 empty] | 22 | [8 empty] | 3 |  | Minor localized corrosion was observed. |  | The asset was observed to be in fair condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Fair | Minor localized corrosion
5515 | 00008871 | Elevated Tank Concrete Floor Slab | KCF | 3 | SC |  | 1982 | 45000 |  |  |  | 17522 | King City FS ET Valve Room | IMG_6957 | [6 empty] | 22 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Provision for structural repairs every 10 years. Asset to be replaced at the end of remaining service life. |  | 2030 |  |  |  | King City Fisher ET Capital Project 1 |  |  | 0 |  |  |  |  | good
5519 | 00008875 | Elevated Tank Concrete Structure | KCF | 4 | SC |  | 1982 | 900000 |  |  |  | 2335 | King City Fisher Elevated Tank | IMG_6960 | [6 empty] | 22 | [8 empty] | 2 |  | Top of concrete tank is bare and exposed to the elements was observed. |  | The asset was observed to be in good condition.Coat exterior roof of concrete structure to seal tank from elements Provision for structural repairs every 10 years. Asset to be replaced at the end of remaining service life. | 30000 | 2030 | 0 |  |  | King City Fisher ET Capital Project 1 |  |  | 0 | Coat exterior roof of concrete structure to seal tank from elements | 30000 |  | 0 | good | Top of concrete tank is bare and exposed to the elements
5531 |  | Elevated Tank Exterior Coating | KCF | 4 | SC |  | 1982 | 650000 |  |  |  | 2335 |  | IMG_6945 | [6 empty] | 22 | [8 empty] | 3 |  | Corrosion/bubbling on painters ring was observed. |  | The asset was observed to be in fair condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Fair | Corrosion/bubbling on painters ring
5558 |  | Elevated Tank Inlet/Outlet Pipe Support | KCF | 4 | SC |  | 1982 | 30000 |  |  |  | 2335 |  | IMG_6965 | [6 empty] | 22 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | good
5539 |  | Elevated Tank Interior Coating | KCF | 4 | SC |  | 1982 | 380000 |  |  |  | 2335 |  | IMG_6974 | [6 empty] | 22 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | good
5543 |  | Elevated Tank Overflow Pipe Support | KCF | 4 | SC |  | 1982 | 30000 |  |  |  | 2335 |  | IMG_6965 | [6 empty] | 22 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | good
5532 |  | Elevated Tank Roof Access Hatch | KCF | 3 | SC |  | 1982 | 5000 |  |  |  | 2335 |  | IMG_6981 | [6 empty] | 22 | [8 empty] | 3 |  |  |  | The asset was observed to be in fair condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Fair
5533 |  | Elevated Tank Roof Guardrail | KCF | 3 | SC |  | 1982 | 5000 |  |  |  | 2335 |  | IMG_6981 | [6 empty] | 22 | [8 empty] | 3 |  |  |  | The asset was observed to be in fair condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Fair
5534 |  | Elevated Tank Steel Tank | KCF | 5 | SC |  | 1982 | 1100000 |  |  |  | 2335 |  | IMG_6945 | [6 empty] | 22 | [8 empty] | 4 |  | Gap between access tube and tank was observed. | Access tube is narrow and congested due to communication cables was observed. | The asset was observed to be in poor condition.Seal gap between access tube and tank Asset to be replaced at the end of remaining service life. | 5000 |  | 50000 | [5 empty] | 0 | Seal gap between access tube and tank | 5000 | Install new cable raceway | 50000 | Fair | Gap between access tube and tank | access tube is narrow and congested due to communication cables
5540 |  | Elevated Tank Tank Access Hatch | KCF | 3 | SC |  | 1982 | 5000 |  |  |  | 2335 |  | IMG_6981 | [6 empty] | 22 | [8 empty] | 3 |  |  |  | The asset was observed to be in fair condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | Fair
5538 | 00008871 | Valve Room Concrete Floor Slab | KCF | 3 | SC |  | 1982 | 38000 |  |  |  | 17520 |  | IMG_6948 | [6 empty] | 22 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Provision for structural repairs every 10 years. Asset to be replaced at the end of remaining service life. |  | 2030 |  |  |  | King City Fisher ET Capital Project 1 |  |  | 0 |  |  |  |  | good
5516 | 00008872 | Valve Room Concrete Roof | KCF | 4 | SC |  | 1982 | 10000 |  |  |  | 17520 | King City FS ET Valve Room | IMG_6952 | [6 empty] | 22 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Provision for structural repairs every 10 years. Asset to be replaced at the end of remaining service life. |  | 2030 |  |  |  | King City Fisher ET Capital Project 1 |  |  | 0 |  |  |  |  | good
5557 |  | Valve Room Masonry Blockwall | KCF | 4 | SC |  | 1982 | 25000 |  |  |  | 17520 |  | IMG_6951 | [6 empty] | 22 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | good
5518 | 00008874 | Valve Room Pipe Support | KCF | 3 | SC |  | 1982 | 5000 |  |  |  | 17520 | King City FS ET Valve Room | IMG_6948 | [6 empty] | 22 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | good
5535 |  | Electrical Room Concrete Roof | KCF | 3 | SC |  | 2020 | 6000 |  |  |  | 1 |  | IMG_6956 | [6 empty] | 60 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Provision for structural repairs every 10 years. Asset to be replaced at the end of remaining service life. |  | 2030 |  |  |  | King City Fisher ET Capital Project 1 |  |  | 0 |  |  |  |  | good
5542 |  | Electrical Room Masonry Blockwall | KCF | 4 | SC |  | 2020 | 15000 |  |  |  | 1 |  | IMG_6955 | [6 empty] | 60 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | good
5536 |  | Elevated Tank Aluminum Staircase | KCF | 3 | SC |  | 2020 | 8000 |  |  |  | 2335 |  | IMG_6957 | [6 empty] | 60 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | good
5541 |  | Elevated Tank Valve Room and Electrical Room Aluminum Guardrail | KCF | 3 | SC |  | 2020 | 5000 |  |  |  | 2335 |  | IMG_6958 | [6 empty] | 60 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced at the end of remaining service life. | [8 empty] | 0 |  |  |  |  | good
5419 | 00043006 | Elevated Tank Inlet/Outlet Pipe Flowmeter | KCF | 3 | SIC | Diameter: 400mm | 2011 | 16000 |  |  |  | 17520 | King City FS ET Tank Base | IMG_0211 | M00125 | [5 empty] | 12 |  | Area 2N Linear Water & Wells |  | Process Mechanical |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5413 | 00042998 | Elevated Tank Inlet/Outlet Pipe Flowmeter Transmitter | KCF | 3 | SIC | Manufacturer: Siemens, Model: Sitrans FM Magflo | 2011 | 10000 |  |  |  | 17520 | King City FS ET Valve Room | IMG_0836 | M00125 |  |  |  | Flow |  | 12 |  | Area 2N Linear Water & Wells |  | Instrumentation and Control | 7ME6920-1AA10-1AA0 |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5380 | 00018269 | Antenna 1 (York Region) | KCF | 2 | SIC | KCTWRAD103 Network, Antenna & Cable | 2015 | 11000 |  |  |  | 17520 | King City Fisher Elevated Tank | IMG_6986 | [6 empty] | 10 |  | Area 2N Linear Water & Wells |  | SCADA |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | good
5395 | 00025309 | Antenna 10 (York Region) | KCF | 2 | SIC | York Region Traffic UHF Whip | 2015 | 11000 |  |  |  | 2335 | King City Fisher Elevated Tank | IMG_6980 | [6 empty] | 10 |  | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | good
5396 | 00025310 | Antenna 11 (Rogers) | KCF | 2 | SIC | Rogers PCS Antenna | 2015 | 11000 |  |  |  | 2335 | King City Fisher Elevated Tank | IMG_6980 | [6 empty] | 10 |  | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | good
5397 | 00025311 | Antenna 12 (Rogers) | KCF | 2 | SIC | Rogers PCS Antenna | 2015 | 11000 |  |  |  | 2335 | King City Fisher Elevated Tank | IMG_6980 | [6 empty] | 10 |  | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | good
5398 | 00025312 | Antenna 13 (Bell) | KCF | 2 | SIC | Bell GPS Antenna | 2015 | 11000 |  |  |  | 2335 | King City Fisher Elevated Tank | IMG_6982 | [6 empty] | 10 |  | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | good
5399 | 00025313 | Antenna 14 (Bell) | KCF | 2 | SIC | Bell MMDS (Wireless) Antenna | 2015 | 11000 |  |  |  | 2335 | King City Fisher Elevated Tank | IMG_6982 | [6 empty] | 10 |  | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | good
5400 | 00025314 | Antenna 15 (Rogers) | KCF | 2 | SIC | Rogers PCS Antenna | 2015 | 11000 |  |  |  | 2335 | King City Fisher Elevated Tank | IMG_6982 | [6 empty] | 10 |  | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | good
5401 | 00025315 | Antenna 16 (York Region) | KCF | 2 | SIC | York Region Traffic UHF Whip | 2015 | 11000 |  |  |  | 2335 | King City Fisher Elevated Tank | IMG_6986 | [6 empty] | 10 |  | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | good
5402 | 00025316 | Antenna 17 (Rogers) | KCF | 2 | SIC | Rogers PCS Antenna | 2015 | 11000 |  |  |  | 2335 | King City Fisher Elevated Tank | IMG_6986 | [6 empty] | 10 |  | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | good
5403 | 00025317 | Antenna 18 (Rogers) | KCF | 2 | SIC | Rogers PCS Antenna | 2015 | 11000 |  |  |  | 2335 | King City Fisher Elevated Tank | IMG_6986 | [6 empty] | 10 |  | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | good
5404 | 00025318 | Antenna 19 (Bell) | KCF | 2 | SIC | Bell PCS Antenna | 2015 | 11000 |  |  |  | 2335 | King City Fisher Elevated Tank | IMG_6980 | [6 empty] | 10 |  | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | good
5381 | 00018270 | Antenna 2 (York Region) | KCF | 2 | SIC | KCTWRAD104, Network, Antenna & Cable | 2015 | 11000 |  |  |  | 17520 | King City Fisher Elevated Tank | IMG_6986 | [6 empty] | 10 |  | Area 2N Linear Water & Wells |  | SCADA |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | good
5405 | 00025319 | Antenna 20 (Bell) | KCF | 2 | SIC | Bell MMDS (Wireless) Antenna | 2015 | 11000 |  |  |  | 2335 | King City Fisher Elevated Tank | IMG_6980 | [6 empty] | 10 |  | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | good
5387 | 00025300 | Antenna 3 (Bell) | KCF | 2 | SIC | Antenna, Bell 5, PCS, PCS | 2015 | 11000 |  |  |  | 2335 | King City Fisher Elevated Tank | IMG_6967 | [6 empty] | 10 |  | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | good
5388 | 00025301 | Antenna 4 (Rogers) | KCF | 2 | SIC | Rogers PCS Antenna | 2015 | 11000 |  |  |  | 2335 | King City Fisher Elevated Tank | IMG_6967 | [6 empty] | 10 |  | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | good
5389 | 00025302 | Antenna 5 (Rogers) | KCF | 2 | SIC | Rogers Wireless Microwave Dish | 2015 | 11000 |  |  |  | 2335 | King City Fisher Elevated Tank | IMG_6977 | [6 empty] | 10 |  | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | good
5390 | 00025304 | Antenna 6 (Rogers) | KCF | 2 | SIC | Rogers PCS Antenna | 2015 | 11000 |  |  |  | 2335 | King City Fisher Elevated Tank | IMG_6966 | [6 empty] | 10 |  | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | good
5391 | 00025305 | Antenna 7 (Rogers) | KCF | 2 | SIC | Rogers PCS Antenna | 2015 | 11000 |  |  |  | 2335 | King City Fisher Elevated Tank | IMG_6966 | [6 empty] | 10 |  | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | good
5392 | 00025306 | Antenna 8 (Rogers) | KCF | 2 | SIC | Rogers PCS Antenna | 2015 | 11000 |  |  |  | 2335 | King City Fisher Elevated Tank | IMG_6966 | [6 empty] | 10 |  | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | good
5393 | 00025307 | Antenna 8 (York Region) | KCF | 2 | SIC | York Region SCADA UHF Whip | 2015 | 11000 |  |  |  | 2335 | King City Fisher Elevated Tank | IMG_6979 | [6 empty] | 10 |  | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | good
5394 | 00025308 | Antenna 9 (York Region) | KCF | 2 | SIC | York Region UHF Yagi | 2015 | 11000 |  |  |  | 2335 | King City Fisher Elevated Tank | IMG_6979 | [6 empty] | 10 |  | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | good
5485 | 00089491 | Elevated Tank Inlet/Outlet Pipe Free Chlorine Analyzer | KCF | 3 | SIC | KCETFS_TWR_AIT2 | 2015 | 10000 |  |  |  | 17520 | King City FS ET Valve Room | IMG_0794 | [6 empty] | 10 |  |  |  |  | BS 90725-08 |  |  |  | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | GOOD
5427 | 00044090 | Elevated Tank Inlet/Outlet Pipe Total Chlorine Analyzer | KCF | 3 | SIC | KCETFS_TWR_AIT1 | 2015 | 8000 |  |  |  | 17520 | King City FS ET Valve Room | IMG_0794 | M00125 | [5 empty] | 10 |  | Area 2N Linear Water & Wells |  | Instrumentation and Control | BS 90725-08 |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | GOOD
5429 | 00045456 | Elevated Tank Level Indiator Transmitter | KCF | 3 | SIC | KCETFS_TWR_LIT1 | 2015 | 2500 |  |  |  | 17520 | King City FS ET Valve Room | IMG_0835 | 1010702 | PMC71-UAC1P2RAAAU |  |  | Level |  | 10 |  | Area 2N Linear Water & Wells |  | Instrumentation and Control | A401E51509C |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | good
5480 | 00089472 | Electrical Room High Temperature Switch | KCF | 2 | SIC | KCETFS_BLDS_TSHL2, Manufacturer: Honeywell | 2020 | 500 |  |  |  | 2335 | King City FS ET Electrical Room | IMG_4882 | [6 empty] | 15 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5482 | 00088518 | Electrical Room Low Temperature Switch | KCF | 2 | SIC | KCETFS_BLDS_TSHL2, Manufacturer: Honeywell | 2020 | 500 |  |  |  | 17520 | King City FS ET Electrical Room | IMG_4884 | [6 empty] | 15 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5407 | 00040727 | Elevated Tank Inlet/Outlet Pipe Pressure Gauge | KCF | 2 | SIC |  | 2020 | 500 |  |  |  | 17520 | King City FS ET Valve Room | IMG_0066 | M00152 | [5 empty] | 15 |  | Area 2N Linear Water & Wells |  | Instrumentation and Control |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5430 | 00077561 | Elevated Tank Inlet/Outlet Pipe Pressure Transmitter | KCF | 3 | SIC | KCETFS_TWR_PIT1 | 2020 | 2000 |  |  |  | 17520 | King City FS ET Valve Room | IMG_4903 | M00405 | PMC71-UAC-1P2RAAAU |  |  |  |  | 15 |  | Area 2N Linear Water & Wells |  | Instrumentation and Control | 9301431509C |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5363 | 00006490 | Eyewash Piping Pressure Gauge | KCF | 2 | SIC |  | 2020 | 500 |  |  |  | 17520 | King City FS ET Valve Room | img_0041 | M00967 | [5 empty] | 15 |  | Area 2N Linear Water & Wells |  | Instrumentation and Control |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5423 | 00043011 | Facility Card Readers | KCF | 2 | SIC |  | 2020 | 1000 |  |  |  | 17520 | King City Fisher Elevated Tank | img_4830 | M00488 | [5 empty] | 15 |  | Area 2N Linear Water & Wells |  | Health and Safety |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | Good
5414 | 00042999 | Facility Security Alarm Auto Dialer | KCF | 2 | SIC |  | 2020 | 2000 |  |  |  | 2335 | King City FS ET Valve Room | IMG_4831 | M00455 | [5 empty] | 15 |  | Area 2N Linear Water & Wells |  | Electrical System | NX-8E |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5362 | 00006489 | Facility Security Closet | KCF | 3 | SIC | Security System | 2020 | 10000 |  |  |  | 17520 | King City FS ET Electrical Room | IMG_4868 | M00026 | [5 empty] | 15 |  | Area 2N Linear Water & Wells |  | Health and Safety |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5417 | 00043002 | KCETFS-PAC Control Panel CompactLogix | KCF | 2 | SIC | inside of PAC Control Panel | 2020 | 4000 |  |  |  | 17520 | King City FS ET Electrical Room | IMG_4877 | M00005 | [5 empty] | 15 |  | Area 2N Linear Water & Wells |  | Instrumentation and Control |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5424 | 00043013 | KCETFS-PAC Control Panel UPS | KCF | 2 | SIC | Inside control panel | 2020 | 4000 |  |  |  | 2335 | King City FS ET Electrical Room | IMG_4877 | M00728 | [5 empty] | 15 |  | Area 2N Linear Water & Wells |  | Electrical System | GD251A0396 |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5412 | 00042997 | KCETFS-PAC PLC panel | KCF | 4 | SIC |  | 2020 | 55000 |  |  |  | 1 | King City FS ET Electrical Room | IMG_4877 | [6 empty] | 15 |  | Area 2N Linear Water & Wells |  | Instrumentation and Control | 10-106-B |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5426 | 00089482 | Network Access Closet | KCF | 4 | SIC |  | 2020 | 15000 |  |  |  | 2335 | King City FS ET Electrical Room | IMG_4870 | M00505 | [5 empty] | 15 |  | Area 2N Linear Water & Wells |  | Instrumentation and Control |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5378 | 00018267 | Network Access Closet Radio Modem | KCF | 2 | SIC | KCTWRAD101, located inside of network access closet. | 2020 | 2000 |  |  |  | 1 | King City FS ET Electrical Room | IMG_4870 | M01018 | [5 empty] | 15 |  | Area 2N Linear Water & Wells |  | SCADA | 853327 |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5425 | 00043014 | Network Access Closet Radio Modem | KCF | 2 | SIC | Part Number: INET II - DGSN, Manufacturer: GE | 2020 | 2000 |  |  |  | 17520 | King City FS ET Electrical Room | IMG_4870 | [6 empty] | 15 |  | Area 2N Linear Water & Wells |  | Instrumentation and Control |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5428 | 00044224 | Network Access Closet UPS | KCF | 2 | SIC | Manufacturer: Powerware | 2020 | 4000 |  |  |  | 2335 | King City FS ET Electrical Room | IMG_4870 | M00728 | [5 empty] | 15 |  | Area 2N Linear Water & Wells |  | Electrical System | GE404A0166 |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5481 | 00089471 | Valve Room High Temperature Switch | KCF | 2 | SIC | KCETFS_BLDS_TSHL1, Manfacturer: Honey | 2020 | 500 |  |  |  | 17520 | King City FS ET Valve Room | IMG_4895 | [6 empty] | 15 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5484 | 00088517 | Valve Room Low Temperature switch | KCF | 2 | SIC | KCETFS_BLDS_TSHL1, Manufacturer: Honeywell | 2020 | 500 |  |  |  | 17520 | King City FS ET Valve Room | IMG_4898 | [6 empty] | 15 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5487 |  | Valve Room Sump Pit Float | KCF | 2 | SIC |  | 2020 | 500 |  |  |  | 17520 | King City FS ET Valve Room | IMG_0117 | [6 empty] | 15 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | GOOd
5369 | 00008870 | Site Drainage (soft surfaces) | KCF | 1 | SW | Graded Away From Structure, Site Drainage | 1982 | 25000 |  |  |  | 17520 | King City FS ET Valve Room | IMG_20210505_103102 | [6 empty] | 6 |  | Area 2N Linear Water & Wells |  | Siteworks |  |  |  | W-WW | 3 | Low spots adjacent to concrete pads was observed. | Exposed top soil was observed in various locations around site. |  | The asset was observed to be in fair condition.Place more granular/top soil adjacent to pad to ensure drainage away from pads. Asset to be replaced in the intermediate term. | 4000 |  | 3000 |  | King City Fisher ET Capital Project 1 |  |  |  | 0 | Place more granular/top soil adjacent to pad to ensure drainage away from pads. | 4000 | Re-sod or place seed in areas with exposed topsoil. | 3000 | Low spots adjacent to concrete pads | Exposed top soil in various locations around site.
5547 |  | Valve Chamber Access Hatch | KCF | 2 | SW |  | 1982 | 5000 |  |  |  | 2335 |  | IMG_6995 | [6 empty] | 6 | [8 empty] | 3 |  |  |  | The asset was observed to be in fair condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | Fair
5546 |  | Valve Chamber Aluminum Ladder | KCF | 3 | SW |  | 1982 | 3000 |  |  |  | 2335 |  | IMG_6996 | [6 empty] | 2 | [8 empty] | 3 |  |  |  | The asset was observed to be in fair condition. Asset to be replaced in the short term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | fair
5560 |  | Valve Chamber Concrete Structure | KCF | 3 | SW |  | 1982 | 50000 |  |  |  | 2335 |  | IMG_6998 | [6 empty] | 2 | [8 empty] | 3 |  | Minor rust spots on wall and roof was observed. |  | The asset was observed to be in fair condition. Asset to be replaced in the short term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | fair | minor rust spots on wall and roof
5433 |  | Asphalt Driveway | KCF | 2 | SW | Asphalt driveway | 1984 | 25000 |  |  |  | 2335 |  | IMG_20210505_102347 | [6 empty] | 6 | [8 empty] | 3 | Cracks was observed at various locations of driveway. |  |  | The asset was observed to be in fair condition.Repave top surface of asphalt Asset to be replaced in the intermediate term. | 7500 |  | 0 |  | King City Fisher ET Capital Project 1 |  |  |  | 0 | Repave top surface of asphalt | 7500 |  | 0 | Cracks at various locations of driveway
5432 |  | Chainlink Fence | KCF | 2 | SW | 1.8m hight chainlink fence around site. Approx length 170m | 1984 | 20000 |  |  |  | 2335 |  | IMG_20210505_101038 | [6 empty] | 6 | [8 empty] | 3 | Fair was observed. |  |  | The asset was observed to be in fair condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | Fair.
5434 |  | Concrete Pad (at entrance) | KCF | 1 | SW |  | 1984 | 3000 |  |  |  | 2335 |  | IMG_20210505_102424 | [6 empty] | 6 | [8 empty] | 3 | Minor damage was observed. |  |  | The asset was observed to be in fair condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | Minor damage
5435 |  | Concrete Pad 1 for Telecommunication System | KCF | 3 | SW |  | 1984 | 35000 |  |  |  | 2335 |  | IMG_20210505_102519 | [6 empty] | 2 | [8 empty] | 3 | Damage along the edge of the concrete pad was observed. |  |  | The asset was observed to be in fair condition. Asset to be replaced in the short term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | Damage along the edge of the concrete pad
5439 |  | Overflow Pipe | KCF | 4 | SW | 300mm concrete overflow pipe from tank to property line. Approximate length 13m | 1984 | 18000 |  |  |  | 2335 | [8 empty] | 2 | [8 empty] | 3 |  |  |  | The asset was assumed to be in fair condition. Asset to be replaced in the short term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0
5441 |  | Watermain | KCF | 5 | SW | 400mm ductile iron watermain. Approx total length 18m | 1984 | 25000 |  |  |  | 2335 | [8 empty] | 2 | [8 empty] | 3 |  |  |  | The asset was assumed to be in fair condition. Asset to be replaced in the short term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0
5437 |  | Concrete Pad | KCF | 2 | SW | Concrete pad with nothing above | 2010 | 15000 |  |  |  | 2335 |  | IMG_20210505_102800 | [6 empty] | 10 | [8 empty] | 3 | There was nothing installed above concrete pad was observed. |  |  | The asset was observed to be in fair condition.Remove concrete pad if not being used, and replace with top soil and sod. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 | Remove concrete pad if not being used, and replace with top soil and sod. |  |  |  | There was nothing installed above concrete pad.
5436 |  | Concrete Pad 2 for Telecommunication System | KCF | 3 | SW |  | 2010 | 35000 |  |  |  | 2335 |  | IMG_20210505_103114 | [6 empty] | 10 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the intermediate term. |  |  |  |  | King City Fisher ET Capital Project 1 |  |  |  | 0 |  |  |  |  | Good
5440 |  | Dechlorination Chamber | KCF | 3 | SW | Dechlorination chamber, precast 1200x1200mm box MH. | 2020 | 30000 |  |  |  | 2335 |  | IMG_20210505_100819 | [6 empty] | 20 | [8 empty] | 3 | Good was observed condition. |  |  | The asset was observed to be in fair condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | Good condition
5559 |  | Dechlorination Chamber Access Hatch | KCF | 2 | SW |  | 2020 | 5000 |  |  |  | 2335 |  | IMG_6993 | [6 empty] | 20 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5544 |  | Dechlorination Chamber Concrete Struccture | KCF | 2 | SW |  | 2020 | 20000 |  |  |  | 2335 |  | IMG_6993 | [6 empty] | 20 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5545 |  | Dechlorination Chamber FRP Ladder | KCF | 2 | SW |  | 2020 | 2000 |  |  |  | 2335 |  | IMG_6994 | [6 empty] | 20 | [8 empty] | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | good
5438 |  | Sanitary Service | KCF | 3 | SW | 125mm sanitary service from building to PL. Approximately 13m in length | 2020 | 12000 |  |  |  | 2335 | [8 empty] | 20 | [8 empty] | 3 |  |  |  | The asset was assumed to be in fair condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0
5368 | 00008866 | Swing Gate | KCF | 2 | SW | Southeast, Gate, Double Lockable | 2020 | 4000 |  |  |  | 2335 | King City Fisher Elevated Tank | IMG_20210505_100551 | [6 empty] | 20 |  | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Siteworks |  |  |  | W-WW | 2 |  |  |  | The asset was observed to be in good condition. Asset to be replaced in the long term. |  |  |  |  | King City Fisher ET Capital Project 2 |  |  |  | 0 |  |  |  |  | Good