## Sheet1
assetTag | assetName | facility | COF | CategoryCode | Description | installYear | repCost | seqNum | Process | building | inspectorName | LocationTag | LocationORIGINAL | photoName | manufacturer | TransmitterModel | TransducerModel | TransducerSerial | InstMeva | installationDate | remainingESL | InstType | ServiceArea | FacilityType | LifeCycleCategory | SerialNo | Parent | RotatingItem | Site | condition | defect1 | defect2 | defect3 | observations | RehabRepairCost | RehabRepairYear | RehabRepairCost2 | RehabRepairYear2 | repProjectName | rehabProjectName | rehab2ProjectName | Status | InspectionYear | rehabComment1 | rehabCost1 | rehabComment2 | rehabCost2 | defect1Input | defect2Input | defect3Input
00008877 | Elevated Tank Access Door (Double) | KCF | 1 | AC |  | 1982 | 5500 | 5520 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_6946 | [28 empty] | 0 |  |  |  |  | Good
| Electrical Room Access Door (Single) | KCF | 1 | AC | Electrical Room | 2020 | 3500 | 5522 |  |  |  | 00017520 |  | IMG_6954 | [28 empty] | 0 |  |  |  |  | good
| Electrical Room Protective Floor Coating | KCF | 1 | AC |  | 2020 | 1500 | 5524 |  |  |  | 00017520 |  | IMG_6955 | [28 empty] | 0 |  |  |  |  | good
| Electrical Room Wall and Ceiling Paint | KCF | 1 | AC |  | 2020 | 4000 | 5523 |  |  |  | 00017520 |  | IMG_6956 | [28 empty] | 0 |  |  |  |  | good
| Electrical Room Window | KCF | 1 | AC |  | 2020 | 3000 | 5529 |  |  |  | 00017520 |  | IMG_6950 | [28 empty] | 0 |  |  |  |  | good
| Elevated Tank Protective Floor Coating | KCF | 1 | AC |  | 2020 | 3000 | 5527 |  |  |  | 00002335 |  | IMG_6957 | [28 empty] | 0 |  |  |  |  | good
| Valve Room Access Door (Single) | KCF | 1 | AC | Valve Room | 2020 | 3500 | 5521 |  |  |  | 00017520 |  | IMG_6947 | [28 empty] | 0 |  |  |  |  | Good
| Valve Room Protective Floor Coating | KCF | 1 | AC | Valve Room | 2020 | 2000 | 5526 |  |  |  | 00017520 |  | IMG_6948 | [28 empty] | 0 |  |  |  |  | good
| Valve Room Wall and Ceiling Paint | KCF | 1 | AC | Valve Room | 2020 | 5000 | 5525 |  |  |  | 00017520 |  | IMG_6952 | [28 empty] | 0 |  |  |  |  | good
| Control Room Motorized Damper | KCF | 2 | BM | Size: 500x500 mm, Manfacturer: Nailor, Model: 2020-IB/-IBF, damper includes Belimo actuator LF120 (120/1/60) interlocked with electrical room exhaust fan | 2020 | 2500 | 5461 |  |  |  | 00017522 |  | IMG_0199 | [28 empty] | 0 |  |  |  |  | good condittion
| Electrical Room Air Ducting | KCF | 2 | BM |  | 2020 | 1000 | 5503 |  |  |  | 00017522 |  | IMG_0765 | [28 empty] | 0 |  |  |  |  | Good
00089467 | Electrical Room Exhaust Fan | KCF | 3 | BM | Manufacturuer: Broan-Nutone, Model: L500 | 2020 | 5000 | 5459 |  |  |  | 00000001 |  | IMG_0240 | [28 empty] | 0 |  |  |  |  | Good
00089470 | Electrical Room Unit Heater | KCF | 2 | BM | Manufacturer: Ouellet, Model: OAS03000AM | 2020 | 3000 | 5460 |  |  |  | 00017520 |  | IMG_0247 | [28 empty] | 0 |  |  |  |  | Good
00089476 | Eyewash System Backflow Preventer | KCF | 2 | BM | Diameter: 50mm, Manufacturer: Watts, Model: LF009M2QT. | 2020 | 2500 | 5456 |  |  |  | 00017520 |  | IMG_0031 | [28 empty] | 0 |  |  |  |  | Good
00089473 | Eyewash System Water Heater | KCF | 2 | BM | Manufacturer: Eemax, Model: EX190T2; Capacity: 19kW | 2020 | 3000 | 5457 |  |  |  | 00017520 |  | IMG_0032 | [11 empty] | 2775365 | [16 empty] | 0 |  |  |  |  | Good
| Plumbing and Drainage | KCF | 2 | BM | drain piping for air release valve, water sampling tank, and eyewash system. Water drain to the sump pit in the valve room. The drain is connect to Sanitary Sewer. | 2020 | 5000 | 5506 |  |  |  | 00017520 |  | img_0062 | [28 empty] | 0 |  |  |  |  | good
| Service Water Line | KCF | 2 | BM | Service Water Line for heated eyewash station. From | 2020 | 1000 | 5504 |  |  |  | 00017520 |  | img_0070 | [28 empty] | 0 |  |  |  |  | good
00089466 | Valve Room Dehumidifier | KCF | 2 | BM | Manufacturer: Ebac Industrial Products Inc. Model: WM-150 | 2020 | 3000 | 5408 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_0184 | [8 empty] | Area 2N Linear Water & Wells |  | Building Mechanical |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00089468 | Valve Room Exhaust Fan | KCF | 2 | BM | Manufacturer: Broan-Nutone Model L900. | 2020 | 5000 | 5360 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_0240 | [8 empty] | Area 2N Linear Water & Wells |  | Process Mechanical |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | Good condition
| Valve Room Motorized Damper | KCF | 2 | BM | Size: 500x500 mm, Manfacturer: Nailor, Model: 2020-IB/-IBF, damper includes Belimo actuator LF120 (120/1/60) interlocked with valve room exhaust fan | 2020 | 2500 | 5462 |  |  |  | 00017522 |  | IMG_0203 | [28 empty] | 0 |  |  |  |  | Good
00089469 | Valve Room Unit Heater | KCF | 2 | BM | Capacity: 5 kW, Manufacturer: Ouellet, Model: OAS05000AM | 2020 | 3500 | 5352 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_0143 | M00037 | [7 empty] | Area 2N Linear Water & Wells |  | Building Mechanical |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | Good
| Water Sampling Sink and Piping | KCF | 2 | BM |  | 2020 | 1000 | 5505 |  |  |  | 00017520 |  | img_0102 | [28 empty] | 0 |  |  |  |  | good
00006495 | Hydro Meter | KCF | 2 | ES |  | 1982 | 7000 | 5367 |  |  |  | 00002335 | King City Fisher Elevated Tank | IMG_4816 | [8 empty] | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Electrical System |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | The viewing window was dirty.
| Electrical Duct System and Conduit System | KCF | 3 | ES | Electrical underground duct system and conduit system | 2010 | 50000 | 5493 |  |  |  | 00002335 |  | IMG_6991 | [6 empty] | 0 | [8 empty] | 0 | [5 empty] | 2022 |  |  | Nobleton North ET Capital Project 2 |  |  |  | 2019 | Install cable messenger to access tube for better cable organization. | 50000 |  | 0 | The cables installed in the access tube poses safety concern as cable clsuter prevents safe and effective rescue.
| Elevated Tank Grounding | KCF | 3 | ES | Assumed installation year: 2010 | 2010 | 10000 | 5491 |  |  |  | 00002335 |  | IMG_0769 | [28 empty] | 0 |  |  |  |  | good
00043008 | Elevated Tank Inlet/Outlet Pipe Heat Tracing | KCF | 3 | ES | assumed installation year: 2010 | 2010 | 15000 | 5490 |  |  |  | 00017520 |  | IMG_0767 | [11 empty] | R1-050-DP | [16 empty] | 0 |  |  |  |  | good
| Elevated Tank Lightning Protection System | KCF | 3 | ES |  | 2010 | 5000 | 5494 |  |  |  | 00002335 |  | IMG_6989 | [6 empty] | 0 | [8 empty] | 0 | [5 empty] | 2021 |  |  | Nobleton North ET Capital Project 2 | Nobleton North ET Capital Project 1 |  |  | 2019 | Reinstall the ligtning rod to the highest point of the elevated tank | 1000 |  | 0 | One of the lightning rods were not erected.
00043004 | Generator Transfer Switch Panel | KCF | 3 | ES | Assumed installation year: 2010 | 2010 | 12000 | 5418 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_4821 | [8 empty] | Area 2N Linear Water & Wells |  | Electrical System | AL 1M0200B |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00043008 | Heat Tracing Panel | KCF | 3 | ES | Assumed installation year: 2010 | 2010 | 5000 | 5420 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_4914 | M10099 | [7 empty] | Area 2N Linear Water & Wells |  | Electrical System | R1-050-DP |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good | consider upgrade
| Aircraft Obstruction Lights | KCF | 3 | ES | Two warning lights, assumed installation year: 2010 | 2012 | 1000 | 5492 |  |  |  | 00019634 |  | IMG_6981 | [24 empty] | Nobleton North ET Capital Project 2 |  |  |  | 2019 |  |  |  |  | Good
00006494 | Pedestal Lighting Fixtures | KCF | 2 | ES | two in total, installation year assumed to be 2015 | 2015 | 5000 | 5489 |  |  |  | 00017522 |  | IMG_4834 | [28 empty] | 0 |  |  |  |  | good
00077741 | Portable Generator | KCF | 3 | ES | Manufacturer: Honda, Model: EU3000i | 2017 | 3500 | 5431 |  |  |  | 00002335 | King City Fisher Elevated Tank | IMG_0862 | M00506 | [7 empty] | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Building Mechanical | EAVJ-1144608 |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
| Electrical Room Linear Light Fixtures | KCF | 2 | ES | 3 LED 4 inches lighting fixtures | 2020 | 3000 | 5477 |  |  |  | 00000001 |  | IMG_4839 | [28 empty] | 0 |  |  |  |  | good
| Emergency Lighting Fixtures | KCF | 2 | ES | 5 in total: 1 combination unit, 4 remote heads | 2020 | 4500 | 5479 |  |  |  | 00002335 |  | IMG_4820 | [28 empty] | 0 |  |  |  |  | good
00089474 | Lighting panel LP-A | KCF | 3 | ES | Panelboard, eaton, PRL1a, , 120/240V, 225A, 42 Circuit, 200A main braker, SPD | 2020 | 18000 | 5376 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_4847 | M00129 | [7 empty] | Area 2N Linear Water & Wells |  | Electrical System |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00024597 | Main Disconnect Switch | KCF | 3 | ES | 600V, 200A | 2020 | 10000 | 5384 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_4841 | M00129 | [5 empty] | 0 |  | Area 2N Linear Water & Wells |  | Electrical System |  |  |  | W-WW | 0 | [5 empty] | 2021 | [6 empty] | 0 | Install Arch Flash Warning Label to the main disconnect swtich | 200 |  | 0 | good
00006494 | Mezzanine LED Lighting Fixtures | KCF | 2 | ES | 8 LED lighting fixutres in total | 2020 | 6500 | 5488 |  |  |  | 00017522 |  | IMG_4829 | [28 empty] | 0 |  |  |  |  | good
| Outdoor Light Fixture | KCF | 2 | ES | 1 wall pack | 2020 | 1000 | 5478 |  |  |  | 00002335 |  | IMG_4815 | [28 empty] | 0 |  |  |  |  | good
00006494 | Valve Room LED Lighting Fixtures | KCF | 2 | ES | 3 LED lighting fixutres in total | 2020 | 2500 | 5366 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_4894 | [8 empty] | Area 2N Linear Water & Wells |  | Electrical System |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00035218 | Chlorine Residual Kit | KCF | 2 | HSS |  | 2015 | 2500 | 5406 |  |  |  | 00002335 | King City Fisher Elevated Tank | IMG_0105 | M00482 | [7 empty] | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Health and Safety | 10070E152349 |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00089477 | Eyewash Station | KCF | 3 | HSS |  | 2020 | 2000 | 5458 |  |  |  | 00017520 |  | IMG_0040 | [28 empty] | 0 |  |  |  |  | Good
| Fire Extinguisher | KCF | 1 | HSS | 1 Fire Extinguisher | 2020 | 300 | 5508 |  |  |  | 00017520 |  | IMG_0050 | [24 empty] | Mt Albert North ET Capital Project 1 |  |  |  | 2019 |  |  |  |  | good
| Smoke Detectors | KCF | 1 | HSS | Smoke Detector (2), one in valve room, the other in electrical room. | 2020 | 1000 | 5509 |  |  |  | 00002335 |  | IMG_0253 | [6 empty] | 0 | [8 empty] | 0 | [8 empty] | Mt Albert North ET Capital Project 1 |  |  |  | 2019 |  |  |  |  | good
| Elevated Tank Inlet/Outlet Line | KCF | 4 | PM | Diameter: 400mm, approximate length: 50 meters | 1982 | 73000 | 5500 |  |  |  | 00002335 | King City FS ET Valve Room | IMG_6974 | [28 empty] | 0 |  |  |  |  | good
| Elevated Tank Overflow Line | KCF | 4 | PM | Diameter: 300mm, approximately: 55 meters | 1982 | 60000 | 5501 |  |  |  | 00017522 | King City FS ET Valve Room | IMG_6994 | [28 empty] | 0 |  |  |  |  | Good
| Elevated Tank Frostproof Vent/Vacuum Relief Unit | KCF | 3 | PM |  | 2011 | 6000 | 5498 |  |  |  | 00002335 | King City FS ET Valve Room | IMG_6987 | [21 empty] | 2019 | [6 empty] | 2019 |  |  |  |  | minor surface corrosion
00042995 | Elevated Tank Inlet/Outlet Line Altitude Valve | KCF | 4 | PM | Diameter: 400mm | 2011 | 31500 | 5410 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_0093 | M00038 | [7 empty] | Area 2N Linear Water & Wells |  | Process Mechanical | 131-FH-1C |  |  | W-WW | [13 empty] | 0 |  |  |  |  | Minor surface corrosion on bolts
00042996 | Elevated Tank Inlet/Outlet Line Gate Valve | KCF | 3 | PM | Diameter: 400mm | 2011 | 6000 | 5411 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_0130 | M00671 | [7 empty] | Area 2N Linear Water & Wells |  | Process Mechanical | AW236106W40L.400 |  |  | W-WW | [13 empty] | 0 |  |  |  |  | Good
| Elevated Tank Water Main Butterfly Valve 1 | KCF | 3 | PM | Diameter: 400mm, Manufacturer: Kennedy-Clow | 2011 | 7000 | 5358 |  |  |  | 00000012 |  | IMG_9976 | [8 empty] | Area 2N Linear Water & Wells |  | Process Mechanical |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | Minor to moderate corrosion
| Elevated Tank Water Main Drain Gate Valve 1 | KCF | 2 | PM | Diameter: 100mm | 2011 | 1500 | 5359 |  |  |  | 00000012 |  | IMG_9979 | [8 empty] | Area 2N Linear Water & Wells |  | Process Mechanical |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | Minor to moderate corrosion
| Elevated Tank Water Main Drain Gate Valve 2 | KCF | 2 | PM | Diameter: 100mm | 2011 | 1500 | 5383 |  |  |  | 00000012 |  | IMG_9986 | M00352 | [7 empty] | Area 2N Linear Water & Wells |  | Process Mechanical |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | Minor to moderate corrosion
| Elevated Tank Inlet/Outlet Line Duckbill Valve | KCF | 3 | PM | Diameter: 400mm, promote tank mixing. | 2012 | 6000 | 5502 |  |  |  | 00017522 |  | IMG_6974 | [28 empty] | 0 |  |  |  |  | Good
| Elevated Tank Water Main Air Release Valve | KCF | 2 | PM | Diameter: 50mm, the valve drained to dechlorination chamber | 2012 | 2500 | 5453 |  |  |  | 00000012 |  | IMG_9998 | [28 empty] | 0 |  |  |  |  | Minor surface corrosion
| Elevated Tank Water Main Gate Valve | KCF | 2 | PM | Diameter: 50mm | 2012 | 1000 | 5454 |  |  |  | 00000012 |  | IMG_9998 | [28 empty] | 0 |  |  |  |  | Minor surface corrosion
| Elevated Tank Bypass Line | KCF | 3 | PM | Diameter: 100mm, approximate length: 2 meters. | 2018 | 1000 | 5499 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_0136 | [28 empty] | 0 |  |  |  |  | Good
00089496 | Elevated Tank Bypass Line Check Valve | KCF | 3 | PM | Diameter: 100mm | 2018 | 2200 | 5356 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_0136 | [8 empty] | Area 2N Linear Water & Wells |  | Process Mechanical | M261770 |  |  | W-WW | [13 empty] | 0 |  |  |  |  | Good
00089497 | Elevated Tank Bypass Line Gate Valve | KCF | 3 | PM | Diameter: 100mm | 2018 | 1200 | 5357 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_0136 | [8 empty] | Area 2N Linear Water & Wells |  | Process Mechanical |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | Good
00089501 | Elevated Tank Inlet/Outlet Line Air Relief Valve | KCF | 2 | PM | Manufracturer: Val Matic Corp. Diameter: 50mm. | 2018 | 2500 | 5353 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_0053 | [8 empty] | Area 2N Linear Water & Wells |  | Process Mechanical |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | Good
00089492 | Elevated Tank Inlet/Outlet Line Butterfly Valve | KCF | 3 | PM | Diameter: 400mm | 2018 | 6700 | 5355 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_0083 | M00331 | [7 empty] | Area 2N Linear Water & Wells |  | Process Mechanical | M021570 |  |  | W-WW | [13 empty] | 0 |  |  |  |  | Good
00089496 | Elevated Tank Inlet/Outlet Line Butterfly Valve Actuator | KCF | 3 | PM |  | 2018 | 10200 | 5497 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_0816 | [11 empty] | M021570 | [16 empty] | 0 |  |  |  |  | Good
| Elevated Tank Overflow Line Duckbill Valve | KCF | 3 | PM | Diameter: 300mm | 2018 | 4000 | 5455 |  |  |  | 00000012 |  | IMG_6994 | [28 empty] | 0 |  |  |  |  | Good
00089500 | Elevated Tank Surge Protection Line Surge Relief Valve | KCF | 2 | PM | Diameter: 75mm | 2018 | 5000 | 5354 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_0075 | [8 empty] | Area 2N Linear Water & Wells |  | Process Mechanical | 2674429-1 |  |  | W-WW | [13 empty] | 0 |  |  |  |  | Good
00089501 | Elevated Tank Inlet/Outlet Line Expassion Joint | KCF | 3 | PM | Diameter: 400mm | 2020 | 2500 | 5507 |  |  |  | 00017520 |  | IMG_0147 | [28 empty] | 0 |  |  |  |  | Good
00089498 | Elevated Tank Surge Protection Line | KCF | 3 | PM | diameter: 75mm, Approximate length: 10 meters. | 2020 | 3000 | 5496 |  |  |  | 00017520 |  | img_0065 | [28 empty] | 0 |  |  |  |  | good
00089498 | Elevated Tank Surge Protection Line Gate Valve | KCF | 2 | PM | diameter: 75mm | 2020 | 1200 | 5495 |  |  |  | 00017520 | King City FS ET Valve Room | img_0068 | [28 empty] | 0 |  |  |  |  | good
00008871 | Electrical Room Concrete Floor Slab | KCF | 3 | SC | Concrete slab on grade of elevated tank, Floor Slab, | 1982 | 22000 | 5530 |  |  |  | 00000001 |  | IMG_6955 | [28 empty] | 0 |  |  |  |  | good
00008873 | Elevated Tank Aluminum Ladder (Ground to Platform) | KCF | 4 | SC |  | 1982 | 30000 | 5517 |  |  |  | 00017522 | King City FS ET Tank Base | IMG_6960 | [28 empty] | 0 |  |  |  |  | good
| Elevated Tank Aluminum Ladder (Platform to Roof) | KCF | 4 | SC |  | 1982 | 15000 | 5528 |  |  |  | 00002335 |  | IMG_6971 | [28 empty] | 0 |  |  |  |  | good
| Elevated Tank Aluminum Ladder (Roof to Tank) | KCF | 4 | SC |  | 1982 | 15000 | 5537 |  |  |  | 00002335 |  | IMG_6974 | [28 empty] | 0 |  |  |  |  | Fair | Minor localized corrosion
00008871 | Elevated Tank Concrete Floor Slab | KCF | 3 | SC |  | 1982 | 45000 | 5515 |  |  |  | 00017522 | King City FS ET Valve Room | IMG_6957 | [28 empty] | 0 |  |  |  |  | good
00008875 | Elevated Tank Concrete Structure | KCF | 4 | SC |  | 1982 | 900000 | 5519 |  |  |  | 00002335 | King City Fisher Elevated Tank | IMG_6960 | [6 empty] | 0 | [8 empty] | 0 | [5 empty] | 2022 | [6 empty] | 0 | Coat exterior roof of concrete structure to seal tank from elements | 30000 |  | 0 | good | Top of concrete tank is bare and exposed to the elements
| Elevated Tank Exterior Coating | KCF | 4 | SC |  | 1982 | 650000 | 5531 |  |  |  | 00002335 |  | IMG_6945 | [28 empty] | 0 |  |  |  |  | Fair | Corrosion/bubbling on painters ring
| Elevated Tank Inlet/Outlet Pipe Support | KCF | 4 | SC |  | 1982 | 30000 | 5558 |  |  |  | 00002335 |  | IMG_6965 | [28 empty] | 0 |  |  |  |  | good
| Elevated Tank Interior Coating | KCF | 4 | SC |  | 1982 | 380000 | 5539 |  |  |  | 00002335 |  | IMG_6974 | [28 empty] | 0 |  |  |  |  | good
| Elevated Tank Overflow Pipe Support | KCF | 4 | SC |  | 1982 | 30000 | 5543 |  |  |  | 00002335 |  | IMG_6965 | [28 empty] | 0 |  |  |  |  | good
| Elevated Tank Roof Access Hatch | KCF | 3 | SC |  | 1982 | 5000 | 5532 |  |  |  | 00002335 |  | IMG_6981 | [28 empty] | 0 |  |  |  |  | Fair
| Elevated Tank Roof Guardrail | KCF | 3 | SC |  | 1982 | 5000 | 5533 |  |  |  | 00002335 |  | IMG_6981 | [28 empty] | 0 |  |  |  |  | Fair
| Elevated Tank Steel Tank | KCF | 5 | SC |  | 1982 | 1100000 | 5534 |  |  |  | 00002335 |  | IMG_6945 | [6 empty] | 0 | [8 empty] | 0 | [5 empty] | 2022 |  | 2022 |  |  |  |  | 0 | Seal gap between access tube and tank | 5000 | Install new cable raceway | 50000 | Fair | Gap between access tube and tank | access tube is narrow and congested due to communication cables
| Elevated Tank Tank Access Hatch | KCF | 3 | SC |  | 1982 | 5000 | 5540 |  |  |  | 00002335 |  | IMG_6981 | [28 empty] | 0 |  |  |  |  | Fair
00008871 | Valve Room Concrete Floor Slab | KCF | 3 | SC |  | 1982 | 38000 | 5538 |  |  |  | 00017520 |  | IMG_6948 | [28 empty] | 0 |  |  |  |  | good
00008872 | Valve Room Concrete Roof | KCF | 4 | SC |  | 1982 | 10000 | 5516 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_6952 | [28 empty] | 0 |  |  |  |  | good
| Valve Room Masonry Blockwall | KCF | 4 | SC |  | 1982 | 25000 | 5557 |  |  |  | 00017520 |  | IMG_6951 | [28 empty] | 0 |  |  |  |  | good
00008874 | Valve Room Pipe Support | KCF | 3 | SC |  | 1982 | 5000 | 5518 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_6948 | [28 empty] | 0 |  |  |  |  | good
| Electrical Room Concrete Roof | KCF | 3 | SC |  | 2020 | 6000 | 5535 |  |  |  | 00000001 |  | IMG_6956 | [28 empty] | 0 |  |  |  |  | good
| Electrical Room Masonry Blockwall | KCF | 4 | SC |  | 2020 | 15000 | 5542 |  |  |  | 00000001 |  | IMG_6955 | [28 empty] | 0 |  |  |  |  | good
| Elevated Tank Aluminum Staircase | KCF | 3 | SC |  | 2020 | 8000 | 5536 |  |  |  | 00002335 |  | IMG_6957 | [28 empty] | 0 |  |  |  |  | good
| Elevated Tank Valve Room and Electrical Room Aluminum Guardrail | KCF | 3 | SC |  | 2020 | 5000 | 5541 |  |  |  | 00002335 |  | IMG_6958 | [28 empty] | 0 |  |  |  |  | good
00043006 | Elevated Tank Inlet/Outlet Pipe Flowmeter | KCF | 3 | SIC | Diameter: 400mm | 2011 | 16000 | 5419 |  |  |  | 00017520 | King City FS ET Tank Base | IMG_0211 | M00125 | [7 empty] | Area 2N Linear Water & Wells |  | Process Mechanical |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00042998 | Elevated Tank Inlet/Outlet Pipe Flowmeter Transmitter | KCF | 3 | SIC | Manufacturer: Siemens, Model: Sitrans FM Magflo | 2011 | 10000 | 5413 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_0836 | M00125 |  |  |  | Flow |  |  |  | Area 2N Linear Water & Wells |  | Instrumentation and Control | 7ME6920-1AA10-1AA0 |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00018269 | Antenna 1 (York Region) | KCF | 2 | SIC | KCTWRAD103 Network, Antenna & Cable | 2015 | 11000 | 5380 |  |  |  | 00017520 | King City Fisher Elevated Tank | IMG_6986 | [8 empty] | Area 2N Linear Water & Wells |  | SCADA |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00025309 | Antenna 10 (York Region) | KCF | 2 | SIC | York Region Traffic UHF Whip | 2015 | 11000 | 5395 |  |  |  | 00002335 | King City Fisher Elevated Tank | IMG_6980 | [8 empty] | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00025310 | Antenna 11 (Rogers) | KCF | 2 | SIC | Rogers PCS Antenna | 2015 | 11000 | 5396 |  |  |  | 00002335 | King City Fisher Elevated Tank | IMG_6980 | [8 empty] | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00025311 | Antenna 12 (Rogers) | KCF | 2 | SIC | Rogers PCS Antenna | 2015 | 11000 | 5397 |  |  |  | 00002335 | King City Fisher Elevated Tank | IMG_6980 | [8 empty] | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00025312 | Antenna 13 (Bell) | KCF | 2 | SIC | Bell GPS Antenna | 2015 | 11000 | 5398 |  |  |  | 00002335 | King City Fisher Elevated Tank | IMG_6982 | [8 empty] | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00025313 | Antenna 14 (Bell) | KCF | 2 | SIC | Bell MMDS (Wireless) Antenna | 2015 | 11000 | 5399 |  |  |  | 00002335 | King City Fisher Elevated Tank | IMG_6982 | [8 empty] | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00025314 | Antenna 15 (Rogers) | KCF | 2 | SIC | Rogers PCS Antenna | 2015 | 11000 | 5400 |  |  |  | 00002335 | King City Fisher Elevated Tank | IMG_6982 | [8 empty] | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00025315 | Antenna 16 (York Region) | KCF | 2 | SIC | York Region Traffic UHF Whip | 2015 | 11000 | 5401 |  |  |  | 00002335 | King City Fisher Elevated Tank | IMG_6986 | [8 empty] | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00025316 | Antenna 17 (Rogers) | KCF | 2 | SIC | Rogers PCS Antenna | 2015 | 11000 | 5402 |  |  |  | 00002335 | King City Fisher Elevated Tank | IMG_6986 | [8 empty] | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00025317 | Antenna 18 (Rogers) | KCF | 2 | SIC | Rogers PCS Antenna | 2015 | 11000 | 5403 |  |  |  | 00002335 | King City Fisher Elevated Tank | IMG_6986 | [8 empty] | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00025318 | Antenna 19 (Bell) | KCF | 2 | SIC | Bell PCS Antenna | 2015 | 11000 | 5404 |  |  |  | 00002335 | King City Fisher Elevated Tank | IMG_6980 | [8 empty] | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00018270 | Antenna 2 (York Region) | KCF | 2 | SIC | KCTWRAD104, Network, Antenna & Cable | 2015 | 11000 | 5381 |  |  |  | 00017520 | King City Fisher Elevated Tank | IMG_6986 | [8 empty] | Area 2N Linear Water & Wells |  | SCADA |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00025319 | Antenna 20 (Bell) | KCF | 2 | SIC | Bell MMDS (Wireless) Antenna | 2015 | 11000 | 5405 |  |  |  | 00002335 | King City Fisher Elevated Tank | IMG_6980 | [8 empty] | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00025300 | Antenna 3 (Bell) | KCF | 2 | SIC | Antenna, Bell 5, PCS, PCS | 2015 | 11000 | 5387 |  |  |  | 00002335 | King City Fisher Elevated Tank | IMG_6967 | [8 empty] | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00025301 | Antenna 4 (Rogers) | KCF | 2 | SIC | Rogers PCS Antenna | 2015 | 11000 | 5388 |  |  |  | 00002335 | King City Fisher Elevated Tank | IMG_6967 | [8 empty] | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00025302 | Antenna 5 (Rogers) | KCF | 2 | SIC | Rogers Wireless Microwave Dish | 2015 | 11000 | 5389 |  |  |  | 00002335 | King City Fisher Elevated Tank | IMG_6977 | [8 empty] | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00025304 | Antenna 6 (Rogers) | KCF | 2 | SIC | Rogers PCS Antenna | 2015 | 11000 | 5390 |  |  |  | 00002335 | King City Fisher Elevated Tank | IMG_6966 | [8 empty] | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00025305 | Antenna 7 (Rogers) | KCF | 2 | SIC | Rogers PCS Antenna | 2015 | 11000 | 5391 |  |  |  | 00002335 | King City Fisher Elevated Tank | IMG_6966 | [8 empty] | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00025306 | Antenna 8 (Rogers) | KCF | 2 | SIC | Rogers PCS Antenna | 2015 | 11000 | 5392 |  |  |  | 00002335 | King City Fisher Elevated Tank | IMG_6966 | [8 empty] | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00025307 | Antenna 8 (York Region) | KCF | 2 | SIC | York Region SCADA UHF Whip | 2015 | 11000 | 5393 |  |  |  | 00002335 | King City Fisher Elevated Tank | IMG_6979 | [8 empty] | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00025308 | Antenna 9 (York Region) | KCF | 2 | SIC | York Region UHF Yagi | 2015 | 11000 | 5394 |  |  |  | 00002335 | King City Fisher Elevated Tank | IMG_6979 | [8 empty] | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Antenna |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00089491 | Elevated Tank Inlet/Outlet Pipe Free Chlorine Analyzer | KCF | 3 | SIC | KCETFS_TWR_AIT2 | 2015 | 10000 | 5485 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_0794 | [11 empty] | BS 90725-08 | [16 empty] | 0 |  |  |  |  | GOOD
00044090 | Elevated Tank Inlet/Outlet Pipe Total Chlorine Analyzer | KCF | 3 | SIC | KCETFS_TWR_AIT1 | 2015 | 8000 | 5427 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_0794 | M00125 | [7 empty] | Area 2N Linear Water & Wells |  | Instrumentation and Control | BS 90725-08 |  |  | W-WW | [13 empty] | 0 |  |  |  |  | GOOD
00045456 | Elevated Tank Level Indiator Transmitter | KCF | 3 | SIC | KCETFS_TWR_LIT1 | 2015 | 2500 | 5429 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_0835 | 1010702 | PMC71-UAC1P2RAAAU |  |  | Level |  |  |  | Area 2N Linear Water & Wells |  | Instrumentation and Control | A401E51509C |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00089472 | Electrical Room High Temperature Switch | KCF | 2 | SIC | KCETFS_BLDS_TSHL2, Manufacturer: Honeywell | 2020 | 500 | 5480 |  |  |  | 00002335 | King City FS ET Electrical Room | IMG_4882 | [28 empty] | 0 |  |  |  |  | good
00088518 | Electrical Room Low Temperature Switch | KCF | 2 | SIC | KCETFS_BLDS_TSHL2, Manufacturer: Honeywell | 2020 | 500 | 5482 |  |  |  | 00017520 | King City FS ET Electrical Room | IMG_4884 | [28 empty] | 0 |  |  |  |  | good
00040727 | Elevated Tank Inlet/Outlet Pipe Pressure Gauge | KCF | 2 | SIC |  | 2020 | 500 | 5407 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_0066 | M00152 | [7 empty] | Area 2N Linear Water & Wells |  | Instrumentation and Control |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00077561 | Elevated Tank Inlet/Outlet Pipe Pressure Transmitter | KCF | 3 | SIC | KCETFS_TWR_PIT1 | 2020 | 2000 | 5430 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_4903 | M00405 | PMC71-UAC-1P2RAAAU | [6 empty] | Area 2N Linear Water & Wells |  | Instrumentation and Control | 9301431509C |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00006490 | Eyewash Piping Pressure Gauge | KCF | 2 | SIC |  | 2020 | 500 | 5363 |  |  |  | 00017520 | King City FS ET Valve Room | img_0041 | M00967 | [7 empty] | Area 2N Linear Water & Wells |  | Instrumentation and Control |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00043011 | Facility Card Readers | KCF | 2 | SIC |  | 2020 | 1000 | 5423 |  |  |  | 00017520 | King City Fisher Elevated Tank | img_4830 | M00488 | [7 empty] | Area 2N Linear Water & Wells |  | Health and Safety |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | Good
00042999 | Facility Security Alarm Auto Dialer | KCF | 2 | SIC |  | 2020 | 2000 | 5414 |  |  |  | 00002335 | King City FS ET Valve Room | IMG_4831 | M00455 | [7 empty] | Area 2N Linear Water & Wells |  | Electrical System | NX-8E |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00006489 | Facility Security Closet | KCF | 3 | SIC | Security System | 2020 | 10000 | 5362 |  |  |  | 00017520 | King City FS ET Electrical Room | IMG_4868 | M00026 | [7 empty] | Area 2N Linear Water & Wells |  | Health and Safety |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00043002 | KCETFS-PAC Control Panel CompactLogix | KCF | 2 | SIC | inside of PAC Control Panel | 2020 | 4000 | 5417 |  |  |  | 00017520 | King City FS ET Electrical Room | IMG_4877 | M00005 | [7 empty] | Area 2N Linear Water & Wells |  | Instrumentation and Control |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00043013 | KCETFS-PAC Control Panel UPS | KCF | 2 | SIC | Inside control panel | 2020 | 4000 | 5424 |  |  |  | 00002335 | King City FS ET Electrical Room | IMG_4877 | M00728 | [7 empty] | Area 2N Linear Water & Wells |  | Electrical System | GD251A0396 |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00042997 | KCETFS-PAC PLC panel | KCF | 4 | SIC |  | 2020 | 55000 | 5412 |  |  |  | 00000001 | King City FS ET Electrical Room | IMG_4877 | [8 empty] | Area 2N Linear Water & Wells |  | Instrumentation and Control | 10-106-B |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00089482 | Network Access Closet | KCF | 4 | SIC |  | 2020 | 15000 | 5426 |  |  |  | 00002335 | King City FS ET Electrical Room | IMG_4870 | M00505 | [7 empty] | Area 2N Linear Water & Wells |  | Instrumentation and Control |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00018267 | Network Access Closet Radio Modem | KCF | 2 | SIC | KCTWRAD101, located inside of network access closet. | 2020 | 2000 | 5378 |  |  |  | 00000001 | King City FS ET Electrical Room | IMG_4870 | M01018 | [7 empty] | Area 2N Linear Water & Wells |  | SCADA | 853327 |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00043014 | Network Access Closet Radio Modem | KCF | 2 | SIC | Part Number: INET II - DGSN, Manufacturer: GE | 2020 | 2000 | 5425 |  |  |  | 00017520 | King City FS ET Electrical Room | IMG_4870 | [8 empty] | Area 2N Linear Water & Wells |  | Instrumentation and Control |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00044224 | Network Access Closet UPS | KCF | 2 | SIC | Manufacturer: Powerware | 2020 | 4000 | 5428 |  |  |  | 00002335 | King City FS ET Electrical Room | IMG_4870 | M00728 | [7 empty] | Area 2N Linear Water & Wells |  | Electrical System | GE404A0166 |  |  | W-WW | [13 empty] | 0 |  |  |  |  | good
00089471 | Valve Room High Temperature Switch | KCF | 2 | SIC | KCETFS_BLDS_TSHL1, Manfacturer: Honey | 2020 | 500 | 5481 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_4895 | [28 empty] | 0 |  |  |  |  | good
00088517 | Valve Room Low Temperature switch | KCF | 2 | SIC | KCETFS_BLDS_TSHL1, Manufacturer: Honeywell | 2020 | 500 | 5484 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_4898 | [28 empty] | 0 |  |  |  |  | good
| Valve Room Sump Pit Float | KCF | 2 | SIC |  | 2020 | 500 | 5487 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_0117 | [28 empty] | 0 |  |  |  |  | GOOd
00008870 | Site Drainage (soft surfaces) | KCF | 1 | SW | Graded Away From Structure, Site Drainage | 1982 | 25000 | 5369 |  |  |  | 00017520 | King City FS ET Valve Room | IMG_20210505_103102 | [6 empty] | 0 |  | Area 2N Linear Water & Wells |  | Siteworks |  |  |  | W-WW | 0 | [12 empty] | 0 | Place more granular/top soil adjacent to pad to ensure drainage away from pads. | 4000 | Re-sod or place seed in areas with exposed topsoil. | 3000 | Low spots adjacent to concrete pads | Exposed top soil in various locations around site.
| Valve Chamber Access Hatch | KCF | 2 | SW |  | 1982 | 5000 | 5547 |  |  |  | 00002335 |  | IMG_6995 | [28 empty] | 0 |  |  |  |  | Fair
| Valve Chamber Aluminum Ladder | KCF | 3 | SW |  | 1982 | 3000 | 5546 |  |  |  | 00002335 |  | IMG_6996 | [28 empty] | 0 |  |  |  |  | fair
| Valve Chamber Concrete Structure | KCF | 3 | SW |  | 1982 | 50000 | 5560 |  |  |  | 00002335 |  | IMG_6998 | [28 empty] | 0 |  |  |  |  | fair | minor rust spots on wall and roof
| Asphalt Driveway | KCF | 2 | SW | Asphalt driveway | 1984 | 25000 | 5433 |  |  |  | 00002335 |  | IMG_20210505_102347 | [6 empty] | 0 | [8 empty] | 0 | [12 empty] | 0 | Repave top surface of asphalt | 7500 |  | 0 | Cracks at various locations of driveway
| Chainlink Fence | KCF | 2 | SW | 1.8m hight chainlink fence around site. Approx length 170m | 1984 | 20000 | 5432 |  |  |  | 00002335 |  | IMG_20210505_101038 | [28 empty] | 0 |  |  |  |  | Fair.
| Concrete Pad (at entrance) | KCF | 1 | SW |  | 1984 | 3000 | 5434 |  |  |  | 00002335 |  | IMG_20210505_102424 | [28 empty] | 0 |  |  |  |  | Minor damage
| Concrete Pad 1 for Telecommunication System | KCF | 3 | SW |  | 1984 | 35000 | 5435 |  |  |  | 00002335 |  | IMG_20210505_102519 | [28 empty] | 0 |  |  |  |  | Damage along the edge of the concrete pad
| Overflow Pipe | KCF | 4 | SW | 300mm concrete overflow pipe from tank to property line. Approximate length 13m | 1984 | 18000 | 5439 |  |  |  | 00002335 | [30 empty] | 0
| Watermain | KCF | 5 | SW | 400mm ductile iron watermain. Approx total length 18m | 1984 | 25000 | 5441 |  |  |  | 00002335 | [30 empty] | 0
| Concrete Pad | KCF | 2 | SW | Concrete pad with nothing above | 2010 | 15000 | 5437 |  |  |  | 00002335 |  | IMG_20210505_102800 | [28 empty] | 0 | Remove concrete pad if not being used, and replace with top soil and sod. |  |  |  | There was nothing installed above concrete pad.
| Concrete Pad 2 for Telecommunication System | KCF | 3 | SW |  | 2010 | 35000 | 5436 |  |  |  | 00002335 |  | IMG_20210505_103114 | [28 empty] | 0 |  |  |  |  | Good
| Dechlorination Chamber | KCF | 3 | SW | Dechlorination chamber, precast 1200x1200mm box MH. | 2020 | 30000 | 5440 |  |  |  | 00002335 |  | IMG_20210505_100819 | [28 empty] | 0 |  |  |  |  | Good condition
| Dechlorination Chamber Access Hatch | KCF | 2 | SW |  | 2020 | 5000 | 5559 |  |  |  | 00002335 |  | IMG_6993 | [28 empty] | 0 |  |  |  |  | good
| Dechlorination Chamber Concrete Struccture | KCF | 2 | SW |  | 2020 | 20000 | 5544 |  |  |  | 00002335 |  | IMG_6993 | [28 empty] | 0 |  |  |  |  | good
| Dechlorination Chamber FRP Ladder | KCF | 2 | SW |  | 2020 | 2000 | 5545 |  |  |  | 00002335 |  | IMG_6994 | [28 empty] | 0 |  |  |  |  | good
| Sanitary Service | KCF | 3 | SW | 125mm sanitary service from building to PL. Approximately 13m in length | 2020 | 12000 | 5438 |  |  |  | 00002335 | [30 empty] | 0
00008866 | Swing Gate | KCF | 2 | SW | Southeast, Gate, Double Lockable | 2020 | 4000 | 5368 |  |  |  | 00002335 | King City Fisher Elevated Tank | IMG_20210505_100551 | [8 empty] | Area 2S Linear Water & Wells | W - Storage Elevated Tank | Siteworks |  |  |  | W-WW | [13 empty] | 0 |  |  |  |  | Good