## Sheet1
assetTag | seqNum | facility | Description | Process | building | inspectorName | CategoryCode | installYear | assetName | manufacturer | TransmitterModel | TransducerModel | TransducerSerial | InstMeva | installationDate | remainingESL | InstType | ServiceArea | FacilityType | LifeCycleCategory | SerialNo | Parent | RotatingItem | Status | Site | condition | COF | defect1 | defect2 | defect3 | observations | RehabRepairCost | RehabRepairYear | RehabRepairCost2 | RehabRepairYear2 | repCost | photoName | repProjectName | rehabProjectName | rehab2ProjectName | InspectionYear | rehabComment1 | rehabCost1 | rehabComment2 | rehabCost2 | defect1Input | defect2Input | defect3Input
00040849 | 5709 | RHB | Cook Gemeni model GN-620: 1/3HP, 120V, 1p, 950rpm |  |  |  | BM | 2008 | Chemical Room Exhaust Fan | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 2500 | IMG_3988 |  |  |  | 0 |  | 0 |  | 0 | Good
00040848 | 5710 | RHB | Ceiling-mounted unit heater: Chromalox Model EUH. 5kW/600V/3p |  |  |  | BM | 2008 | Chemical Room Electric Heater | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 2500 | IMG_3982 |  |  |  | 0 |  | 0 |  | 0 | Good
00022644 | 5711 | RHB | Diameter: 63mm, Watts Model 909 |  |  |  | BM | 2008 | Drain Line Reduced Pressure Principle Backflow Preventer | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 |  | 0 |  | 3500 | IMG_4127 |  |  |  | 0 |  | 0 |  | 0 | Good
00040842 | 5712 | RHB | Cook Gemeni model GN-620: 1/3HP, 120V, 1p, 950rpm |  |  |  | BM | 2008 | Electrical Room Exhaust Fan | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 2500 | IMG_3959 |  |  |  | 0 |  | 0 |  | 0 | Good
00040843 | 5713 | RHB | Ceiling-mounted unit heater by Ouellet. 5kW/600V/3p |  |  |  | BM | 2008 | Electrical Room Electrical Heater | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 2500 | IMG_3952 |  |  |  | 0 |  | 0 |  | 0 | Good
00086557 | 5714 | RHB | Portable dehumidifier by Comfort Aire |  |  |  | BM | 2008 | Dehumidifier | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 2000 | IMG_3983 |  |  |  | 0 |  | 0 |  | 0 | Good
00022645 | 5715 | RHB | Diameter: 25mm, Watts Model 007QT |  |  |  | BM | 2008 | Potable Cold Water Line Double Check Valve Backflow Preventer | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 |  | 0 |  | 2000 | IMG_4095 |  |  |  | 0 |  | 0 |  | 0 | Good
00022646 | 5716 | RHB | Diameter: 50mm, Watts Model 909 |  |  |  | BM | 2008 | Potable Cold Water Line Reduced Pressure Principle Backflow Preventer | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 |  | 0 |  | 2000 | IMG_4085 |  |  |  | 0 |  | 0 |  | 0 | Good
00040829 | 5717 | RHB | Cook Gemeni model GN-860: 1/2HP, 120V, 1p, 1050rpm |  |  |  | BM | 2008 | Valve Room Exhaust Fan | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 2500 | IMG_4167 |  |  |  | 0 |  | 0 |  | 0 | Good
00040823 | 5718 | RHB | Ceiling-mounted unit heater: Chromalox Model EUH. 7.5kW/600V/3p |  |  |  | BM | 2008 | Valve Room Electric Heater 2 | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 2500 | IMG_4152 |  |  |  | 0 |  | 0 |  | 0 | Good
00040824 | 5719 | RHB | Ceiling-mounted unit heater: Chromalox Model EUH. 7.5kW/600V/3p |  |  |  | BM | 2008 | Valve Room Electric Heater 1 | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 2500 | IMG_113057 |  |  |  | 0 |  | 0 |  | 0 | Good
00040860 | 5720 | RHB | Eemax model EX1608TC-CNL: 16.8kW, 240VAC |  |  |  | BM | 2008 | Washroom Tankless Water Heater | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 |  | 0 |  | 3000 | IMG_4005 |  |  |  | 0 |  | 0 |  | 0 | Good
00018658 | 5721 | RHB | Cook Gemeni model GN-140: 1/6HP, 120V, 1p, 1500rpm |  |  |  | BM | 2008 | Washroom Exhaust Fan | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 2500 | IMG_3947 |  |  |  | 0 |  | 0 |  | 0 | Good
00040866 | 5722 | RHB | Wall-mounted heater by Dimplex: 1.5kW/208V/1p |  |  |  | BM | 2008 | Washroom Electric Heater | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 2500 | IMG_3940 |  |  |  | 0 |  | 0 |  | 0 | Good
00086555 | 5723 | RHB | Control,UPS,Rack,Extended Battery Module,1500VA |  |  |  | SIC | 2008 | RPU Panel UPS | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 3000 | PXL_20211116_141808533 |  |  |  | 0 |  | 0 |  | 0
00040838 | 5724 | RHB | 600V, 200A, 36CCT |  |  |  | ES | 2008 | Distribution Panel DPA | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 | 2023 | 0 |  | 12000 | PXL_20211116_140908092 |  |  |  | 0 | Install arc flash label | 500 |  | 0 | missing arc flash label
00040837 | 5725 | RHB | 120/208V, 200A, 60CCT |  |  |  | ES | 2008 | Lighting Panel LPA | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 12000 | PXL_20211116_140743801 |  |  |  | 0 |  | 0 |  | 0 | good
00087415 | 5726 | RHB |  |  |  |  | ES | 2008 | Generator Transfer Panel | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 4000 | PXL_20211116_141739155 |  |  |  | 0 |  | 0 |  | 0 | good
00040841 | 5727 | RHB | 600V-208V, 45kVA |  |  |  | ES | 2008 | Transformer | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 8000 | PXL_20211116_140728211 |  |  |  | 0 |  | 0 |  | 0 | good
00077745 | 5728 | RHB |  |  |  |  | ES | 2017 | Portable Generator | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 7000 | PXL_20211116_141707164 |  |  |  | 0 |  | 0 |  | 0 | good
00040827 | 5729 | RHB |  |  |  |  | ES | 2008 | Heat Tracing Panel #1 | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 5000 | PXL_20211116_135842916 |  |  |  | 0 |  | 0 |  | 0 | good
00040828 | 5730 | RHB |  |  |  |  | ES | 2008 | Heat Tracing Panel #2 | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 5000 | PXL_20211116_135847213 |  |  |  | 0 |  | 0 |  | 0 | good
00040853 | 5732 | RHB | Health and Safety,Emergency Eye Wash Station,Plumbed |  |  |  | HSS | 2008 | Emergency Eye Wash Station | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 2000 | img_3970 |  |  |  | 0 |  | 0 |  | 0 | good
00040814 | 5736 | RHB | Diameter: 75mm, Val-matic Swing Flex Model No. 503A |  |  |  | PM | 2008 | Circulation Line Check Valve | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 3000 | IMG_4125 |  |  |  | 0 |  | 0 |  | 0 | Good
00040813 | 5737 | RHB | Diameter: 75mm |  |  |  | PM | 2008 | Circulation Line Gate Valve | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 2000 | IMG_4123 |  |  |  | 0 |  | 0 |  | 0 | Good
00040818 | 5738 | RHB | Diameter: 100mm |  |  |  | PM | 2008 | Circulation Line Gate Valve | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 2000 | IMG_4028 |  |  |  | 0 |  | 0 |  | 0 | Good
00040815 | 5739 | RHB | Goulds G&L Series SSH, Imp. diameter: 6.375", 2HP, 575-3-60 motor supply |  |  |  | PM | 2008 | Circulation Line Centrifugal Circulation Pump | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 8000 | IMG_104552 |  |  |  | 0 |  | 0 |  | 0 | Good
00040822 | 5740 | RHB | Diameter: 200mm, Mueller Model |  |  |  | PM | 2008 | Tank Overflow Drain Line Gate Valve | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 3000 | IMG_4038 |  |  |  | 0 |  | 0 |  | 0 | Good
00040812 | 5741 | RHB | Diameter: 450mm |  |  |  | PM | 2008 | Tank Inlet Line Butterfly Valve | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 8000 | IMG_4119 |  |  |  | 0 |  | 0 |  | 0 | Good
00040811 | 5742 | RHB | Diameter: 450mm, Val-matic Swing Flex Model No. 518A |  |  |  | PM | 2008 | Tank Inlet Line Check Valve | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 7500 | IMG_4112 |  |  |  | 0 |  | 0 |  | 0 | Good
00040809 | 5743 | RHB | Diameter: 300mm, Cla-Val Model |  |  |  | PM | 2008 | Inlet/Outlet Line Altitude Valve | [6 empty] | 0 | [9 empty] | 0 | 4 |  |  |  |  | 0 |  | 0 |  | 20000 | IMG_4100 |  |  |  | 0 |  | 0 |  | 0 | Good
00040803 | 5744 | RHB | Diameter: 50mm |  |  |  | PM | 2008 | Inlet/Outlet Line Air Release Valve | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 2500 | IMG_4051 |  |  |  | 0 |  | 0 |  | 0 | Good
00040810 | 5745 | RHB | Diameter: 300mm |  |  |  | PM | 2008 | Inlet/Outlet Line Butterfly Valve | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 5000 | IMG_4108 |  |  |  | 0 |  | 0 |  | 0 | Good
00040806 | 5746 | RHB | Limitorque electric actuator, 1140rpm motor, 575-3-60 motor supply |  |  |  | PM | 2008 | Inlet/Outlet Line Electric Actuator | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 5000 | IMG_4060 |  |  |  | 0 |  | 0 |  | 0 | Good
00040807 | 5747 | RHB | Diameter: 300mm, DeZurik Model |  |  |  | PM | 2008 | Inlet/Outlet Line Butterfly Valve | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 5000 | IMG_4061 |  |  |  | 0 |  | 0 |  | 0 | Good
00040808 | 5748 | RHB | Diameter: 300mm, Cla-Val solenoid control valve |  |  |  | PM | 2008 | Inlet/Outlet Line Control Valve | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 8000 | IMG_4072 |  |  |  | 0 |  | 0 |  | 0 | Good
00040821 | 5749 | RHB | Diameter: 450mm |  |  |  | PM | 2008 | Tank Outlet Line Butterfly Valve | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 5000 | IMG_4035 |  |  |  | 0 |  | 0 |  | 0 | Good
00040820 | 5750 | RHB | Diameter: 450mm |  |  |  | PM | 2008 | Tank Outlet Line Butterfly Valve | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 5000 | IMG_113324 |  |  |  | 0 |  | 0 |  | 0 | Good
00040819 | 5751 | RHB | Diameter: 450mm, Val-matic Swing Flex Model No. 518A |  |  |  | PM | 2008 | Tank Outlet Line Check Valve | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 7500 | IMG_4020 |  |  |  | 0 |  | 0 |  | 0 | Good
00040804 | 5752 | RHB | Diameter: 100mm |  |  |  | PM | 2008 | Pressure Relief Line Gate Valve | [6 empty] | 0 | [9 empty] | 0 | 4 |  |  |  |  | 0 |  | 0 |  | 2000 | IMG_4056 |  |  |  | 0 |  | 0 |  | 0 | Good
00086560 | 5753 | RHB |  |  |  |  | SIC | 2008 | Chemical Room Sump Level Switch | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 1000 | IMG_3999 |  |  |  | 0 |  | 0 |  | 0 | good
00040850 | 5754 | RHB |  |  |  |  | SIC | 2008 | Chemical Room Low Temperature Switch | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 800 | PXL_20211116_141930615 |  |  |  | 0 |  | 0 |  | 0 | Good
00040847 | 5755 | RHB | Instrumentation,Switch,Temperature,Low |  |  |  | SIC | 2008 | Electrical and SCADA Room Low Temperature Switch | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 800 | PXL_20211116_141621691 |  |  |  | 0 |  | 0 |  | 0 | Good
00085391 | 5756 | RHB |  |  |  |  | SIC | 2018 | RPU Panel | [6 empty] | 0 | [9 empty] | 0 | 4 |  |  |  |  | 0 |  | 0 |  | 95000 | PXL_20211116_141808533 |  |  |  | 0 |  | 0 |  | 0 | Good
00085392 | 5757 | RHB |  |  |  |  | SIC | 2018 | Network Access Closet | [6 empty] | 0 | [9 empty] | 0 | 4 |  |  |  |  | 0 |  | 0 |  | 18000 | PXL_20211116_141645777 |  |  |  | 0 |  | 0 |  | 0 | Good
00085396 | 5758 | RHB | Switch,3000,Layer 3 |  |  |  | SIC | 2018 | Network Switch | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 2000 | PXL_20211116_141645777 |  |  |  | 0 |  | 0 |  | 0 | good
00086561 | 5759 | RHB | 5gHz,PTP500 |  |  |  | SIC | 2018 | Wide Area Network Radio | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 2000 | PXL_20211116_141645777 |  |  |  | 0 |  | 0 |  | 0 | good
00086563 | 5760 | RHB | 900mHz,iNET |  |  |  | SIC | 2018 | Wide Area Network Radio | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 2000 | PXL_20211116_141645777 |  |  |  | 0 |  | 0 |  | 0 | good
00086562 | 5761 | RHB | 900mHz,iNET |  |  |  | SIC | 2018 | Wide Area Network Radio | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 2000 | PXL_20211116_141645777 |  |  |  | 0 |  | 0 |  | 0 | good
00040852 | 5762 | RHB | Instrumentation,Switch,Flow,High |  |  |  | SIC | 2008 | Eyewash Flow Switch | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 800 | PXL_20211116_141926309 |  |  |  | 0 |  | 0 |  | 0 | Good
00045567 | 5763 | RHB | Instrumentation,Transmitters,Position |  |  |  | SIC | 2008 | Position Transmitter | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 1500 | PXL_20211116_140049452 |  |  |  | 0 |  | 0 |  | 0 | Good
00040833 | 5764 | RHB | Instrumentation,Analysers,Chlorine,Total Chlorine,CL17 |  |  |  | SIC | 2008 | Inlet Total Chlorine Residual Analyser | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 28000 | PXL_20211116_135944275 |  |  |  | 0 |  | 0 |  | 0 | Good
00085393 | 5765 | RHB | Instrumentation,Flow Meter,Electromagnetic,Non-Revenue Water |  |  |  | SIC | 2018 | Flow Transmitter | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 6000 | PXL_20211116_135920183 |  |  |  | 0 |  | 0 |  | 0 | Good
00086556 | 5766 | RHB | Instrumentation,Sensing Elements,Flow |  |  |  | SIC | 2018 | Flow Sensor | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 5000 | PXL_20211116_140209541 |  |  |  | 0 |  | 0 |  | 0 | Good
00040833 | 5767 | RHB | Instrumentation,Analysers,Chlorine,Total Chlorine,CL17 |  |  |  | SIC | 2008 | Outlet Total Chlorine Residual Analyser | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 28000 | PXL_20211116_135937133 |  |  |  | 0 |  | 0 |  | 0 | Good
00085394 | 5769 | RHB | Instrumentation,Transmitters,Pressure,Gauge |  |  |  | SIC | 2018 | System Pressure Transmitter | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 3000 | PXL_20211116_140106684 |  |  |  | 0 |  | 0 |  | 0 | Good
00085395 | 5770 | RHB |  |  |  |  | SIC | 2018 | Pressure Gauge | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 |  | 0 |  | 700 | PXL_20211116_140526499 |  |  |  | 0 |  | 0 |  | 0 | Good
00040826 | 5771 | RHB |  |  |  |  | SIC | 2008 | Valve Room Low Temperature Switch | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 |  | 0 |  | 800 | PXL_20211116_135758462 |  |  |  | 0 |  | 0 |  | 0 | Good
00085351 | 5772 | RHB |  |  |  |  | SIC | 2018 | OIT Monitor | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 10000 | PXL_20211116_135815110 |  |  |  | 0 |  | 0 |  | 0 | Good
00085352 | 5773 | RHB | Computer,OIT,CPU,2184 |  |  |  | SIC | 2018 | OIT Computer | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 3000 | PXL_20211116_135815110 |  |  |  | 0 |  | 0 |  | 0 | good
| 5774 | RHB |  |  |  |  | AC | 2008 | Atrium Access Door (Double) | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 |  | 0 |  | 5500 | IMG_9857 |  |  |  | 0 |  | 0 |  | 0 | Weathered paint
| 5775 | RHB |  |  |  |  | AC | 2008 | Valve Room Access Door (Double) | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 |  | 0 |  | 5500 | IMG_9875 |  |  |  | 0 |  | 0 |  | 0 | good | broken glass on one door
| 5776 | RHB |  |  |  |  | AC | 2008 | Chemical Room Interior Access Door (Single) | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 |  | 0 |  | 3500 | IMG_9863 |  |  |  | 0 |  | 0 |  | 0 | good
| 5777 | RHB |  |  |  |  | AC | 2008 | Chemical Room Exterior Access Door (Single) | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 |  | 0 |  | 3500 | IMG_9864 |  |  |  | 0 |  | 0 |  | 0 | weathered exterior paint
| 5778 | RHB |  |  |  |  | AC | 2008 | Washroom Access Door (Single) | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 |  | 0 |  | 3500 | IMG_9859 |  |  |  | 0 |  | 0 |  | 0 | good
| 5779 | RHB |  |  |  |  | AC | 2008 | Electrical and SCADA Room Access Door (Single) | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 |  | 0 |  | 3500 | IMG_9879 |  |  |  | 0 |  | 0 |  | 0 | good
| 5780 | RHB |  |  |  |  | AC | 2008 | Electrical and SCADA Room Floor Coating | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 |  | 0 |  | 12000 | IMG_9880 |  |  |  | 0 |  | 0 |  | 0 | good
| 5781 | RHB |  |  |  |  | AC | 2008 | Electrical and SCADA Room Wall Paint | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 |  | 0 |  | 1200 | IMG_9881 |  |  |  | 0 |  | 0 |  | 0 | good
| 5782 | RHB |  |  |  |  | AC | 2008 | Valve Room Wall Paint | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 |  | 0 |  | 3000 | IMG_9876 |  |  |  | 0 |  | 0 |  | 0 | good
| 5783 | RHB |  |  |  |  | AC | 2008 | Valve Room Floor Coating | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 |  | 0 |  | 40000 | IMG_9876 |  |  |  | 0 |  | 0 |  | 0 | good
| 5784 | RHB |  |  |  |  | AC | 2008 | Chemical Room Floor Coating | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 |  | 0 |  | 10000 | IMG_9864 |  |  |  | 0 |  | 0 |  | 0 | good
| 5785 | RHB |  |  |  |  | AC | 2008 | Chemical Room Wall Paint | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 |  | 0 |  | 1200 | IMG_9864 |  |  |  | 0 |  | 0 |  | 0 | good
| 5786 | RHB |  |  |  |  | AC | 2008 | Washroom Wall Paint | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 |  | 0 |  | 800 | IMG_9861 |  |  |  | 0 |  | 0 |  | 0 | good
| 5787 | RHB |  |  |  |  | AC | 2008 | Washroom Floor Coating | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 |  | 0 |  | 2200 | IMG_9860 |  |  |  | 0 |  | 0 |  | 0 | good
| 5788 | RHB |  |  |  |  | AC | 2008 | Atrium Floor Coating | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 |  | 0 |  | 16000 | IMG_9886 |  |  |  | 0 |  | 0 |  | 0 | good
| 5789 | RHB |  |  |  |  | AC | 2008 | Atrium Wall Paint | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 |  | 0 |  | 1500 | IMG_9886 |  |  |  | 0 |  | 0 |  | 0 | good
| 5790 | RHB |  |  |  |  | AC | 2008 | Chemical Room Window | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 |  | 0 |  | 3000 | IMG_9871 |  |  |  | 0 |  | 0 |  | 0 | good
| 5791 | RHB |  |  |  |  | SC | 2008 | Elevated Tank Concrete Foundation | [6 empty] | 0 | [9 empty] | 0 | 4 |  |  |  |  | 0 |  | 0 |  | 600000 |  |  |  |  | 0 |  | 0 |  | 0 | Good
| 5792 | RHB |  |  |  |  | SC | 2008 | Elevated Tank Concrete Pedestal | [6 empty] | 0 | [9 empty] | 0 | 4 |  |  |  |  | 0 |  | 0 |  | 1100000 | IMG_9851 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5793 | RHB |  |  |  |  | SC | 2008 | Chemical Room Concrete Blockwalls | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 20000 | IMG_9864 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5794 | RHB |  |  |  |  | SC | 2008 | Chemical Room Concrete Floor Slab | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 15000 | IMG_9864 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5795 | RHB |  |  |  |  | SC | 2008 | Chemical Room Composite Roof Slab | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 12000 | IMG_9864 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5796 | RHB |  |  |  |  | SC | 2008 | Electrical and SCADA Room Composite Roof Slab | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 15000 | IMG_9881 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5797 | RHB |  |  |  |  | SC | 2008 | Electrical and SCADA Room Concrete Floor Slab | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 18000 | IMG_9880 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5798 | RHB |  |  |  |  | SC | 2008 | Electrical and SCADA Room Concrete Blockwalls | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 20000 | IMG_9881 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5799 | RHB |  |  |  |  | SC | 2008 | Valve Room Concrete Blockwalls | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 45000 | IMG_9877 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5800 | RHB |  |  |  |  | SC | 2008 | Valve Room Concrete Floor Slab | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 65000 | IMG_9877 |  |  |  | 0 |  | 0 |  | 0 | Minor hairline cracking
| 5801 | RHB |  |  |  |  | SC | 2008 | Valve Room Composite Roof Slab | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 55000 | IMG_9877 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5802 | RHB |  |  |  |  | SC | 2008 | Washroom Composite Roof Slab | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 3000 | IMG_9861 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5803 | RHB |  |  |  |  | SC | 2008 | Washroom Concrete Blockwalls | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 10000 | IMG_9861 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5804 | RHB |  |  |  |  | SC | 2008 | Washroom Concrete Floor Slab | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 3500 | IMG_9860 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5805 | RHB | ground to platform |  |  |  | SC | 2008 | Elevated Tank Ladder (Base to Platform) | [6 empty] | 0 | [9 empty] | 0 | 4 |  |  |  |  | 0 |  | 0 |  | 20000 | IMG_9888 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5806 | RHB | platform to u/s tank |  |  |  | SC | 2008 | Elevated Tank Ladder (Platform to U/S Tank) | [6 empty] | 0 | [9 empty] | 0 | 4 |  |  |  |  | 0 |  | 0 |  | 3000 | IMG_9921 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5807 | RHB | platform to tank exterior |  |  |  | SC | 2008 | Elevated Tank Ladder (Platform to Roof) | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 8000 | IMG_9941 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5808 | RHB |  |  |  |  | SC | 2008 | Chemical Room FRP Grating | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 2500 | IMG_9864 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5809 | RHB |  |  |  |  | SC | 2008 | Atrium Aluminum Staircase | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 15000 | IMG_9886 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5810 | RHB |  |  |  |  | SC | 2008 | Atrium Aluminum Guardrail | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 10000 | IMG_9901 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5811 | RHB |  |  |  |  | SC | 2008 | Elevated Tank Platform | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 50000 | IMG_9891 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5812 | RHB | platform |  |  |  | HSS | 2008 | Elevated Tank Davit Arm Base 1 | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 5000 | IMG_9948 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5813 | RHB |  |  |  |  | HSS | 2008 | Platform Level Anchor Point | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 2000 | IMG_9923 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5814 | RHB |  |  |  |  | HSS | 2008 | Roof Anchor Point 1 | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 2000 | IMG_9939 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5815 | RHB |  |  |  |  | HSS | 2008 | Roof Anchor Point 2 | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 2000 | IMG_9940 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5816 | RHB |  |  |  |  | HSS | 2008 | Roof Anchor Point 3 | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 2000 | IMG_9940 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5817 | RHB | roof |  |  |  | HSS | 2008 | Elevated Tank Davit Arm Base 2 | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 5000 | IMG_9940 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5818 | RHB | roof |  |  |  | SC | 2008 | Elevated Tank Roof Hatch 1 | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 5000 | IMG_9940 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5819 | RHB | roof |  |  |  | SC | 2008 | Elevated Tank Roof Hatch 2 | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 5000 | IMG_9939 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5820 | RHB | roof |  |  |  | SC | 2008 | Elevated Tank Roof Hatch/Vent | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 5000 | IMG_9938 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5821 | RHB | roof |  |  |  | SC | 2008 | Elevated Tank Guardrail | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 40000 | IMG_9927 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5822 | RHB |  |  |  |  | SC | 2008 | Elevated Tank Steel Tank | [6 empty] | 0 | [9 empty] | 0 | 5 |  |  |  |  | 0 |  | 0 |  | 2500000 | IMG_9850 |  |  |  | 0 |  | 0 |  | 0 | minor corrosion at areas
| 5823 | RHB |  |  |  |  | SC | 2008 | Elevated Tank Interior Coating | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 660000 |  |  |  |  | 0 | overcoating | 0 |  | 0
| 5824 | RHB |  |  |  |  | SC | 2008 | Elevated Tank Exterior Coating | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 1140000 | IMG_9850 |  |  |  | 0 | overcoating | 0 |  | 0 | localized areas of peeled/missing coating
| 5828 | RHB |  |  |  |  | SW | 2008 | Dechlorination Chamber Concrete Structure | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 10000 | IMG_9914 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5829 | RHB |  |  |  |  | SW | 2008 | Dechlorination Chamber Access Ladder | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 1500 | IMG_9914 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5830 | RHB |  |  |  |  | SW | 2008 | Dechlorination Chamber Manhole Frame and Cover | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 3000 | IMG_9913 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5831 | RHB |  |  |  |  | SW | 2008 | Sanitary Chamber Manhole Frame and Cover | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 3000 | IMG_9915 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5832 | RHB | 1800mm diameter maintenance hole, approx. 2.5m depth. Includes 450mm gate valve, 50mm sampling port and thrust block (with flange) |  |  |  | SW | 2008 | Sanitary Chamber Concrete Structure | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 | 2025 | 0 |  | 55000 | IMG_9917 |  |  |  | 0 | Remove and replace moduloc. | 3000 |  | 0 | Cracks in moduloc
| 5833 | RHB |  |  |  |  | SW | 2008 | Sanitary Chamber Access Ladder | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 10000 | IMG_9917 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5834 | RHB | 1200mm maintenance hole, approx 1.5m deep. Includes 450mm eccentric slip on checkvalve |  |  |  | SW | 2008 | Overflow Chamber Concrete Structure | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 20000 | IMG_9911 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5835 | RHB |  |  |  |  | SW | 2008 | Overflow Chamber Access Ladder | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 1500 | IMG_9911 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5836 | RHB |  |  |  |  | SW | 2008 | Overflow Chamber Manhole Frame and Cover | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 3000 | IMG_9910 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5837 | RHB |  |  |  |  | SW | 2008 | Sanitary Chamber Access Platform | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 3000 | IMG_9917 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5838 | RHB | tank underside |  |  |  | SC | 2008 | Elevated Tank Tank Hatch | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 5000 | IMG_9922 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5839 | RHB | tank underside |  |  |  | SC | 2008 | Atrium Concrete Blockwall | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 20000 | IMG_9886 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5840 | RHB | roof |  |  |  | SC | 2008 | Elevated Tank Antenna Structure | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 30000 | IMG_9945 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5937 | RHB |  |  |  |  | HSS | 2008 | Chemical Room Smoke Detector | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 1000 | PXL_20211116_141906956 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5938 | RHB |  |  |  |  | HSS | 2008 | Electrical and SCADA Room Smoke Detector | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 1000 | PXL_20211116_140710468 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5940 | RHB | Antennas (x9) |  |  |  | SIC | 2008 | Antennas | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 90000 | IMG_9943 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5941 | RHB |  |  |  |  | SIC | 2008 | Yagi Antenna | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 10000 | IMG_9937 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5943 | RHB | 600V, 250kA |  |  |  | ES | 2008 | Surge Protection TVSS | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 8000 | PXL_20211116_140858856 |  |  |  | 0 |  | 0 |  | 0 | good
| 5944 | RHB | 600V, 200A |  |  |  | ES | 2008 | Main Fused Disconnect Switch | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 10000 | PXL_20211116_140858856 |  |  |  | 0 |  | 0 |  | 0 | good
| 5939 | RHB |  |  |  |  | HSS | 2008 | Valve Room Smoke Detector | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 1000 | PXL_20211116_135859101 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5945 | RHB | 600V, 30A, fused |  |  |  | ES | 2015 | Non-Fused Disconnect Switch DG1 | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 1500 | PXL_20211116_141608051 |  |  |  | 0 |  | 0 |  | 0 | good
| 5946 | RHB |  |  |  |  | ES | 2015 | Generation Meter | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 4000 | PXL_20211116_141612192 |  |  |  | 0 |  | 0 |  | 0 | good
| 5947 | RHB | 600V, 30A |  |  |  | ES | 2015 | Fused Disconnect Switch DG2 | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 2000 | PXL_20211116_141608051 |  |  |  | 0 |  | 0 |  | 0 | good
00084808 | 5948 | RHB | 600V, 10kW |  |  |  | ES | 2015 | Solar Power Inverter | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 15000 | PXL_20211116_142849609 |  |  |  | 0 |  | 0 |  | 0 | good
| 5951 | RHB | 600V, 200A |  |  |  | ES | 2015 | Main Servive Breaker | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 | 2023 | 0 |  | 10000 | PXL_20211116_142348771 |  |  |  | 0 | Install missing arc flash label. | 500 |  | 0 | missing arc flash label
| 5952 | RHB | 8 linear flurscent, 1 exit, 1 battery |  |  |  | ES | 2008 | Valve Room Lighting | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 | 2026 | 0 |  | 11000 | PXL_20211116_135859101 |  |  |  | 0 | non-LED fixtures to be replaced with LED type in the next capital project. | 5000 |  | 0 | good
| 5953 | RHB | 2 linear flurscent, 1 remote head |  |  |  | ES | 2008 | Electrical Room Lighting | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 | 2025 | 0 |  | 3000 | PXL_20211116_140709191 |  |  |  | 0 | non-LED fixtures to be replaced with LED type in the next capital project. | 2000 |  | 0 | good
| 5955 | RHB | 16 wallmount, 1 exit, 2 flood light, 4 remote head, 4 linear flurscent |  |  |  | ES | 2008 | Elevated Tank Lighting | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 | 2025 | 0 |  | 50000 | PXL_20211116_141906956 |  |  |  | 0 | non-LED fixtures to be replaced with LED type in the next capital project. | 4000 |  | 0 | good
| 5956 | RHB | washroom and floor drains connect to sanitary service. Water service line for washroom. |  |  |  | BM | 2008 | Plumbing and Drainage | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 10000 | IMG_4226 |  |  |  | 0 |  | 0 |  | 0 | good
| 5957 | RHB | 1 toilet and 1 sink |  |  |  | BM | 2008 | Washroom Fixtures | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 2000 | IMG_3936 |  |  |  | 0 |  | 0 |  | 0 | good
| 5958 | RHB | Electrical underground duct system and conduit system |  |  |  | ES | 2008 | Electrical Duct System and Conduit System | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 60000 | IMG_9941 |  |  |  | 0 |  | 0 |  | 0 | good
| 5959 | RHB |  |  |  |  | ES | 2008 | Elevated Tank Lightning Protection System | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 5000 | IMG_9944 |  |  |  | 0 |  | 0 |  | 0 | good
| 5960 | RHB | Two warning lights, assumed installation year: 2010 |  |  |  | ES | 2008 | Aircraft Obstruction Lights | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 1000 | IMG_9944 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5961 | RHB |  |  |  |  | ES | 2008 | Elevated Tank Grounding | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 10000 | IMG_9901 |  |  |  | 0 |  | 0 |  | 0 | good
| 5962 | RHB |  |  |  |  | ES | 2008 | Elevated Tank Inlet Pipe Heat Tracing | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 15000 | IMG_4178 |  |  |  | 0 |  | 0 |  | 0 | good
00084809 | 5949 | RHB | 3 array, 12 modules each |  |  |  | ES | 2015 | Solar Power Modules | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 40000 | PXL_20211116_143147485 |  |  |  | 0 |  | 0 |  | 0 | good
| 5950 | RHB |  |  |  |  | ES | 2015 | Hydro Meter | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 6000 | PXL_20211116_142339795 |  |  |  | 0 |  | 0 |  | 0 | good
| 5954 | RHB | 3 linear flurscent, 1 exit, 1 remote head |  |  |  | ES | 2008 | Chemical Room Lighting | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 | 2025 | 0 |  | 5000 | PXL_20211116_141906956 |  |  |  | 0 | non-LED fixtures to be replaced with LED type in the next capital project. | 3000 |  | 0 | good
| 5963 | RHB |  |  |  |  | ES | 2008 | Elevated Tank Outlet Pipe Heat Tracing | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 15000 | IMG_20211116_113909 |  |  |  | 0 |  | 0 |  | 0 | good
| 5964 | RHB | Diameter: 450mm, length: 50 meters |  |  |  | PM | 2008 | Tank Overflow Drain Line Piping | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 82000 | IMG_4174 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5965 | RHB | Diameter: 100mm, length: 15 meters |  |  |  | PM | 2008 | Circulation Line Piping | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 6000 | IMG_4174 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5966 | RHB | Diameter: 450mm, length: 20 meters |  |  |  | PM | 2008 | Inlet/Outlet Line Piping | [6 empty] | 0 | [9 empty] | 0 | 5 |  |  |  |  | 0 |  | 0 |  | 25000 | IMG_4055 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5967 | RHB | Diameter: 450mm, length: 30 meters |  |  |  | PM | 2008 | Inlet Line Piping | [6 empty] | 0 | [9 empty] | 0 | 4 |  |  |  |  | 0 |  | 0 |  | 49000 | IMG_4050 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5968 | RHB | Diameter: 450mm, length: 25 meters |  |  |  | PM | 2008 | Outlet Line Piping | [6 empty] | 0 | [9 empty] | 0 | 4 |  |  |  |  | 0 |  | 0 |  | 41000 | IMG_4158 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5969 | RHB | Diameter: 450mm |  |  |  | PM | 2008 | Tank Overflow Drain Line Duckbill Valve | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 4000 | IMG_3917 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5970 | RHB |  |  |  |  | PM | 2008 | Elevated Tank Frostproof Vent/Vacuum Relief Unit | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 6000 | IMG_9938 |  |  |  | 0 |  | 0 |  | 0 | good
| 5971 | RHB | Approximately 3 in total |  |  |  | HSS | 2007 | Fire Extinguishers | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 2000 | IMG_3971 |  |  |  | 0 |  | 0 |  | 0 | good
| 5972 | RHB | including valve, gauges, and a pump |  |  |  | PM | 2008 | Recirculation System | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 15000 | IMG_4179 |  |  |  | 0 |  | 0 |  | 0 | good
| 5973 | RHB | security system for the entire ET |  |  |  | SIC | 2008 | Security System | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 60000 | IMG_4222 |  |  |  | 0 |  | 0 |  | 0 | good
| 5974 | RHB | 9.0m long, 2.4m high chainlink swing gate |  |  |  | SW | 2008 | Swing Gate | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 5000 | IMG_20211116_094340 |  |  |  | 0 |  | 0 |  | 0 | Paint chipping off | Minor damage to mesh
| 5975 | RHB | 2.4m high chainlink fence along property line (approx. 375m in length) |  |  |  | SW | 2008 | Chainlink fence | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 | 2025 | 0 |  | 75000 | IMG_20211116_094518 |  |  |  | 0 | Install new horizontal fence bars at corners | 1000 |  | 0 | Paint chipping off fence | Horizontal fence bar missing or damaged at north side and south-east corners
| 5976 | RHB | Pedestrian swing gate located east of vehicle entrance |  |  |  | SW | 2008 | Pedestrian Swing Gate | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 3000 | IMG_20211116_095248 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5977 | RHB | Overflow detention area (dry pond), including emergency overflow overland |  |  |  | SW | 2008 | Overflow Detention Area | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 25000 | IMG_20211116_100019 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5978 | RHB | Overflow outlet, including armtec headwall and riprap |  |  |  | SW | 2008 | Overflow Outlet | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 | 2025 | 0 |  | 15000 | IMG_20211116_100057 |  |  |  | 0 | Remove and replace rip rap around outlet. | 5000 |  | 0 | Minor ponding by outlet
| 5979 | RHB | DICB in dry pond |  |  |  | SW | 2008 | DICB in dry pond | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 5000 | IMG_20211116_100214 |  |  |  | 0 |  | 0 |  | 0 | Good
| 5980 | RHB | 450mm PVC storm sewer, total length 85m (in two sections), approx 2.0m in depth |  |  |  | SW | 2008 | Storm Sewer | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 90000 |  |  |  |  | 0 |  | 0 |  | 0 | Not observed
| 5982 | RHB | 150mm PVC sewer, 27m in length, approx 2.0m in depth |  |  |  | SW | 2008 | Sanitary Sewer | [6 empty] | 0 | [9 empty] | 0 | 3 |  |  |  |  | 0 |  | 0 |  | 25000 |  |  |  |  | 0 |  | 0 |  | 0 | Not observed
| 5984 | RHB | 450mm CPP watermain (C303), approx 65m in length |  |  |  | SW | 2008 | Watermain | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 |  | 0 |  | 130000 |  |  |  |  | 0 |  | 0 |  | 0 | Not observed
| 5986 | RHB | Asphalt driveway from entrance to site, and around tank pedestal. Approx area 600m2. Road makeup (based on record drawings) is 40mm HL3, 80mm HL8, 150mm granular A, 400mm granular B. |  |  |  | SW | 2008 | Asphalt driveway | [6 empty] | 0 | [9 empty] | 0 | 2 |  |  |  |  | 0 | 2025 | 0 |  | 60000 | IMG_20211116_100720 |  |  |  | 0 | Remove and replace asphalt layers, or full depth reconstruction (dependent on geotechnical investigation). | 60000 |  | 0 | Cracks in various areas | Asphalt settled and damaged adjacent to the tank | Potential utility cuts not permanently restored
| 5987 | RHB | general sod on site |  |  |  | SW | 2008 | Landscaping | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 | 2025 | 0 |  | 70000 | IMG_20211116_100418 |  |  |  | 0 | Regrade areas along driveway, and install new top soil and sod. Alternatively, place gravel shoulder | 5000 |  | 0 | Damage along driveway
| 5988 | RHB | Concrete bollards (quantity of 4) |  |  |  | SW | 2008 | Bollards | [6 empty] | 0 | [9 empty] | 0 | 1 |  |  |  |  | 0 |  | 0 |  | 6000 | IMG_20211116_100635 |  |  |  | 0 |  | 0 |  | 0 | Good