## Comments
CommentID | ParentID | CommentType | Comment | DBNotes | Condition | ConditionResult | AssetID
1 | 8 | Condition Comment | Poor |  | Poor | 4 | 8 | 4 | 4
3 | 9 | Condition Comment | Poor |  | Poor | 4 | 9 | 4 | 4
5 | 20 | Condition Comment | Poor |  | Poor | 4 | 20 | 4 | 4
7 | 21 | Condition Comment | Poor |  | Poor | 4 | 21 | 4 | 4
9 | 22 | Condition Comment | Poor |  | Poor | 4 | 22 | 4 | 4
147 | 23 | Condition Comment | Fair |  | Fair | 3 | 23 | 3 | 3
149 | 24 | Condition Comment | Fair |  | Fair | 3 | 24 | 3 | 3
151 | 25 | Condition Comment | Fair |  | Fair | 3 | 25 | 3 | 3
14 | 28 | Condition Comment | The pressure transmitter appeared to be in good condition. |  | good | 2 | 28 | 2 | 2
15 | 29 | Condition Comment | The sidewalk was in fair condition. Minor wear and overgrown vegetation were observed. | 29_merge | fair | 3 | 33 |  | 0
16 | 30 | Condition Comment | The lighting panel appeared to be in good condition, but was approaching the end of its expected service life. | 30_merge | good | 2 | 47 | 2 | 2
17 | 31 | Condition Comment | The panel appeared to be in good condition, but was approaching the end of its expected service life. | 31_merge | good | 2 | 48 | 2 | 2
18 | 32 | Condition Comment | The equipment in the panel appeared to be in good condition, however there was a hole cut out of the panel cover. | 32_merge | good | 2 | 49 | 2 | 2
19 | 34 | Condition Comment | The panel appeared to be in good condition, but was approaching the end of its expected service life. | 34_merge | good | 2 | 50 | 2 | 2
20 | 35 | Condition Comment | The panel appeared to be in good condition, but was approaching the end of its expected service life. | 35_merge | good | 2 | 51 | 2 | 2
21 | 36 | Condition Comment | The lighting appeared to be in fair condition. One of the fixture covers was missing. | 36_merge | fair | 3 | 52 | 2 | 2
22 | 37 | Condition Comment | The fixtures appeared to be in good condition, but were approaching the end of their expected service life. | 37_merge | good | 2 | 53 | 2 | 2
23 | 38 | Condition Comment | The lighting fixture appeared to be in good condition, but was appraochign the end of its expected service life. | 38_merge | good | 2 | 54 | 2 | 2
24 | 39 | Condition Comment | The unit heater appeared to be in fair condition with minor discolouration. | 39_merge | fair | 3 | 55 | 4 | 4
25 | 40 | Condition Comment | The unit heater appeared to be in fair condition with minor discolouration. | 40_merge | fair | 3 | 56 | 5 | 5
26 | 41 | Condition Comment | A portable unit heater was found on the ground level. | 41_merge | good | 2 | 57 | 3 | 3
27 | 42 | Condition Comment | The exhaust fan appeared to be in good condition. | 42_merge | good | 2 | 58 | 3 | 3
28 | 43 | Condition Comment | The roof drain appeared to be in good condition. | 43_merge | good | 2 | 59 | 2 | 2
29 | 44 | Condition Comment | The fire extinguigher appeared to be in good condition. | 44_merge | good | 2 | 60 | 2 | 2
30 | 45 | Condition Comment | The motorized louvre and ducting appeared to be in good condition. | 45_merge | good | 2 | 61 | 2 | 2
31 | 46 | Condition Comment | The portable dehumidifier appeared to be in fair condition and was found unplugged. | 46_merge | fair | 3 | 62
32 | 47 | Condition Comment | Good | 47_merge | Good | 2 | 63 | 3 | 3
33 | 48 | Condition Comment | Good | 48_merge | Good | 2 | 64 | 3 | 3
34 | 49 | Condition Comment | Good | 49_merge | Good | 2 | 65 | 3 | 3
35 | 50 | Condition Comment | Good | 50_merge | Good | 2 | 66 | 2 | 2
36 | 51 | Condition Comment | Good | 51_merge | Good | 2 | 67 | 2 | 2
37 | 52 | Condition Comment | Good | 52_merge | Good | 2 | 68 | 3 | 3
38 | 53 | Condition Comment | Good | 53_merge | Good | 2 | 69 | 3 | 3
39 | 54 | Condition Comment | Good | 54_merge | Good | 2 | 70 | 2 | 2
40 | 55 | Condition Comment | Poor | 55_merge | Poor | 4 | 71 | 2 | 2
42 | 56 | Condition Comment | Very Poor | 56_merge | Very Poor | 5 | 72 | 2 | 2
44 | 57 | Condition Comment | Fair | 57_merge | Fair | 3 | 73 | 2 | 2
48 | 58 | Condition Comment | The sidewalk was in fair condition. Minor wear and overgrown vegetation were observed. | 29_merge | fair | 3 | 74 | 2 | 2
49 | 59 | Condition Comment | The lighting panel appeared to be in good condition, but was approaching the end of its expected service life. | 30_merge | good | 2 | 75 | 3 | 3
50 | 60 | Condition Comment | The panel appeared to be in good condition, but was approaching the end of its expected service life. | 31_merge | good | 2 | 80
51 | 61 | Condition Comment | The equipment in the panel appeared to be in good condition, however there was a hole cut out of the panel cover. | 32_merge | good | 2 | 95
52 | 63 | Condition Comment | The panel appeared to be in fair condition, and was approaching the end of its expected service life. The battery pack in the panel was replaced in February 2009, however the City reported issues with the battery. | 34_merge | fair | 3 | 96
53 | 64 | Condition Comment | The panel appeared to be in fair condition, and was approaching the end of its expected service life. The battery pack in the panel was replaced in February 2009, however the City reported issues with the battery. | 35_merge | Fair | 3 | 98
54 | 65 | Condition Comment | The lighting appeared to be in fair condition. One of the fixture covers was missing. | 36_merge | fair | 3 | 100
55 | 66 | Condition Comment | The fixtures appeared to be in good condition, but were approaching the end of their expected service life. | 37_merge | good | 2 | 101
56 | 67 | Condition Comment | The lighting fixture appeared to be in good condition, but was appraochign the end of its expected service life. | 38_merge | good | 2 | 102
57 | 68 | Condition Comment | The unit heater appeared to be in fair condition with minor discolouration. | 39_merge | fair | 3 | 103 | 2 | 2
58 | 69 | Condition Comment | The unit heater appeared to be in fair condition with minor discolouration. | 40_merge | fair | 3 | 104
59 | 70 | Condition Comment | A portable unit heater was found on the ground level. | 41_merge | good | 2 | 105 | 3 | 3
60 | 71 | Condition Comment | The exhaust fan appeared to be in good condition. | 42_merge | good | 2 | 106
61 | 72 | Condition Comment | The roof drain appeared to be in good condition. | 43_merge | good | 2 | 108
62 | 73 | Condition Comment | The fire extinguisher appeared to be in good condition. | 44_merge | good | 2 | 109
63 | 74 | Condition Comment | The motorized louvre and ducting appeared to be in good condition. | 45_merge | good | 2 | 110
64 | 75 | Condition Comment | The portable dehumidifier appeared to be in fair condition and was found unplugged. | 46_merge | fair | 3 | 111 | 3 | 3
65 | 76 | Condition Comment | The sidewalk was in fair condition. Minor wear and overgrown vegetation were observed. | 29_merge | fair | 3 | 112
66 | 77 | Condition Comment | The lighting panel appeared to be in good condition, but was approaching the end of its expected service life. | 30_merge | good | 2 | 113
67 | 78 | Condition Comment | The panel appeared to be in good condition, but was approaching the end of its expected service life. | 31_merge | good | 2 | 114
68 | 79 | Condition Comment | The equipment in the panel appeared to be in good condition, however there was a hole cut out of the panel cover. | 32_merge | good | 2 | 115
69 | 81 | Condition Comment | The panel appeared to be in good condition, but was approaching the end of its expected service life. | 34_merge | good | 2 | 116
70 | 82 | Condition Comment | The panel appeared to be in good condition, but was approaching the end of its expected service life. | 35_merge | good | 2 | 117
71 | 83 | Condition Comment | The lighting appeared to be in fair condition. One of the fixture covers was missing. | 36_merge | fair | 3 | 118
72 | 84 | Condition Comment | The fixtures appeared to be in good condition, but were approaching the end of their expected service life. | 37_merge | good | 2 | 119 | 2 | 2
73 | 85 | Condition Comment | The lighting fixture appeared to be in good condition, but was appraochign the end of its expected service life. | 38_merge | good | 2 | 120
74 | 86 | Condition Comment | The unit heater appeared to be in fair condition with minor discolouration. | 39_merge | fair | 3 | 121 | 2 | 2
75 | 87 | Condition Comment | The unit heater appeared to be in fair condition with minor discolouration. | 40_merge | fair | 3 | 122 | 2 | 2
76 | 88 | Condition Comment | A portable unit heater was found on the ground level. | 41_merge | good | 2 | 123
77 | 89 | Condition Comment | The exhaust fan appeared to be in good condition. | 42_merge | good | 2 | 124 | 2 | 2
78 | 90 | Condition Comment | The roof drain appeared to be in good condition. | 43_merge | good | 2 | 125
79 | 91 | Condition Comment | The fire extinguigher appeared to be in good condition. | 44_merge | good | 2 | 126
80 | 92 | Condition Comment | The motorized louvre and ducting appeared to be in good condition. | 45_merge | good | 2 | 127
81 | 93 | Condition Comment | The portable dehumidifier appeared to be in fair condition and was found unplugged. | 46_merge | fair | 3 | 128 | 2 | 2
86 | 103 | Condition Comment | good | 57_merge | good | 2 | 129 | 2 | 2
90 | 105 | Condition Comment | The roof was not observed, but was assumed to be in fair condition based on age. | 59_merge | fair | 3 | 130 | 2 | 2
172 | 111 | Condition Comment | fair |  | fair | 3 | 131
110 | 119 | Condition Comment | good | 73_merge | good | 2 | 132
114 | 121 | Condition Comment | good | 75_merge | good | 2 | 133
115 | 122 | Condition Comment | good | 76_merge | good | 2 | 135
119 | 124 | Condition Comment | good | 78_merge | good | 2 | 136
125 | 128 | Condition Comment | good | 82_merge | good | 2 | 137
126 | 129 | Condition Comment | good | 83_merge | good | 2 | 138
128 | 130 | Condition Comment | good | 84_merge | good | 2 | 139
170 | 140 | Condition Comment | Fair |  | Fair | 3 | 140 | 3 | 3
168 | 142 | Condition Comment | Fair |  | Fair | 3 | 142 | 3 | 3
174 | 143 | Condition Comment | Fair |  | Fair | 3 | 143 | 3 | 3
173 | 144 | Condition Comment | Fair |  | Fair | 3 | 144 | 3 | 3
145

## ConditionCOF
AssetID | VisualCondition | PoF
8 | 4 | 4
9 | 4 | 4
20 | 4 | 4
21 | 4 | 4
22 | 4 | 4
23 | 3 | 3
24 | 3 | 3
25 | 3 | 3
28 | 2 | 2
33 |  | 0
47 | 2 | 2
48 | 2 | 2
49 | 2 | 2
50 | 2 | 2
51 | 2 | 2
52 | 2 | 2
53 | 2 | 2
54 | 2 | 2
55 | 4 | 4
56 | 5 | 5
57 | 3 | 3
58 | 3 | 3
59 | 2 | 2
60 | 2 | 2
61 | 2 | 2
62
63 | 3 | 3
64 | 3 | 3
65 | 3 | 3
66 | 2 | 2
67 | 2 | 2
68 | 3 | 3
69 | 3 | 3
70 | 2 | 2
71 | 2 | 2
72 | 2 | 2
73 | 2 | 2
74 | 2 | 2
75 | 3 | 3
80
95
96
98
100
101
102
103 | 2 | 2
104
105 | 3 | 3
106
108
109
110
111 | 3 | 3
112
113
114
115
116
117
118
119 | 2 | 2
120
121 | 2 | 2
122 | 2 | 2
123
124 | 2 | 2
125
126
127
128 | 2 | 2
129 | 2 | 2
130 | 2 | 2
131
132
133
135
136
137
138
139
140 | 3 | 3
142 | 3 | 3
143 | 3 | 3
144 | 3 | 3
145

## ESL
AssetID | AssetName | AssetCategory | AssessmentYear | InstallYear | AvgESL
8 | HWSUR, INLET OUTLET BUTTERFLY VALVE No.1 | Process Mechanical |  | 1950
9 | HWSUR, INLET OUTLET BUTTERFLY VALVE No.2 | Process Mechanical |  | 1950
20 | HWSUR, Inlet Butterfly Valve No.1 | Process Mechanical |  | 2000
21 | HWSUR, Inlet Butterfly Valve No.2 | Process Mechanical |  | 2000
22 | HWSUR, Inlet Butterfly Valve No.3 | Process Mechanical |  | 2000
23 | HWSUR, SURGE ANTICIPATOR VALVE NO.1 | Process Mechanical |  | 2000
24 | HWSUR, SURGE ANTICIPATOR VALVE NO.2 | Process Mechanical |  | 2000
25 | HWSUR, SURGE PRESSURE RELIEF VALVE NO.3 | Process Mechanical |  | 2000
28 | HWSUR, SURGE BUILDING HEADER PRESSURE TRANSMITTER | Process Instrumentation |  | 2016
33 | V2 Control Panel | Process Electrical
47 | HWSUR, ISOLATION GATE VALVE NO.1 | Process Mechanical |  | 2000
48 | HWSUR, ISOLATION GATE VALVE NO.2 | Process Mechanical |  | 2000
49 | HWSUR, ISOLATION GATE VALVE NO.3 | Process Mechanical |  | 2000
50 | HWSUR, AIR RELEASE VALVE NO.1 | Process Mechanical |  | 2000
51 | HWSUR, AIR RELEASE VALVE NO.2 | Process Mechanical |  | 2000
52 | HWSUR, AIR RELEASE VALVE NO.3 | Process Mechanical |  | 2000
53 | HWSUR, ISOLATION GATE VALVE NO.4 | Process Mechanical |  | 2000
54 | HWSUR, AIR RELEASE VALVE NO.4 | Process Mechanical |  | 2000
55 | HWSUR, BYPASS GATE VALVE NO.1 | Process Mechanical |  | 1950
56 | HWSUR, DECOMMISSIONED GATE VALVE NO.1 | Process Mechanical |  | 1950
57 | HWSUR, Valve 1 Process Piping | Process Mechanical |  | 2000
58 | Sidewalk | Site Works |  | 2001
59 | Lighting Panel LP-A | Building Electrical |  | 2001
60 | Terminal Blocks Panel | Building Electrical |  | 2001
61 | Intrinsically Safe Relay | Process Electrical |  | 2000
62 | V2 Control Panel | Process Electrical
63 | V2 Control Panel | Process Electrical |  | 2000
64 | V1 Control Panel | Process Electrical |  | 2000
65 | Interior Lighting Fixtures | Building Electrical |  | 2000
66 | Emergency Lighting Fixtures | Building Electrical |  | 2000
67 | Exterior Lighting Fixture | Building Electrical |  | 2000
68 | Unit Heater 1 (Ground Level) | Building Mechanical |  | 2000
69 | Unit Heater 2 (Lower Level) | Building Mechanical |  | 2000
70 | Unit Heater (Portable) | Building Mechanical |  | 2000
71 | Exhaust Fan EF-1 | Building Mechanical |  | 2000
72 | Roof Drain | Building Mechanical |  | 2000
73 | Fire Extinguisher | Building Mechanical |  | 2020
74 | Motorized Louvre and Ducting | Building Mechanical |  | 2000
75 | Dehumidifier (Portable) | Building Mechanical |  | 2000
80 | V2 Control Panel | Process Electrical
95 | Building Architectural | Building Architectural
96 | Process Structural | Process Structural
98 | Building Structural | Building Structural
100 | Clay Brick Walls (1950) | Building Structural |  | 1950
101 | Clay Brick Walls (2000) | Building Architectural |  | 2000
102 | Concrete Foundation Walls | Building Structural |  | 1950
103 | Clay Brick Walls (2000) | Building Architectural |  | 2000
104 | Coping Stone | Building Architectural |  | 1950
105 | Roofing | Building Architectural |  | 2000
106 | Windows | Building Architectural |  | 2000
108 | Double Steel Door | Building Architectural |  | 2000
109 | Interior Clay Brick Walls | Building Structural |  | 1950
110 | Concrete Masonry Bond Beam | Building Structural |  | 2000
111 | Precast Concrete Roof | Building Structural |  | 2000
112 | Concrete Floor Slab | Building Structural |  | 1950
113 | Concrete Floor Beams | Building Structural |  | 1950
114 | Steel Monorail Beam | Process Structural |  | 2000
115 | Steel Platform with Grating | Process Structural |  | 1950
116 | Aluminum Platform with Grating | Process Structural |  | 2000
117 | Steel Floor Beams | Building Structural |  | 1950
118 | Galvanized Steel Floor Grating | Building Structural |  | 1950
119 | Aluminum Ladder | Process Structural |  | 2000
120 | Steel Ladders | Process Structural |  | 1950
121 | Concrete Masonry Infill Wall | Building Architectural |  | 2000
122 | Aluminum Hinged Cover | Building Architectural |  | 2000
123 | Steel Platform Railings | Building Architectural |  | 1950
124 | Aluminum Platform Railings | Building Architectural |  | 2000
125 | Ground Floor Steel Railings | Building Architectural |  | 1950
126 | Concrete Foundation Walls | Building Structural |  | 1950
127 | Concrete Base Slab | Building Structural |  | 1950
128 | Aluminum Platform with Grating | Process Structural |  | 2000
129 | Aluminum Ladders | Process Structural |  | 2000
130 | Aluminum Platform Railings | Building Architectural |  | 2000
131 | Site Civil | Site Works |  | 1950
132 | Building Electrical | Building Electrical
133 | Building Mechanical | Building Mechanical
135 | Surge Suppression Inlet | Process Mechanical
136 | Surge Anticipator Valve 1 | Process Mechanical
137 | Surge Anticipator Valve 2 | Process Mechanical
138 | Surge Pressure Relief Valve 3 | Process Mechanical
139 | Surge Suppression Discharge | Process Mechanical
140 | HWSUR, Discharge Process Piping | Process Mechanical |  | 1950
142 | HWSUR, Inlet Process Piping | Process Mechanical |  | 2000
143 | HWSUR, Valve 2 Process Piping | Process Mechanical |  | 2000
144 | HWSUR, Valve 3 Process Piping | Process Mechanical |  | 2000
145 | Pressure Supply Header | Process Mechanical |  | 2000