## Maira
| 0 | 1 | 2 | 3 | 4 | 5
0 | ParentID | AssetName | Condition Rating | Replacement Year | Replacement Cost | Life Expectancy
1 | 1 | Rockcliffe WWPS | 3 | 2026 | 0 | 20
2 | 2 | Site Civil | 3 | 2026 | 0 | 20
3 | 3 | Sewage Lift Pump No.1 | 2 | 2039 | 187616.25 | 30
4 | 4 | MCC | 2 | 2031 | 80000 | 25
5 | 5 | SCADA WAN Panel | 2 | 2029 | 9100 | 15
6 | 6 | Process Structural | 3 | 2047 | 0 | 60
7 | 7 | Unit Heater 1 | 4 | 2037 | 1852.5 | 30
8 | 8 | Interior Lighting | 2 | 2031 | 5625 | 25
9 | 9 | Building Structural | 3 | 2047 | 0 | 60
10 | 10 | Building Architectural | 3 | 2026 | 0 | 30
11 | 11 | Emergency Backup Power | 3 | 2022 | 0 | 25
12 | 14 | Diesel Fuel Tank #1 For Generator | 4 | 2022 | 22500 | 30
13 | 15 | Diesel Fuel Tank #2 For Generator | 4 | 2022 | 0 | 30
14 | 20 | Standby Diesel Power Generator | 2 | 2026 | 200000 | 25
15 | 30 | Wet Well Level Transmitter #1 | 3 | 2031 | 4500 | 15
16 | 31 | Wet Well Level Transmitter #2 | 3 | 2031 | 4500 | 15
17 | 32 | Power Meter | 2 | 2031 | 22000 | 25
18 | 33 | Main Breaker | 4 | 2025 | 11875 | 25
19 | 34 | Power Factor Capacitors | 2 | 2038 | 45000 | 25
20 | 35 | Unit Heater Starter | 4 | 2031 | 4420 | 25
21 | 36 | Hand Stop Gate No.2 | 3 | 2028 | 11248 | 30
22 | 37 | Hand Stop Gate No.3 | 3 | 2028 | 11248 | 30
23 | 38 | Manual Bar Screen No.1 | 3 | 2028 | 12600 | 30
24 | 39 | Manual Bar Screen No.2 | 3 | 2028 | 12600 | 30
25 | 40 | Sewage Lift Pump No.1 Check Valve | 3 | 2028 | 4975 | 30
26 | 41 | Sewage Lift Pump No.2 Check Valve | 3 | 2028 | 4975 | 30
27 | 42 | Sewage Lift Pump No.3 Check Valve | 3 | 2028 | 4975 | 30
28 | 43 | Sewage Lift Pump No.1 Discharge Valve | 3 | 2028 | 3800 | 30
29 | 44 | Sewage Lift Pump No.2 Discharge Valve | 3 | 2028 | 3800 | 30
30 | 45 | Sewage Lift Pump No.3 Discharge Valve | 3 | 2028 | 3800 | 30
31 | 46 | Discharge Header Gate Valve | 3 | 2022 | 6975 | 30
32 | 47 | Drain Gate Valve | 3 | 2028 | 1575 | 30
33 | 48 | Pressure Release Valve No.1 | 3 | 2028 | 5700 | 30
34 | 49 | Wetwell Cell Isolation Gate | 3 | 2022 | 6975 | 30
35 | 50 | Sluice Gate No.1 | 3 | 2028 | 46879 | 30
36 | 51 | Process Mechanical Piping | 3 | 2022 | 1817.6 | 30
37 | 52 | Forcemain | 3 | 2022 | 0 | 30
38 | 53 | SCADA PANEL | 2 | 2028 | 40000 | 15
39 | 54 | Station Temperature Transmitter | 3 | 2029 | 1040 | 15
40 | 55 | UPS | 2 | 2029 | 3600 | 15
41 | 56 | Wetwell 1 High Level Float | 2 | 2031 | 650 | 15
42 | 57 | Wetwell 2 High Level Float | 2 | 2031 | 650 | 15
43 | 58 | Pump 1 VFD | 4 | 2031 | 32300 | 25
44 | 59 | Wet well Fan Starter | 4 | 2031 | 4250 | 25
45 | 60 | Diesel Generator Room Fan Starter | 4 | 2031 | 4250 | 25
46 | 61 | Pump 2 VFD | 4 | 2031 | 32300 | 25
47 | 62 | Pump 3 VFD | 4 | 2031 | 32300 | 25
48 | 63 | Diesel Generator Control Panel | 4 | 2022 | 67500 | 25
49 | 64 | Emergency Lighting | 2 | 2041 | 2250 | 25
50 | 65 | Lighting Panel LPA | 2 | 2031 | 6250 | 25
51 | 66 | Lighting Trasnformer | 2 | 2026 | 15937.5 | 25
52 | 67 | Exterior Lighting | 2 | 2038 | 937.5 | 25
53 | 68 | Wet Well Lighting | 3 | 2031 | 6562.5 | 25
54 | 69 | Main Transformer | 2 | 2031 | 128250 | 25
55 | 73 | Signboards | 3 | 2026 | 382.5 | 20
56 | 75 | Station Access Road | 4 | 2026 | 2062.5 | 20
57 | 76 | Sanitary Sewer | 3 | 2022 | 17976 | 20
58 | 77 | Wet Well Aluminum Ladder | 3 | 2052 | 3750 | 60
59 | 78 | Wet Well Aluminum Guardrail | 3 | 2052 | 8000 | 60
60 | 79 | Wet Well Aluminum Grating | 4 | 2052 | 1500 | 60
61 | 80 | Wet Well Access Hatch | 2 | 2052 | 5000 | 60
62 | 81 | Wet Well Pump Hatch 1 | 2 | 2052 | 5000 | 60
63 | 82 | Wet Well Pump Hatch 2 | 2 | 2052 | 6500 | 60
64 | 83 | Wet Well Pump Hatch 3 | 2 | 2052 | 13000 | 60
65 | 84 | Wet Well Pump Hatch 4 | 2 | 2052 | 6500 | 60
66 | 85 | Wet Well Davit Base 1 | 2 | 2052 | 3000 | 60
67 | 86 | Wet Well Davit Base 2 | 2 | 2052 | 3000 | 60
68 | 87 | Inlet Chamber 1 Concrete Structure | 2 | 2052 | 70000 | 60
69 | 88 | Inlet Chamber 1 Aluminum Platform | 2 | 2052 | 6000 | 60
70 | 89 | Inlet Chamber 1 Aluminum Ladder | 2 | 2052 | 11000 | 60
71 | 90 | Inlet Chamber 1 Manhole Frame and Cover | 2 | 2052 | 3000 | 60
72 | 91 | Inlet Chamber 2 Concrete Structure | 2 | 2052 | 70000 | 60
73 | 92 | Inlet Chamber 2 Aluminum Platform | 2 | 2052 | 6000 | 60
74 | 93 | Inlet Chamber 2 Aluminum Ladder | 2 | 2052 | 11000 | 60
75 | 94 | Inlet Chamber 2 Manhole Frame and Cover | 2 | 2052 | 3000 | 60
76 | 95 | Generator Building Concrete Foundation | 3 | 2052 | 40000 | 60
77 | 96 | Generator Building Concrete Floor | 2 | 2052 | 30600 | 60
78 | 97 | Generator Building Masonry Blockwall | 2 | 2052 | 28500 | 60
79 | 98 | Generator Building Precast Concrete Roof | 2 | 2052 | 26250 | 60
80 | 99 | Valve Chamber Manhole Frame and Cover | 2 | 2052 | 3000 | 60
81 | 100 | Valve Chamber Aluminum Ladder | 2 | 2052 | 3000 | 60
82 | 101 | Valve Chamber Concrete Structure | 2 | 2052 | 18000 | 60
83 | 102 | Generator Building Exterior Stone Veneer | 2 | 2028 | 34200 | 30
84 | 103 | Generator Building Asphalt Shingle Roofing | 2 | 2028 | 5000 | 30
85 | 104 | Generator Building Wood Truss Roof | 3 | 2022 | 8000 | 30
86 | 105 | Generator Building Wall and Ceiling Paint | 3 | 2028 | 8995 | 30
87 | 106 | Generator Building Containment Coating | 2 | 2028 | 2400 | 30
88 | 107 | Generator Building Roof Access Hatch | 2 | 2028 | 750 | 30
89 | 108 | Generator Building Exterior Access Door (Double) | 3 | 2028 | 5000 | 30
90 | 109 | Generator Building Interior Door (Single) | 2 | 2028 | 3800 | 30
91 | 110 | Generator Building Aluminum Ladder | 2 | 2052 | 2250 | 60
92 | 111 | Generator Exhaust | 3 | 2022 | 4500 | 30
93 | 112 | Baseboard Heater | 3 | 2028 | 609.375 | 30
94 | 113 | Hot Water Tank | 3 | 2028 | 2925 | 30
95 | 114 | Wet Well Fan | 4 | 2028 | 19250 | 30
96 | 115 | Washroom Exhaust (New Asset) | 4 | 2026 | 0 | 30
97 | 116 | Backflow Preventer | 4 | 2022 | 20000 | 30
98 | 117 | Fire Extinguisher | 1 | 2050 | 250 | 30
99 | 118 | Overflow Piping | 3 | 2022 | 45500 | 20
100 | 119 | Asphalt Pavement | 4 | 2026 | 17187.5 | 20
101 | 120 | Station Manual Perimeter Fencing Gate | 3 | 2026 | 10773.75 | 20
102 | 121 | Perimeter Fencing | 4 | 2026 | 59606.25 | 20
103 | 122 | Overflow Flap Gate | 3 | 2026 | 0 | 20
104 | 123 | Diesel Fuel System | 4 | 2022 | 22500 | 30
105 | 124 | Generator Intake | 3 | 2022 | 3485.625 | 30
106 | 125 | Control Room Exhaust Fan | 3 | 2040 | 3485.625 | 30
107 | 126 | Generator Flue Exhaust | 3 | 2022 | 20000 | 30
108 | 127 | Sewage Lift Pump No.2 | 3 | 2039 | 187616.25 | 30
109 | 128 | Sewage Lift Pump No.3 | 3 | 2039 | 187616.25 | 30
110 | 129 | Hand Stop Gate No.1 | 3 | 2028 | 11248 | 30
111 | 130 | Wet Well Concrete Structure | 2 | 2052 | 560000 | 60
112 | 131 | Wet Well Aluminum Ladder | 3 | 2052 | 5250 | 60
113 | 132 | Wet Well Aluminum Ladder | 3 | 2052 | 5250 | 60
114 | 133 | Wet Well Aluminum Ladder | 4 | 2052 | 3750 | 60
115 | 134 | Wetwell 2 Low Level Float | 3 | 2031 | 650 | 15
116 | 135 | Wetwell 1 Low Level Float | 3 | 2031 | 650 | 15
117 | 136 | Interior Lighting | 4 | 2026 | 650 | 25