## 04 Preston - BM
Barcode | Asset Description | Physical Location | Condition Rating | Inspector Comments | Year of Installation | Asset Photo | Name Plate Photo | Barcode Photo | Building Name | Existing ID | Category | Location | Date
| Raw Sludge Pump Station 2 Fan Exhaust | Raw Sludge Pumping Station 2 Raw Sludge Pump Station 2 Room | Good | Good | 2019-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d3b/asset-photo/xRGcZ8SvLFqq+XGKidMjDQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d3b/name-plate-photo/AHdZjq7s+QbJlEQGVQyfA.jpg |  | Raw Sludge Pumping Station 2 | PRE-000102 | BM | 43.3883137, -80.3520965 | 2021-10-29 14:28
| Raw Sludge Pumping Station 2 Electric Heating Systems | Raw Sludge Pumping Station 2 |  |  | 1972-01-01 |  |  |  | Raw Sludge Pumping Station 2 | PRE-000103 | BM
| Raw Sludge Pump Station 1 Electric Heater, 5KW | Raw Sludge Pumping Station 1 Raw Sludge Pump Station 1 Room |  |  | 1999-01-01 |  |  |  | Raw Sludge Pumping Station 1 | PRE-000104 | BM
| Raw Sludge Pumping Station # 1 Exhaust Fan | Raw Sludge Pumping Station 1 Raw Sludge Pump Station 1 Room |  |  | 1972-01-01 |  |  |  | Raw Sludge Pumping Station 1 | PRE-000105 | BM
| Raw Sludge Pump Station 1 Electric Heater, 5Kw | Raw Sludge Pumping Station 1 Raw Sludge Pump Station 1 Room |  |  | 1972-01-01 |  |  |  | Raw Sludge Pumping Station 1 | PRE-000106 | BM
| Raw Sludge Pumping Station 1 Electric Heating Systems | Raw Sludge Pumping Station 1 |  |  | 1972-01-01 |  |  |  | Raw Sludge Pumping Station 1 | PRE-000109 | BM
| Electrical Room Unit Heater | Secondary Clarifier 5 Electrical Room | Good | Good | 2000-01-20 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d41/asset-photo/XgitftRn7XR1RwzDrpeb1w.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d41/name-plate-photo/V9KbdfsJmKBpFFKVeAo19Q.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d41/barcode-photo/aphtjoKl1iXe4sXGPWQVkw.jpg | Secondary Clarifier 5 | PRE-000123 | BM | 43.3881715, -80.3518942 | 2021-10-29 15:18
| O&M Building Water Heater | Ops & Maintenance Building Maintenance Shop Area |  |  | 1963-01-01 |  |  |  | Ops & Maintenance Building | PRE-000149 | BM
| O&M Building Exhaust Fan | Ops & Maintenance Building Laboratory | Good | Good | 1972-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d43/asset-photo/hxy6JkgjTrUQy0lHUQr0rQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d43/name-plate-photo/jWdHVC6Yg1BMwEFERGTm+w.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d43/barcode-photo/QsL4luHGNtnx9hs59K4+DQ.jpg | Ops & Maintenance Building | PRE-000150 | BM | 43.3883520, -80.3514412 | 2021-10-29 13:26
| O&M Building Exhaust Fan - Fume Hood | Ops & Maintenance Building Laboratory (Outside) | Fair | Fair | 2001-03-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d44/asset-photo/pYxG51RO01kU2vGcIkgAfg.jpg |  | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d44/barcode-photo/n7zItijQR53BY+o9B76JQ.jpg | Ops & Maintenance Building | PRE-000151 | BM | 43.3883520, -80.3514412 | 2021-10-29 13:22
| O&M Building Emergency Eye Wash/Shower | Ops & Maintenance Building Generator Room |  |  | 2014-02-21 |  |  |  | Ops & Maintenance Building | PRE-000154 | BM
| O&M Building Water Heater | Ops & Maintenance Building |  |  | 1973-01-01 |  |  |  | Ops & Maintenance Building | PRE-000158 | BM
| O&M Building Air Conditioning Unit | Ops & Maintenance Building Electrical Room | Good | Good | 1972-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d47/asset-photo/+9vsokV6X8pPO1hvt6kkOQ.jpg |  | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d47/barcode-photo/pMEJyyynZxffmiVn7zoxhg.jpg | Ops & Maintenance Building | PRE-000159 | BM |  | 2021-10-29 13:42
| O&M Building Exhaust Fan | Ops & Maintenance Building |  |  | 1972-01-01 |  |  |  | Ops & Maintenance Building | PRE-000164 | BM
| O&M Building Exhaust Fan | Ops & Maintenance Building |  |  | 1972-01-01 |  |  |  | Ops & Maintenance Building | PRE-000165 | BM
| O&M Building Emergency Eye Wash/Shower | Ops & Maintenance Building Laboratory Lab Room |  |  | 1972-01-01 |  |  |  | Ops & Maintenance Building | PRE-000189 | BM
| O&M Building Emergency Eye Wash/Shower | Ops & Maintenance Building Garage |  |  | 1972-01-01 |  |  |  | Ops & Maintenance Building | PRE-000190 | BM
| O&M Building Exhaust Fan - Fume Hood | Ops & Maintenance Building Laboratory Lab Fume Hood |  |  | 1972-01-01 |  |  |  | Ops & Maintenance Building | PRE-000196 | BM
| Return Sludge Pumping Station Room Fan Exhaust | Return Sludge Pumping Station Room Entrance Beside Rectangular Secondary Clarifiers |  |  | 2000-01-20 |  |  |  | Return Sludge Pumping Station | PRE-000199 | BM
| Return Sludge Pumping Station Room Electric Heater | Return Sludge Pumping Station Room Entrance Beside Rectangular Secondary Clarifiers | Fair | Fair | 2000-01-20 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d4e/asset-photo/eNDy1JKXzGw7rY7nioNw.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d4e/name-plate-photo/mJXTcBU29FBz5yeFM8WdQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d4e/barcode-photo/56QAsPBgmgBLbcjM+itFOg.jpg | Return Sludge Pumping Station | PRE-000200 | BM | 43.3878205, -80.3506556 | 2021-10-29 16:28
| Fan Exhaust With Motor | Headworks Building Chemical Storage Tank Room |  |  | 2000-01-01 |  |  |  | Headworks Building | PRE-000223 | BM
| Headworks Mechanical Room Eye Wash | Headworks Building Area |  |  | 2000-01-01 |  |  |  | Headworks Building | PRE-000237 | BM
| Chemical Pump Area Eye Wash | Headworks Building Chemical Storage Tank Room |  |  | 2000-01-01 |  |  |  | Headworks Building | PRE-000238 | BM
| Lower Alum Storage Tank Area Eyewash | Headworks Building Chemical Storage Tank Room |  |  | 2000-01-01 |  |  |  | Headworks Building | PRE-000239 | BM
| Lower Sodium Chlorite Storage Tank Area Eyewash | Headworks Building Chemical Storage Tank Room |  |  | 2000-01-01 |  |  |  | Headworks Building | PRE-000240 | BM
| Digestor Control Building Exhaust Fan | Digester Control Building Boiler Room | Good | Good | 1972-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d54/asset-photo/g9COpes1ZkDOkZicpe60OA.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d54/name-plate-photo/nJX7+Jr3UnNSF4coKukcEg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d54/barcode-photo/DyFlBQ0w5dFQdDCqSquh9A.jpg | Digester Control Building | PRE-000261 | BM | 43.3881715, -80.3518942 | 2021-10-29 15:36
| Digestor Control Building Water Heater | Digester Control Building Boiler Room N W Side of Boiler Room | Good | Good | 1972-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d55/asset-photo/xtGmdqf29lxtoK84qvtbUw.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d55/name-plate-photo/4vJNkDhmkgErQTlxSbP0Q.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d55/barcode-photo/fZib8lQRJATdq97z1Hjsww.jpg | Digester Control Building | PRE-000262 | BM | 43.3881715, -80.3518942 | 2021-10-29 15:36
| Digestor Control Building Electric Heater | Digester Control Building Electrical Room S W Corner of Electrical Room | Very Good | Good | 2014-05-22 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d56/asset-photo/GZQtneC0HCjqmxdAhwMzQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d56/name-plate-photo/EByRYu2LHEyWc9gZF8hg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d56/barcode-photo/DXFn763QCniTsgDmiGu4Ag.jpg | Digester Control Building | PRE-000267 | BM | 43.3880006, -80.3511296 | 2021-10-29 15:45
| Digestor Control Building Air Conditioner | Digester Control Building Electrical Room Ac Unit For Electrical Room | Good | Good | 1972-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d57/asset-photo/tb+KYax71bIXVKh3BRw.jpg |  | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d57/barcode-photo/Yc+0fbMIrR9qlnuFgtHDgg.jpg | Digester Control Building | PRE-000268 | BM | 43.3879609, -80.3507730 | 2021-10-29 15:48
| Digestor Control Building Exhaust Fan | Digester Control Building Boiler Room |  |  | 1972-01-01 |  |  |  | Digester Control Building | PRE-000269 | BM
| Return Sludge Pumping Station 1 Electric Heating Systems | Return Sludge PS 1 | Good | Good | 1972-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d59/asset-photo/n0S8eh6WkLhD8sQ1seMA.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d59/name-plate-photo/8choJAkNpBn37Q8Aq+8Gw.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d59/barcode-photo/uVpfR9Rq5fp9XZPSAA5HA.jpg | Return Sludge PS 1 | PRE-000270 | BM
| Return Sludge Pumping Station 1 Ventilation | Return Sludge PS 1 Between Secondary Clarifer 3&4 | Fair | Old | 1972-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d5a/asset-photo/1f4hl32fcUnmJ+H9pVWfA.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d5a/name-plate-photo/KSbVr9LIcK1GXuEa4ZKoCw.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d5a/barcode-photo/n2fTqbnojs98McRcNcHOg.jpg | Return Sludge PS 1 | PRE-000271 | BM | 43.3881715, -80.3518942 | 2021-10-29 15:28
| Return Sludge Pumping Station # 2 Exhaust Fan | Return Sludge PS 2 Return Sludge Ps2 Room Between Secondary Clarifer 3&4 | Poor | Old | 1972-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d5b/asset-photo/cHOdCOhIf1pAC2Kg+zE9qQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d5b/name-plate-photo/LLSxzhV4Vam76XqC8Js8YA.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d5b/barcode-photo/w4ZN5BK+r9M83xwRQ6mnFA.jpg | Return Sludge PS 2 | PRE-000272 | BM | 43.3881715, -80.3518942 | 2021-10-29 15:30
| Return Sludge Pumping Station # 2 Electrical Heater | Return Sludge PS 2 Return Sludge Ps2 Room Between Secondary Clarifer 3&4 |  |  | 1973-01-01 |  |  |  | Return Sludge PS 2 | PRE-000273 | BM
| Aeration Distribution Chamber Exhaust Fan | Aeration Tank Cell 1 Between Aer Tanks & O&M Bldg | Poor | Old | 1973-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d5d/asset-photo/TWbkbSQH2Wa4lxrJULmsgQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d5d/name-plate-photo/4W8Hbw68lxBYAQxAHN+g.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d5d/barcode-photo/EAUTDg9mNfiDQWO71w9heg.jpg | Aeration Tank Cell 1 | PRE-000313 | BM
| Digestor Control Building Hot Water Boiler #1 | Digester Control Building Boiler Room | Good | Good | 1972-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d5e/asset-photo/I6F1DGENVQhx6NDZa20dVw.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d5e/name-plate-photo/Ax+XuvSwuwLknKgcD2zSeQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d5e/barcode-photo/MN82lMwot2NzC0y7lKRojA.jpg | Digester Control Building | PRE-000314 | BM | 43.3881715, -80.3518942 | 2021-10-29 15:32
| Digestor Control Building Hot Water Boiler #2 | Digester Control Building Boiler Room | Good | Good | 1972-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d5f/asset-photo/dDS73zxp9Hfe6bvWzzsk0g.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d5f/name-plate-photo/YHWyGTZFKrlcsmNlRj1i+A.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d5f/barcode-photo/fuV1wzWXLcF5KhIUwDbUdQ.jpg | Digester Control Building | PRE-000315 | BM | 43.3881715, -80.3518942 | 2021-10-29 15:33
| Unit Heater | Site Unknown |  |  | 1972-01-01 |  |  |  | Site | PRE-000316 | BM
| Secondary Clarifier 1 Ventilation | Secondary Clarifier 1 Located On Ground Beside Cl1 |  |  | 2000-01-20 |  |  |  | Secondary Clarifier 1 | PRE-000320 | BM
| Secondary Clarifier 2 Ventilation | Secondary Clarifier 2 Located On Ground Beside Cl2 |  |  | 2000-01-20 |  |  |  | Secondary Clarifier 2 | PRE-000321 | BM
| Secondary Clarifier 3 Ventilation | Secondary Clarifier 3 Located On Ground Beside Cl3 |  |  | 1990-01-01 |  |  |  | Secondary Clarifier 3 | PRE-000322 | BM
| Electrical Room Fan Exhaust | Primary Clarifier 4 Electrical Room |  |  | 1990-01-01 |  |  |  | Primary Clarifier 4 | PRE-000323 | BM
| Main Plan Entrance Fire Hydrant | Site Main Plant Entrance |  |  | 1980-9-30 |  |  |  | Site | PRE-000325 | BM
| Digestor Control Building Emergency Eye Wash/Shower | Digester Control Building Boiler Room | Fair | Fair | 1972-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d66/asset-photo/sEHcu8gu81xAl9eV7oNQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d66/name-plate-photo/rn3sFgfXWNui6aJzveYGw.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d66/barcode-photo/JNAhl+RfiXUFFsHdKUW+0A.jpg | Digester Control Building | PRE-000446 | BM | 43.3881715, -80.3518942 | 2021-10-29 15:34
| Digestor Control Building Emergency Eye Wash/Shower | Digester Control Building Sludge Mixing Pump Room |  |  | 1972-01-01 |  |  |  | Digester Control Building | PRE-000449 | BM
| Digestor Control Building Water Heater | Digester Control Building Sludge Mixing Pump Room |  |  | 1972-01-01 |  |  |  | Digester Control Building | PRE-000450 | BM
| Digestor Control Building Water Heater | Digester Control Building Sludge Mixing Pump Room | Good | Good | 1972-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d69/asset-photo/0L8usW2F3TfCyU9Zj8WEQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d69/name-plate-photo/C+Xyj4Y5vXSDWdk7e0k85Q.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d69/barcode-photo/h71M1VxBRgn8pJK4MbsoZA.jpg | Digester Control Building | PRE-000451 | BM | 43.3880031, -80.3506402 | 2021-10-29 15:58
| Digestor Control Building Water Heater | Digester Control Building Gas Safety Room South Corner of Gas Safety Room | Fair | Fair | 1972-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d6a/asset-photo/F+DCU10MXMJTe+JW902lwQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d6a/name-plate-photo/pjEL5WgyL4CaMgvHVjd2sQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d6a/barcode-photo/PZlTY011mStKLowNRNxrtw.jpg | Digester Control Building | PRE-000460 | BM | 43.3879969, -80.3510989 | 2021-10-29 15:50
| Digestor Control Building Water Heater | Digester Control Building Gas Safety Room East Corner of Gas Safety Room | Good | Good | 1972-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d6b/asset-photo/p1spTt8z7wDOyTDbZ36uQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d6b/name-plate-photo/nzPAJuAOGA9xudu2sK40Lg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d6b/barcode-photo/OTX7VAp5bIbxw7c9iF3Gg.jpg | Digester Control Building | PRE-000461 | BM | 43.3879967, -80.3510971 | 2021-10-29 15:54
| Digestor Control Building Exhaust Fan | Digester Control Building Gas Safety Room S E Corner of Gas Safety Room | Good | Good | 1972-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d6c/asset-photo/G6kzH0JXw26e4GQh8d5CFA.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d6c/name-plate-photo/tspnf7NNMQ7dOMX4Gkjllw.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d6c/barcode-photo/pgbaWtOu36Nk1eEEtgSlkQ.jpg | Digester Control Building | PRE-000462 | BM
| Digestor Control Building Water Heater | Digester Control Building Gas Booster Room | Fair | Fair Minor corrosion | 1972-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d6d/asset-photo/3y1tqmR8DyQnD5WZrQpDA.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d6d/name-plate-photo/0COR9sxOaPDRaX+XkwOQzg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d6d/barcode-photo/fTInM76alkaMyhtUZ3hX1w.jpg | Digester Control Building | PRE-000463 | BM | 43.3879100, -80.3507897 | 2021-10-29 15:48
| Digestor Control Building Emergency Eye Wash/Shower | Digester Control Building Gas Safety Room |  |  | 1972-01-01 |  |  |  | Digester Control Building | PRE-000472 | BM
| Digestor Control Building Heat Exchanger | Digester Control Building Gas Safety Room |  |  | 2014-01-01 |  |  |  | Digester Control Building | PRE-000478 | BM
| Bio-Rem Room Eyewash Station | Bio Rem Building Bio Rem Room Biorem Room |  |  | 2017-01-01 |  |  |  | Bio-Rem Building | PRE-000531 | BM
| Bio-Rem Room Unit Heater 2 | Bio Rem Building Bio Rem Room Biorem Room |  |  | 2017-01-01 |  |  |  | Bio-Rem Building | PRE-000552 | BM
| Bio-Rem Room Unit Heater 2 | Bio Rem Building Bio Rem Room Biorem Room |  |  | 2017-01-01 |  |  |  | Bio-Rem Building | PRE-000553 | BM
| Electric Unit Heater 1 | Headworks Building | Good | Good | 2018-07-18 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d73/asset-photo/EAZC8+6NT+Ze6O5MB0ts3Q.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d73/name-plate-photo/y25lfV9XnC0O7qVr4LKdCA.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d73/barcode-photo/axIA5AfB3dhTwOrPecqJCQ.jpg | Headworks Building | PRE-000560 | BM | 43.3879740, -80.3524260 | 2021-10-29 14:51
| Electric Unit Heater 2 | Headworks Building |  |  | 2017-9-30 |  |  |  | Headworks Building | PRE-000561 | BM
| Electric Unit Heater 3 | Headworks Building | Good | Good |  | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d75/asset-photo/LbCUuR9IniIGkkGJ+w6LQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d75/name-plate-photo/P+ZDgSB6HeYinDFs03TCQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d75/barcode-photo/LwTnXGTxDlGFlpLoGYZ1Fg.jpg | Headworks Building | PRE-000562 | BM
| Electric Unit Heater 4 | Headworks Building |  |  | 2017-9-30 |  |  |  | Headworks Building | PRE-000563 | BM
| Electrical Unit Heater 7 | Headworks Building |  |  | 2018-2-28 |  |  |  | Headworks Building | PRE-000564 | BM
| Headworks Building Heating Systems | Headworks Building |  |  | 2000-01-01 |  |  |  | Headworks Building | PRE-000582 | BM
| Bio-Rem Building Ventilation Exhaust Fan | Bio Rem Building Bio Rem Room Biorem Room |  |  | 2017-01-01 |  |  |  | Bio-Rem Building | PRE-000583 | BM
| Bio-Rem Room Exhaust Fan 1 | Bio Rem Building Bio Rem Room Biorem Room |  |  | 2017-01-01 |  |  |  | Bio-Rem Building | PRE-000586 | BM
| Bio-Rem Building Ventilation Exhaust Fans | Bio Rem Building Bio Rem Room Biorem Room | Good |  | 2017-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d7b/asset-photo/RJ71y0kucFQk3GsQmSw7Lw.jpg |  | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d7b/barcode-photo/YHc2JgJUptFjmNgmQX3e0A.jpg | Bio-Rem Building | PRE-000597 | BM | 43.3879239, -80.3521190 | 2021-10-29 15:05
| Storage Room Duct Heater | Storage Building Storage Room | Good |  | 2004-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d7c/asset-photo/SRgWeRow4Ghvx2OkuMK8yw.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d7c/name-plate-photo/ApFwRLK4dQfVR5qZplh2w.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d7c/barcode-photo/w1KgPdB5Tj1fAMUuExyA.jpg | Storage Building | PRE-000613 | BM | 43.3878205, -80.3506556 | 2021-10-29 16:23
| Primary Clarifier Dist Chamber Ventilation | Primary Clarifier Dist Chamber | Good | Good | 2019-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d7d/asset-photo/5QuoJKywRDrCHgTMBlxlg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d7d/name-plate-photo/ECr5NUKxEYQgAwBrZiJWOw.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d7d/barcode-photo/N6empMhmt1k0+ITOdUqhmw.jpg | Primary Clarifier Dist Chamber | PRE-000622 | BM | Unknown | 2021-10-29 14:07
| Raw Sludge Pump Station 2 Unit Heater | Raw Sludge Pumping Station 2 Raw Sludge Pump Station 2 Room | Very Good | Good | 2019-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d7e/asset-photo/NVm0sppV5QhvEkSoLSIuvg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d7e/name-plate-photo/RcDVOuk4bO3dktA46ZOQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d7e/barcode-photo/WRUlUe7IUSmHwzJ80lfKQ.jpg | Raw Sludge Pumping Station 2 | PRE-000642 | BM | 43.3881567, -80.3520952 | 2021-10-29 14:19
| Raw Sludge Pumping Station 1 Heating Systems | Raw Sludge Pumping Station 1 | Good | Good | 1972-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d7f/asset-photo/NL1ONnx8MXl6R4iqrTTKg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d7f/name-plate-photo/GQCYwJQ8vnYUkrtVUUkpag.jpg |  | Raw Sludge Pumping Station 1 | PRE-000643 | BM | 43.3881893, -80.3519279 | 2021-10-29 15:13
| Raw Sludge Pumping Station 1 Heating Systems | Raw Sludge Pumping Station 1 | Good | Good | 1972-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d80/asset-photo/FlCGqDgdwtmqwlBylEQkAw.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d80/name-plate-photo/S9QOHBqImY84P6BjpryVdA.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d80/barcode-photo/HdAFMH82IygM6YRGKbryGQ.jpg | Raw Sludge Pumping Station 1 | PRE-000644 | BM | 43.3887413, -80.3522177 | 2021-10-29 15:12
| O&M Building Water Heater | Ops & Maintenance Building | Fair | Fair | 1972-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d81/asset-photo/Oflpy9H5vaTLDZJS2vvVA.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d81/name-plate-photo/cJl6050kbCYUr3yX0AG9kg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d81/barcode-photo/3UN4cRRAWnUF0NFrtJ2QeA.jpg | Ops & Maintenance Building | PRE-000681 | BM | Unknown | 2021-10-29 13:30
| O&M Building Water Heater | Ops & Maintenance Building | Poor | Opd | 1972-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d82/asset-photo/lY6gsR8OrcB38hZ4yX3Xg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d82/name-plate-photo/cfSrJfz9GMttwlmKBt5H4Q.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d82/barcode-photo/is7BKhcsBJNcow9uP5TiRw.jpg | Ops & Maintenance Building | PRE-000682 | BM | Unknown | 2021-10-29 13:33
| O&M Building Louvre | Ops & Maintenance Building | Fair | Fair | 1972-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d83/asset-photo/nHAOgJlFZvKkkiNaKK9scg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d83/name-plate-photo/0moeJFBB7W2oRgEWHiytww.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d83/barcode-photo/664ojxFRWyG8VdYzqi3ZQ.jpg | Ops & Maintenance Building | PRE-000683 | BM | Unknown | 2021-10-29 13:35
| O&M Building Louvre | Ops & Maintenance Building | Good | Good | 1972-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d84/asset-photo/SXP8O46BPvWH28FxgvJ2sw.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d84/name-plate-photo/tUIdTbDwqTHbOE5znO4qFw.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d84/barcode-photo/KFMXm1u4Ni5aWNAbtmdaGA.jpg | Ops & Maintenance Building | PRE-000719 | BM | Unknown | 2021-10-29 13:48
| O&M Building Louvre | Ops & Maintenance Building |  |  | 1972-01-01 |  |  |  | Ops & Maintenance Building | PRE-000720 | BM
| O&M Building Louvre | Ops & Maintenance Building |  |  | 1972-01-01 |  |  |  | Ops & Maintenance Building | PRE-000721 | BM
| O&M Building Louvre | Ops & Maintenance Building | Good | Good | 1972-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d87/asset-photo/IAjhFuyGilHhk11vZ3JsQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d87/name-plate-photo/h+WCFAMGYE0AYOG4+dq2g.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d87/barcode-photo/JQ1puvW+UrtG2gnRhXRtCQ.jpg | Ops & Maintenance Building | PRE-000722 | BM | Unknown | 2021-10-29 13:55
| O&M Building Louvre | Ops & Maintenance Building | Good | Good | 1972-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d88/asset-photo/h3eTue9OCdtbrXYXb1b0qA.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d88/name-plate-photo/aYRiTSVtxBNzWki3gNQURg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d88/barcode-photo/ZjiRpHO4Yd+5wZdwRPPT9w.jpg | Ops & Maintenance Building | PRE-000723 | BM | Unknown | 2021-10-29 13:56
| O&M Building Louvre | Ops & Maintenance Building | Good | Good | 1972-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d89/asset-photo/QlZjAnHRvFFNIgnU8seGww.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d89/name-plate-photo/LJkjb6jpJBm9nKwlkMhGw.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d89/barcode-photo/9eiQBc84SkC4o0W2HBY2Xg.jpg | Ops & Maintenance Building | PRE-000724 | BM | Unknown | 2021-10-29 13:57
| Digestor Control Building Water Heater | Digester Control Building | Good | Good | 1972-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d8a/asset-photo/CCY7plk58Kbaf56Ei4K2yQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d8a/name-plate-photo/J1UKOBK7X3SvPBWtSuy0pw.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d8a/barcode-photo/R+bnnHLYjbH+wqEFsL6juw.jpg | Digester Control Building | PRE-000739 | BM | 43.3879960, -80.3511460 | 2021-10-29 15:59
| Digestor Control Building Air Intake System | Digester Control Building | Good | Good | 1972-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d8b/asset-photo/k+SMu+r2rxWiP4szcYo8A.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d8b/name-plate-photo/sQGVbyQlRsUxEik5qJ5hg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d8b/barcode-photo/TdmAMEFi9KN49dbnTfo6Kw.jpg | Digester Control Building | PRE-000857 | BM | 43.3881715, -80.3518942 | 2021-10-29 15:35
| Digestor Control Building Air Intake System | Digester Control Building |  |  | 1972-01-01 |  |  |  | Digester Control Building | PRE-000858 | BM
| Return Sludge PS 2 Electric Heating Systems | Return Sludge PS 2 Return Sludge Ps2 Room Between Secondary Clarifer 3&4 | Fair | Fair | 1972-01-01 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d8d/asset-photo/0dypn3W4VHv5JuLL5hTERg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d8d/name-plate-photo/gtoPe4ynKieTdKQ33p7qA.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d8d/barcode-photo/pSVLMrY8WtYnWpnZP0h8XA.jpg | Return Sludge PS 2 | PRE-000882 | BM | 43.3881715, -80.3518942 | 2021-10-29 15:25
| Louvre | Return Sludge Pumping Station Room | Good | Good | 2000-01-20 | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d8e/asset-photo/4x9kJhO300iAPrC8xNcQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d8e/name-plate-photo/QBGvYyh4QFjeV5yaI72UZg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617b117c097cfe00b5a64d8e/barcode-photo/xJkXJOk3lyYf2CXMlkwGA.jpg | Return Sludge Pumping Station | PRE-000997 | BM | 43.3881715, -80.3518942 | 2021-10-29 15:19
| Sodium Hydroxide Storage Room Sump Pump | Headworks Building Chemical Storage Room |  |  | 1999-01-01 |  |  |  | Headworks Building | WSP-000020 | BM
| Alum Storage Room Sump Pump | Headworks Building Chemical Storage Room |  |  | 1999-01-01 |  |  |  | Headworks Building | WSP-000021 | BM
| Raw Sludge Pump Station 1 Sump Pump Sp-301 | Raw Sludge Pumping Station 1 Raw Sludge Pump Station 1 Room |  |  | 1972-01-01 |  |  |  | Raw Sludge Pumping Station 1 | WSP-000030 | BM
| Raw Sludge Pump Station 1 Sump Pump Sp-302 | Raw Sludge Pumping Station 1 Raw Sludge Pump Station 2 |  |  | 1972-01-01 |  |  |  | Raw Sludge Pumping Station 1 | WSP-000041 | BM
| Aeration WAS Pump and Control Room Unit Heater | Aeration Tank Cell 1 Aeration Tank Waste Activated Sludge Pump and Control Room |  |  | 2000-01-20 |  |  |  | Aeration Tank Cell 1 | WSP-000061 | BM
| Aeration WAS Pump and Control Room Sump Pump | Aeration Tank Cell 1 Aeration Tank Waste Activated Sludge Pump and Control Room |  |  | 2000-01-20 |  |  |  | Aeration Tank Cell 1 | WSP-000064 | BM
| Digestor Control Building Ventilation Louvres (2 Total) | Digester Control Building Gas Booster Room |  |  | 1972-01-01 |  |  |  | Digester Control Building | WSP-000119 | BM
| Digestor Control Building Ventilation Louvres (2 Total) | Digester Control Building Gas Safety Room |  |  | 1972-01-01 |  |  |  | Digester Control Building | WSP-000126 | BM
| Digestor Control Building Ventilation Louvres (2 Total) | Digester Control Building Sludge Mixing Pump Room Sludge Mixing Pump Room Second Floor |  |  | 1972-01-01 |  |  |  | Digester Control Building | WSP-000138 | BM
| O&M Building Firm Alarm System | Ops & Maintenance Building |  |  | 1972-01-01 |  |  |  | Ops & Maintenance Building | WSP-000146 | BM
| O&M Building Fume Hood | Ops & Maintenance Building Laboratory |  |  | 1972-01-01 |  |  |  | Ops & Maintenance Building | WSP-000166 | BM
| O&M Building First Aid Equipment | Ops & Maintenance Building Hallway |  |  | 1972-01-01 |  |  |  | Ops & Maintenance Building | WSP-000193 | BM
| Eyewash | Lab | Fair | Fair |  | https://cdn.orca.storage/617815776fb62600b591578d/617bf6e05c514200b5469807/asset-photo/1Uo0jeLOupBG237Fdia0Rg.jpg |  | https://cdn.orca.storage/617815776fb62600b591578d/617bf6e05c514200b5469807/barcode-photo/9nnGcC6sA0Sg8Zy1+X9+oQ.jpg |  |  |  | Unknown | 2021-10-29 13:28
| Eyewash and drench hose | Storage room | Fair | Fair |  | https://cdn.orca.storage/617815776fb62600b591578d/617bf87b6ef76800b54f3661/asset-photo/pjaME1tJkYTHHHf2HFbcbw.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617bf87b6ef76800b54f3661/name-plate-photo/moN5Oy4refXsXQY8yjPJyg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617bf87b6ef76800b54f3661/barcode-photo/i3MS7c5p4eh2VXj3oDCrDg.jpg |  |  |  | Unknown | 2021-10-29 13:34
| Backflow preventer | Ops building | Fair | Fair |  | https://cdn.orca.storage/617815776fb62600b591578d/617bf98a2e8faa00b5a0eefb/asset-photo/OdUtPD1oD6eM24+Lj5DvpQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617bf98a2e8faa00b5a0eefb/name-plate-photo/a66yFa3c2JUn31eXm7KdA.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617bf98a2e8faa00b5a0eefb/barcode-photo/n7NV9IjQsOTn+sWiHJ4xeQ.jpg |  |  |  | Unknown | 2021-10-29 13:37
| Portable eyewash | Generator room | Good | Good |  | https://cdn.orca.storage/617815776fb62600b591578d/617bfc68097cfe00b5a6f6a1/asset-photo/VV0AiyTanmCrDv22WfxCQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617bfc68097cfe00b5a6f6a1/name-plate-photo/esfcupNHqHyDm25BYxcFrg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617bfc68097cfe00b5a6f6a1/barcode-photo/ve2rOi2qdYh7Dz9xQCSqmQ.jpg |  |  |  | Unknown | 2021-10-29 13:50
okvcfrv4d0000335wn2ja1ydc | Generator exhaust | Generator room | Good | GoodNo drain line on mufflee |  | https://cdn.orca.storage/617815776fb62600b591578d/617bfd236ef76800b54f3870/asset-photo/RheqRwHlv1QNuGJPEXXeyQ.jpg | [5 empty] | Unknown | 2021-10-29 13:54
| Diesel fuel level | Generator room | Good |  |  | https://cdn.orca.storage/617815776fb62600b591578d/617bfe862e8faa00b5a0f0e9/asset-photo/LkvzcSxSi63zpEg5wfKFcQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617bfe862e8faa00b5a0f0e9/name-plate-photo/K27e59i38WFNuYzr4vxb1w.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617bfe862e8faa00b5a0f0e9/barcode-photo/stlCoiA+ATfHgbGgTQSkQ.jpg |  |  |  | Unknown | 2021-10-29 14:00
| Diesel tank | Outside C: indoor fuel lines not contained | Good | Good | 2017-10-29 | https://cdn.orca.storage/617815776fb62600b591578d/617bff5d2e8faa00b5a0f13c/asset-photo/zRvv7kIAG44NQmePhUttg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617bff5d2e8faa00b5a0f13c/name-plate-photo/WPrHXBAZyCQAYLbtLnc7kw.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617bff5d2e8faa00b5a0f13c/barcode-photo/bSVZ+7XEULNCIdeA+fumA.jpg |  |  |  | Unknown | 2021-10-29 14:04
| Intake | Rst402 | Good | Good |  | https://cdn.orca.storage/617815776fb62600b591578d/617c00e42a52c200b5e38e19/asset-photo/BW5Fpk+Y8WLMQuoPqSSQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c00e42a52c200b5e38e19/name-plate-photo/cG840QtPhD2MLqqRZQXOZg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c00e42a52c200b5e38e19/barcode-photo/YiXoSScaeRKE3N5D2awjLQ.jpg |  |  |  | 43.3884622, -80.3520262 | 2021-10-29 14:09
| Intake | Rst402 | Good | Good |  | https://cdn.orca.storage/617815776fb62600b591578d/617c01262a52c200b5e38e31/asset-photo/EwzhUGpzkIIDXntZEAaFw.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c01262a52c200b5e38e31/name-plate-photo/TbMSjaa1Ay6qvcZ3vuGU+Q.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c01262a52c200b5e38e31/barcode-photo/TtFohXG3v6NaZXbLUutMdA.jpg |  |  |  | 43.3884628, -80.3521448 | 2021-10-29 14:11
| Intake | Rst405 | Good | Good |  | https://cdn.orca.storage/617815776fb62600b591578d/617c016c2a52c200b5e38e3e/asset-photo/iPefwqY55hyPaXZje89gdQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c016c2a52c200b5e38e3e/name-plate-photo/N5aJU1jMrMkU+LoXqewK9Q.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c016c2a52c200b5e38e3e/barcode-photo/Ww41i9GMpajIP6iLXRL4g.jpg |  |  |  | 43.3883972, -80.3519012 | 2021-10-29 14:12
| Intake | Rst405 | Good | Good |  | https://cdn.orca.storage/617815776fb62600b591578d/617c019b2e8faa00b5a0f209/asset-photo/QyLbUyzU9pWbl3bz8rhsvA.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c019b2e8faa00b5a0f209/name-plate-photo/CDo3inbLUQpktsMKwJ3Gw.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c019b2e8faa00b5a0f209/barcode-photo/MM912fKde1VKnxHSoYY7sw.jpg |  |  |  | 43.3883869, -80.3518271 | 2021-10-29 14:13
| Intake | Rst403 | Good | Good |  | https://cdn.orca.storage/617815776fb62600b591578d/617c01fb2e8faa00b5a0f22e/asset-photo/aeQQ1NLfnoe2lrw2WWs+Q.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c01fb2e8faa00b5a0f22e/name-plate-photo/tUW6BasPN4M2vUFmIpzg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c01fb2e8faa00b5a0f22e/barcode-photo/yqX0ZYYLN53xdQka37Qdww.jpg |  |  |  | 43.3882943, -80.3523263 | 2021-10-29 14:15
| Intake | Rst403 | Good | Good |  | https://cdn.orca.storage/617815776fb62600b591578d/617c022c2bf52000b5984408/asset-photo/mhPH+5+sBa+eRUW2aFAUTA.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c022c2bf52000b5984408/name-plate-photo/rb2DmG6yd11swNLj1Xfwqg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c022c2bf52000b5984408/barcode-photo/nP9pEATQfhc+wimEWiTPBw.jpg |  |  |  | 43.3882212, -80.3522635 | 2021-10-29 14:16
| Intake | Rst404 | Good | Good |  | https://cdn.orca.storage/617815776fb62600b591578d/617c02667d917700b5923770/asset-photo/zkGfkNS9LHrAgAAlirphw.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c02667d917700b5923770/name-plate-photo/6jShs3wlC0VyHGIA6Wtqgg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c02667d917700b5923770/barcode-photo/8z4dSCLKNkjPIqSVT13Dw.jpg |  |  |  | 43.3882228, -80.3521217 | 2021-10-29 14:16
| Intake | Rst404 | Good | Good |  | https://cdn.orca.storage/617815776fb62600b591578d/617c038e5c514200b5469dfc/asset-photo/F24pKqZ7MIHwz7nFBe7zGg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c038e5c514200b5469dfc/name-plate-photo/htLLW94m7zgBpYfeR1dpQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c038e5c514200b5469dfc/barcode-photo/vsKW2Y2AmN91chLVu7s8cw.jpg |  |  |  | 43.3881321, -80.3520547 | 2021-10-29 14:17
| Sump pump | Ras 2 | Good |  |  | https://cdn.orca.storage/617815776fb62600b591578d/617c04ac5c514200b5469e53/asset-photo/YtHm2aG7lnqR2zIerhcLYA.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c04ac5c514200b5469e53/name-plate-photo/MwtWLTMkU1QCLzS+BsGkFA.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c04ac5c514200b5469e53/barcode-photo/mThPq64nuQMgSoCe1OE3RA.jpg |  |  |  | 43.3882666, -80.3520804 | 2021-10-29 14:21
| Unit heater | Headworks electrical | Very Good | Good | 2017-10-29 | https://cdn.orca.storage/617815776fb62600b591578d/617c06e57d917700b59239a7/asset-photo/7f04EP6laJwdnAOjct85fQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c06e57d917700b59239a7/name-plate-photo/eZJhqPDNR5UAYBZN87r6bQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c06e57d917700b59239a7/barcode-photo/xLJj6l0irBa6IRqXo59pg.jpg |  |  |  | 43.3880358, -80.3524369 | 2021-10-29 14:35
| Unit heater | Chemical room headworksr | Good | Good |  | https://cdn.orca.storage/617815776fb62600b591578d/617c083f0679ae00b5e3d772/asset-photo/Ixhrue4pQlJhdQHoeb23Tw.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c083f0679ae00b5e3d772/name-plate-photo/BuCOpi+R6gtYUzZtpKMARw.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c083f0679ae00b5e3d772/barcode-photo/gzRmxiBxNqSRwxYWf6pC4w.jpg |  |  |  | 43.3881557, -80.3526072 | 2021-10-29 14:41
| Unit heater | Chemical room headworks | Good | Good |  | https://cdn.orca.storage/617815776fb62600b591578d/617c08802e8faa00b5a0f5be/asset-photo/MEUWr1qqt+Hm6RxnHRpo4g.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c08802e8faa00b5a0f5be/name-plate-photo/B3QCEOwKe8+qLOLRzK6GA.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c08802e8faa00b5a0f5be/barcode-photo/wuwC45npwlhNQObQu8zbWA.jpg |  |  |  | 43.3878889, -80.3522355 | 2021-10-29 14:42
| Portable eyewash | Chemical room headworks | Good |  |  | https://cdn.orca.storage/617815776fb62600b591578d/617c08b3616e63109d00000c/asset-photo/SkVqndUxgnUy+xdjEv6xcQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c08b3616e63109d00000c/name-plate-photo/kZRdTX0K5d8dFRcXdww76g.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c08b3616e63109d00000c/barcode-photo/+lc2i5mTJ3EDfcufLK58Ag.jpg |  |  |  | 43.3878984, -80.3522311 | 2021-10-29 14:44
| Portable eyewash | Chemical building headworks | Good |  |  | https://cdn.orca.storage/617815776fb62600b591578d/617c09092a52c200b5e391bb/asset-photo/BhUpMTKO3H3iczFCTGcTdw.jpg |  | https://cdn.orca.storage/617815776fb62600b591578d/617c09092a52c200b5e391bb/barcode-photo/JerQraZLDuAtKBmFOeenKw.jpg |  |  |  | 43.3879022, -80.3522646 | 2021-10-29 14:45
| Unit heater 4 | Headworks | Good | Food |  | https://cdn.orca.storage/617815776fb62600b591578d/617c0ab07d917700b592899b/asset-photo/tawIwsJIVH7DhUGf1auFQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c0ab07d917700b592899b/name-plate-photo/nbdfRqzc1fOPPH97fYPYcg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c0ab07d917700b592899b/barcode-photo/D+GkKKMDWmo06Wy7SDlkw.jpg |  |  |  | 43.3879055, -80.3520391 | 2021-10-29 14:52
| Unit heater 2 | Headworks | Good | Good |  | https://cdn.orca.storage/617815776fb62600b591578d/617c0b1a097cfe00b5a756aa/asset-photo/W4k6yrns5M5n+Q2l5yMVnQ.jpg |  | https://cdn.orca.storage/617815776fb62600b591578d/617c0b1a097cfe00b5a756aa/barcode-photo/cMEiglNLjHYA5m3YR5y5A.jpg |  |  |  | 43.3878772, -80.3523451 | 2021-10-29 14:53
| Unit heater 1 | Odour control | Very Good | Good |  | https://cdn.orca.storage/617815776fb62600b591578d/617c0cda2a52c200b5e393e9/asset-photo/1TV2M6Xs+f4d6ZQ2WPlEfQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c0cda2a52c200b5e393e9/name-plate-photo/Dr3PXW287zeeNUlQcjqg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c0cda2a52c200b5e393e9/barcode-photo/xmBw0xrnTzS2Wy2xqhd8vA.jpg |  |  |  | 43.3881818, -80.3521593 | 2021-10-29 15:00
| Unit heater 2 | Odour control | Very Good | Good |  | https://cdn.orca.storage/617815776fb62600b591578d/617c0d1d6ef76800b54f3fb8/asset-photo/9IhjFzXJ89yTs42DATZXTw.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c0d1d6ef76800b54f3fb8/name-plate-photo/zwNVzWLMKzJ1VBQzBShbZw.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c0d1d6ef76800b54f3fb8/barcode-photo/4GdcmAuFpKPz6NcV3PhaPQ.jpg |  |  |  | 43.3879409, -80.3521237 | 2021-10-29 15:02
| Exhaust fan | Odour control | Very Good | Good |  | https://cdn.orca.storage/617815776fb62600b591578d/617c0d7d2bf52000b5987a95/asset-photo/EAubv8qVp8AONUT3to3QQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c0d7d2bf52000b5987a95/name-plate-photo/DZ5uLv4iE6JXvgoHkeOhA.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c0d7d2bf52000b5987a95/barcode-photo/1KKkaEOgMxNONCuPqyNYFw.jpg |  |  |  | 43.3879394, -80.3521658 | 2021-10-29 15:03
| Bio filter fan 1 | Odour control | Good | Good | 2017-10-29 | https://cdn.orca.storage/617815776fb62600b591578d/617c0df35c514200b546babf/asset-photo/6Hk+JEW9F9ICXO+GAHU9GA.jpg |  | https://cdn.orca.storage/617815776fb62600b591578d/617c0df35c514200b546babf/barcode-photo/Q3vlVpbYz+PvbWuchDelHw.jpg |  |  |  | 43.3879324, -80.3521579 | 2021-10-29 15:06
okvcivslr0000335wdmk2ci13 | Exhaust fan | Return sludge pump station | Good | Good |  | https://cdn.orca.storage/617815776fb62600b591578d/617c11927d917700b5928d56/asset-photo/RC0zBfsdpBVY7vB3gKbXIA.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c11927d917700b5928d56/name-plate-photo/IC5bwHI+ENSBawTG6h23bg.jpg |  |  |  |  | 43.3881715, -80.3518942 | 2021-10-29 15:21
| Sump pump | Rst296 | Fair | Fair | 2021-10-29 | https://cdn.orca.storage/617815776fb62600b591578d/617c12de097cfe00b5a823d2/asset-photo/02Ie643L5OnHE6eVRaNPIg.jpg |  | https://cdn.orca.storage/617815776fb62600b591578d/617c12de097cfe00b5a823d2/barcode-photo/af9lXtwr5mrN3sjnSiXgg.jpg |  |  |  | 43.3881715, -80.3518942 | 2021-10-29 15:26
| Hot water pump 1 | Boiler room | Good | Good |  | https://cdn.orca.storage/617815776fb62600b591578d/617c15842a52c200b5e398b3/asset-photo/IGRr8UPIRy0+VRGg+QykqA.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c15842a52c200b5e398b3/name-plate-photo/NWMkPNAeeha2yRDJUVxCpg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c15842a52c200b5e398b3/barcode-photo/GAGMYxitT1k0QbWO9ZY1g.jpg |  |  |  | 43.3881715, -80.3518942 | 2021-10-29 15:38
| Hot water pump 2 | Boiler room | Good | Good |  | https://cdn.orca.storage/617815776fb62600b591578d/617c15bd2e8faa00b5a0fcef/asset-photo/nHAeMnHQrsUO57NXx5naA.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c15bd2e8faa00b5a0fcef/name-plate-photo/Zm9TFNr0JdrJmW50v4MBQA.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c15bd2e8faa00b5a0fcef/barcode-photo/0rTEpfIzNKr1gkDyZMW3Xg.jpg |  |  |  | 43.3881715, -80.3518942 | 2021-10-29 15:39
| Expansion tank | Boiler room | Good | Good |  | https://cdn.orca.storage/617815776fb62600b591578d/617c15ec6ef76800b54f441d/asset-photo/nnnNb3I8caES8Vo03gfYxQ.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c15ec6ef76800b54f441d/name-plate-photo/HnD9YE4YiqYbkSeZVG8A.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c15ec6ef76800b54f441d/barcode-photo/f2gvlvjphVTdG9QRdsW3A.jpg |  |  |  | 43.3881715, -80.3518942 | 2021-10-29 15:40
| Air separator | Boiler room | Good | Good |  | https://cdn.orca.storage/617815776fb62600b591578d/617c162a7d917700b5928fa3/asset-photo/qsVFtv7BRse5lv4uZzztg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c162a7d917700b5928fa3/name-plate-photo/XdyO1Q6y6h+l4BBOsJ2iw.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c162a7d917700b5928fa3/barcode-photo/chexDcxqZ5AIzXS5PiakA.jpg |  |  |  | 43.3881715, -80.3518942 | 2021-10-29 15:40
| Backflow preventer | Digester building | Good | Good | 2019-10-29 | https://cdn.orca.storage/617815776fb62600b591578d/617c1a2b6ef76800b54f4660/asset-photo/aSGTSoPuNMzqZS0r6Ak1lw.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c1a2b6ef76800b54f4660/name-plate-photo/HnGMyI9ZvfMneBG0aTSvfA.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c1a2b6ef76800b54f4660/barcode-photo/6NNY7IQBVlT+v2NsGoreQQ.jpg |  |  |  | 43.3879833, -80.3510531 | 2021-10-29 15:55
| Unit heater 6 | Digester building | Good | Goid |  | https://cdn.orca.storage/617815776fb62600b591578d/617c1a9a0679ae00b5e45b20/asset-photo/hxpZnZn2ZFq9W+Fld8Cspw.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c1a9a0679ae00b5e45b20/name-plate-photo/Vb9nAJMLRqR5kzvTM1CMsg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c1a9a0679ae00b5e45b20/barcode-photo/5MfCLZLY6yQn70CPKjanA.jpg |  |  |  | 43.3878205, -80.3506556 | 2021-10-29 16:00
okvcke4fr0000335wizpiebf6 | Exhaust fan 3 | Digester building | Good | Good No barcode |  | https://cdn.orca.storage/617815776fb62600b591578d/617c1b5f2e8faa00b5a0ffd3/asset-photo/WBktltjE49gyOlKRojKHBw.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c1b5f2e8faa00b5a0ffd3/name-plate-photo/6elq672EzvSSm2z8dhUsw.jpg |  |  |  |  | 43.3878205, -80.3506556 | 2021-10-29 16:03
okvckhk060001335wk89f04fr | Condenser | Digester building roof | Good |  |  | https://cdn.orca.storage/617815776fb62600b591578d/617c1bfc2e8faa00b5a1002a/asset-photo/PVXaIir3adOxpy4XokG9Bw.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c1bfc2e8faa00b5a1002a/name-plate-photo/18zrxnHPglCeiNU+1YxQ.jpg |  |  |  |  | 43.3878205, -80.3506556 | 2021-10-29 16:06
okvckivmd0002335wrozqezjg | Exhaust fan 4 | Digester building roof | Good | Good No barcode | 2014-10-29 | https://cdn.orca.storage/617815776fb62600b591578d/617c1c3f2a52c200b5e4f7d5/asset-photo/OTCPeOb4LtFPLAMLtfWr7Q.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c1c3f2a52c200b5e4f7d5/name-plate-photo/6ksj6KODfrGod3yOIH4xdw.jpg |  |  |  |  | 43.3878205, -80.3506556 | 2021-10-29 16:07
okvckk1j90003335wt7w15in6 | Exhaust or intake fan | Digester building roof | Good | GoodNo barcode | 2013-10-29 | https://cdn.orca.storage/617815776fb62600b591578d/617c1c862e8faa00b5a1004d/asset-photo/TeA7Iyx2cRWeQHyjBX0h6A.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c1c862e8faa00b5a1004d/name-plate-photo/BSP5gHtODe3u15v0OMKdBA.jpg |  |  |  |  | 43.3878205, -80.3506556 | 2021-10-29 16:08
| Unit heater 4 | Digester building | Good | Good |  | https://cdn.orca.storage/617815776fb62600b591578d/617c1f676ef76800b54f68aa/asset-photo/xoE4HogJOd2PKV7q8oAu5A.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c1f676ef76800b54f68aa/name-plate-photo/93Nx0KOn1N+Nal763h5cg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c1f676ef76800b54f68aa/barcode-photo/t8by7bnffxq8S5rA9EyVw.jpg |  |  |  | 43.3878205, -80.3506556 | 2021-10-29 16:12
| Baxkflow | Storage buiksinf | Very Good | Good 6" size |  | https://cdn.orca.storage/617815776fb62600b591578d/617c1f682a52c200b5e53930/asset-photo/vhXfcVvbdjTY6WG9v5eWTA.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c1f682a52c200b5e53930/name-plate-photo/1kECbJVhGyA5sI6EH8fEg.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c1f682a52c200b5e53930/barcode-photo/7UbLNH118pUOWc+a7uVSdA.jpg |  |  |  | 43.3878205, -80.3506556 | 2021-10-29 16:20
| Baxkflow domestic | Storage building | Good | Good |  | https://cdn.orca.storage/617815776fb62600b591578d/617c1f962e8faa00b5a10198/asset-photo/jyHomdsoA8ibLvP2o91TrA.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c1f962e8faa00b5a10198/name-plate-photo/gYg+XJWdTVQLxtKIEOaRnA.jpg | https://cdn.orca.storage/617815776fb62600b591578d/617c1f962e8faa00b5a10198/barcode-photo/N9lDlqiZ8gMr3cxUAin4tA.jpg |  |  |  | 43.3878205, -80.3506556 | 2021-10-29 16:21
| Sump pump |  | Fair | Fair |  | https://cdn.orca.storage/617815776fb62600b591578d/617c21ec2a52c200b5e5aed6/asset-photo/4t2jwFS3KTtng6L2FNuHw.jpg |  | https://cdn.orca.storage/617815776fb62600b591578d/617c21ec2a52c200b5e5aed6/barcode-photo/GWZLNJvlpS+nJjUdTUVBVw.jpg |  |  |  | Unknown | 2021-10-29 16:30